## Assets
Asset Code | Asset Name | In-House/Vendor | Location | Last Service | nextDueDate | Color Code | Last Service | nextDueDate
HT I/C VCB-1 | HT Panel I/C Source -1 VCB | Vendor | HT Room | 2026-01-25 | 2027-01-25 |  | 2025-01-25 | 2026-01-25
HT I/C VCB-1 | HT Panel I/C Source -1 VCB | Vendor | HT Room | 2026-01-25 | 2027-01-25 |  | 2025-01-25 | 2026-01-25
HT I/C VCB-2 | HT Panel I/C Source -2 VCB | Vendor | HT Room | 2026-01-25 | 2027-01-25 |  | 2025-01-25 | 2026-01-25
HT O/G-1 VCB-1 | HT Panel O/G VCB-1 | Vendor | HT Room | 2026-01-26 | 2027-01-26 |  | 2025-01-26 | 2026-01-26
HT I/C from O/G VCB-4 | HT I/C from O/G VCB | Vendor | HT Room | 2026-01-26 | 2027-01-26 |  | 2025-01-26 | 2026-01-26
HT TR 01 VCB-1 | Transformer- HT I/C VCB-1 | Vendor | HT Room | 2026-01-26 | 2027-01-26 |  | 2025-01-26 | 2026-01-26
HT TR 02 VCB-2 | Transformer- HT I/C VCB-2 | Vendor | HT Room | 2026-01-27 | 2027-01-27 |  | 2025-01-27 | 2026-01-27
HT TR 03 VCB-3 | Transformer- HT I/C VCB-3 | Vendor | HT Room | 2026-01-27 | 2027-01-27 |  | 2025-01-27 | 2026-01-27
HT TR 04 VCB-4 | Transformer- HT I/C VCB-4 | Vendor | HT Room | 2026-01-27 | 2027-01-27 |  | 2025-01-27 | 2026-01-27
HT TR 05 VCB-5 | Transformer- HT I/C VCB-5 | Vendor | HT Room | 2026-01-27 | 2027-01-27 |  | 2025-01-27 | 2026-01-27
DG-01 | DG set-1 1500 KVA | Vendor | DG Room | 2026-03-12 | 2026-03-12 |  | 2026-02-10 | 2026-03-12
DG-02 | DG set-2 1500 KVA | Vendor | DG Room | 2026-03-13 | 2026-03-12 |  | 2026-02-11 | 2026-03-12
DG-03 | DG set-3 1500 KVA | Vendor | DG Room | 2026-03-14 | 2026-03-12 |  | 2026-02-12 | 2026-03-12
DG-04 | DG set-4 1500 KVA | Vendor | DG Room | 2026-03-15 | 2026-03-12 |  | 2026-02-13 | 2026-03-12
TR-1 | Transformer-1 - 1600KVA | Vendor | Transformer Room | 2026-05-27 | 2026-05-27 |  | 2026-02-26 | 2026-05-27
TR-2 | Transformer-2 - 1600KVA | Vendor | Transformer Room | 2026-05-28 | 2026-05-27 |  | 2026-02-27 | 2026-05-27
TR-3 | Transformer-3 - 1600KVA | Vendor | Transformer Room | 2026-05-29 | 2026-05-27 |  | 2026-02-28 | 2026-05-27
TR-4 | Transformer-4 - 1600KVA | Vendor | Transformer Room | 2026-05-30 | 2026-05-27 |  | 2026-03-01 | 2026-05-27
TR-5 | Transformer-5 - 630KVA | Vendor | Transformer Room | 2026-05-31 | 2026-05-27 |  | 2026-03-02 | 2026-05-27
T/R-1 Isolator -1 | LT Kiosk panel ACB's -1 | Vendor | HT Room | 2026-01-23 | 2027-01-23 |  | 2025-01-28 | 2026-01-23
T/R-2 Isolator -2 | LT Kiosk panel ACB's -2 | Vendor | HT Room | 2026-01-23 | 2027-01-23 |  | 2025-01-28 | 2026-01-23
T/R-3 Isolator -3 | LT Kiosk panel ACB's -3 | Vendor | HT Room | 2026-01-23 | 2027-01-23 |  | 2025-01-28 | 2026-01-23
T/R-4 Isolator -4 | LT Kiosk panel ACB's -4 | Vendor | HT Room | 2026-01-24 | 2027-01-24 |  | 2025-01-29 | 2026-01-24
T/R-5 Isolator -5 | LT Kiosk panel ACB's -5 | Vendor | HT Room | 2026-01-24 | 2027-01-24 |  | 2025-01-29 | 2026-01-24
LT I/C ACB EB-1 | LT panel EB Incomining ACB -1 | Vendor | LT ROOM | 2026-01-24 | 2027-01-24 |  | 2025-01-29 | 2026-01-24
LT I/C ACB EB-2 | LT panel EB Incomining ACB -2 | Vendor | LT ROOM | 2026-01-25 | 2027-01-25 |  | 2025-01-30 | 2026-01-25
LT I/C ACB EB-3 | LT panel EB Incomining ACB -3 | Vendor | LT ROOM | 2026-01-25 | 2027-01-25 |  | 2025-01-30 | 2026-01-25
LT I/C ACB EB-4 | LT panel EB Incomining ACB -4 | Vendor | LT ROOM | 2026-01-25 | 2027-01-25 |  | 2025-01-30 | 2026-01-25
LT I/C ACB EB-5 | LT panel EB Incomining ACB -5 | Vendor | LT ROOM | 2026-01-26 | 2027-01-26 |  | 2025-01-31 | 2026-01-26
LT I/C ACB DG-1 | LT panel DG Incomining ACB -1 | Vendor | LT ROOM | 2026-01-26 | 2027-01-26 |  | 2025-01-31 | 2026-01-26
LT I/C ACB DG-2 | LT panel DG Incomining ACB -2 | Vendor | LT ROOM | 2026-01-26 | 2027-01-26 |  | 2025-01-31 | 2026-01-26
LT I/C ACB DG-3 | LT panel DG Incomining ACB -3 | Vendor | LT ROOM | 2026-01-27 | 2027-01-27 |  | 2025-02-01 | 2026-01-27
LT I/C ACB DG-4 | LT panel DG Incomining ACB -4 | Vendor | LT ROOM | 2026-01-27 | 2027-01-27 |  | 2025-02-01 | 2026-01-27
LT Buscoupler ACB-1 | LT Panel BUSCOUPLER -1 | Vendor | LT ROOM | 2026-01-27 | 2027-01-27 |  | 2025-02-01 | 2026-01-27
LT Buscoupler ACB-2 | LT Panel BUSCOUPLER -2 | Vendor | LT ROOM | 2026-01-28 | 2027-01-28 |  | 2025-02-02 | 2026-01-28
LT Buscoupler ACB-3 | LT Panel BUSCOUPLER -3 | Vendor | LT ROOM | 2026-01-28 | 2027-01-28 |  | 2025-02-02 | 2026-01-28
LT Buscoupler ACB-4 | LT Panel BUSCOUPLER -4 | Vendor | LT ROOM | 2026-01-28 | 2027-01-28 |  | 2025-02-02 | 2026-01-28
Chiller O/G ACB Source-1 | Chiller Source -1 | Vendor | LT ROOM | 2026-01-29 | 2027-01-29 |  | 2025-02-03 | 2026-01-29
Chiller O/G ACB Source-2 | Chiller Source -2 | Vendor | LT ROOM | 2026-01-29 | 2027-01-29 |  | 2025-02-03 | 2026-01-29
Spare ACB | LT Spare ACB | Vendor | LT ROOM | 2026-01-29 | 2027-01-29 |  | 2025-02-03 | 2026-01-29
PLC panel | Main PLC panel | In-House | LT ROOM | 2026-01-29 | 2027-01-29 |  | 2025-02-03 | 2026-01-29
EB Capacitor panel-1 | 400 kvar APFCR panel-1 | In-House | LT ROOM | 2026-03-16 | 2026-03-22 |  | 2026-02-14 | 2026-03-22
EB Capacitor panel-2 | 400 kvar APFCR panel-1 | In-House | LT ROOM | 2026-03-17 | 2026-03-22 |  | 2026-02-15 | 2026-03-22
EB Capacitor panel-3 | 400 kvar APFCR panel-1 | In-House | LT ROOM | 2026-03-18 | 2026-03-22 |  | 2026-02-16 | 2026-03-22
EB Capacitor panel-4 | 400 kvar APFCR panel-1 | In-House | LT ROOM | 2026-03-19 | 2026-03-22 |  | 2026-02-17 | 2026-03-22
EB Capacitor panel-5 | 150 kvar APFCR panel-1 | In-House | LT ROOM | 2026-03-20 | 2026-03-22 |  | 2026-02-18 | 2026-03-22
DG O/G VCB-1 | DG AMF panel O/G VCB-1 | Vendor | DG Room | 2026-01-30 | 2027-01-30 |  | 2025-02-04 | 2026-01-30
DG O/G VCB-2 | DG AMF panel O/G VCB-2 | Vendor | DG Room | 2026-01-30 | 2027-01-30 |  | 2025-02-04 | 2026-01-30
DG O/G VCB-3 | DG AMF panel O/G VCB-3 | Vendor | DG Room | 2026-01-30 | 2027-01-30 |  | 2025-02-04 | 2026-01-30
DG O/G VCB-4 | DG AMF panel O/G VCB-4 | Vendor | DG Room | 2026-01-31 | 2027-01-31 |  | 2025-02-05 | 2026-01-31
DG O/G ACB -5 spare | DG AMF panel O/G | Vendor | DG Room | 2026-01-31 | 2027-01-31 |  | 2025-02-05 | 2026-01-31
Chiller I/C ACB Source-1 | Chiller source-1 I/C ACB | Vendor | Plant Room | 2026-01-31 | 2027-01-31 |  | 2025-02-05 | 2026-01-31
Chiller I/C ACB Source-2 | Chiller source-2 I/C ACB | Vendor | Plant Room | 2026-02-01 | 2027-02-01 |  | 2025-02-06 | 2026-02-01
Chiller Buscoupler ACB | Chiller Buscoupler ACB | Vendor | Plant Room | 2026-02-01 | 2027-02-01 |  | 2025-02-06 | 2026-02-01
Chiller-1 ACB | Chiller-1 O/G ACB | Vendor | Plant Room | 2026-02-01 | 2027-02-01 |  | 2025-02-06 | 2026-02-01
Chiller-2 ACB | Chiller-2 O/G ACB | Vendor | Plant Room | 2026-02-02 | 2027-02-02 |  | 2025-02-07 | 2026-02-02
Chiller-3 ACB | Chiller-3 O/G ACB | Vendor | Plant Room | 2026-02-02 | 2027-02-02 |  | 2025-02-07 | 2026-02-02
HT I/C Panel | 33kv I/C source panel | Vendor | HT Room | 2026-02-02 | 2027-02-02 |  | 2025-02-07 | 2026-02-02
HT O/G Panel | HT TR I/C panel | Vendor | HT Room | 2026-02-03 | 2027-02-03 |  | 2025-02-08 | 2026-02-03
LT kiosk panel | LT TR O/G panel | Vendor | HT Room | 2026-02-03 | 2027-02-03 |  | 2025-02-08 | 2026-02-03
LT PANEL | LT I/C from kiosk panel | Vendor | LT ROOM | 2026-02-03 | 2027-02-03 |  | 2025-02-08 | 2026-02-03
AMF Panel-1 | AMF DG panel-1 | In-House | DG Room | 2026-02-04 | 2027-02-04 |  | 2025-02-09 | 2026-02-04
AMF Panel-2 | AMF DG panel-2 | In-House | DG Room | 2026-02-04 | 2027-02-04 |  | 2025-02-09 | 2026-02-04
AMF Panel-3 | AMF DG panel-3 | In-House | DG Room | 2026-02-04 | 2027-02-04 |  | 2025-02-09 | 2026-02-04
AMF Panel-4 | AMF DG panel-4 | In-House | DG Room | 2026-02-04 | 2027-02-04 |  | 2025-02-09 | 2026-02-04
UPS-1 | 60 KVA ups | Vendor | UPS Room | 2026-05-25 | 2026-05-21 |  | 2026-02-24 | 2026-05-21
Inverter-1 | Battery chargers-1 | Vendor | HT Room | 2026-05-26 | 2026-05-21 |  | 2026-02-25 | 2026-05-21
Inverter-2 | Battery chargers-2 | Vendor | LT ROOM | 2026-05-27 | 2026-05-21 |  | 2026-02-26 | 2026-05-21
Inverter-3 | Battery chargers-3 | Vendor | Server Room | 2026-05-28 | 2026-05-21 |  | 2026-02-27 | 2026-05-21
Elevator OE-1 | Office Elevator-1 | Vendor | Level-9 | 2026-03-22 | 2026-03-27 |  | 2026-02-20 | 2026-03-27
Elevator OE-2 | Office Elevator-2 | Vendor | Level-9 | 2026-03-22 | 2026-03-27 |  | 2026-02-20 | 2026-03-27
Elevator OE-3 | Office Elevator-3 | Vendor | Level-9 | 2026-03-22 | 2026-03-27 |  | 2026-02-20 | 2026-03-27
Elevator OS-1 | Office Service Elevator-1 | Vendor | Level-9 | 2026-03-23 | 2026-03-27 |  | 2026-02-21 | 2026-03-27
Elevator MG-1 | Mall Guest Elevator-1 | Vendor | Level-3 | 2026-03-23 | 2026-03-27 |  | 2026-02-21 | 2026-03-27
Elevator MG-2 | Mall Guest Elevator-2 | Vendor | Level-3 | 2026-03-23 | 2026-03-27 |  | 2026-02-21 | 2026-03-27
Elevator MS-1 | Mall Service Elevator-1 | Vendor | Level-3 | 2026-03-24 | 2026-03-27 |  | 2026-02-22 | 2026-03-27
Elevator MS-2 | Mall Service Elevator-2 | Vendor | Level-3 | 2026-03-24 | 2026-03-27 |  | 2026-02-22 | 2026-03-27
Escalator L3-L2 | L3-L2 Down Escalator | Vendor | Level-2 | 2026-03-24 | 2026-03-27 |  | 2026-02-22 | 2026-03-27
Escalator L2-L3 | L2-L3 Up Escalator | Vendor | Level-3 | 2026-03-25 | 2026-03-27 |  | 2026-02-23 | 2026-03-27
Escalator L2-L1 | L2-L1 Down Escalator | Vendor | Level-1 | 2026-03-25 | 2026-03-27 |  | 2026-02-23 | 2026-03-27
Escalator L1-L2 | L1-L2 Up Escalator | Vendor | Level-2 | 2026-03-25 | 2026-03-27 |  | 2026-02-23 | 2026-03-27
Escalator L1-LG | L1-LG Down Escalator | Vendor | Level-G | 2026-03-26 | 2026-03-27 |  | 2026-02-24 | 2026-03-27
Escalator LG-L1 | LG-L1 Up Escalator | Vendor | Level-1 | 2026-03-26 | 2026-03-27 |  | 2026-02-24 | 2026-03-27
Travellator LG | LG-B1 Mid Down Travellator | Vendor | Level-G | 2026-03-26 | 2026-03-27 |  | 2026-02-24 | 2026-03-27
Travellator B1 | B1 Mid - B1 Down Travellator | Vendor | B1 Mid Level | 2026-03-27 | 2026-03-27 |  | 2026-02-25 | 2026-03-27
Travellator B2 | B1-B2 Down Travellator | Vendor | Level-B1 | 2026-03-27 | 2026-03-27 |  | 2026-02-25 | 2026-03-27
Travellator L1-LG | D mart inside L1-LG Down Escalator | Vendor | Level-1 | 2026-03-27 | 2026-03-27 |  | 2026-02-25 | 2026-03-27
Chiller Condenser pump-1 | Chiller condenser pumps | Vendor | B1 Chiller plant room | 2026-04-02 | 2026-03-08 |  | 2026-01-02 | 2026-03-08
Chiller Condenser pump-2 | Chiller condenser pumps | Vendor | B1 Chiller plant room | 2026-04-02 | 2026-03-08 |  | 2026-01-02 | 2026-03-08
Chiller Condenser pump-3 | Chiller condenser pumps | Vendor | B1 Chiller plant room | 2026-04-02 | 2026-03-08 |  | 2026-01-02 | 2026-03-08
Chiller Primary pump-1 | Chiller Primary pumps | Vendor | B1 Chiller plant room | 2026-04-03 | 2026-03-09 |  | 2026-01-03 | 2026-03-09
Chiller Primary pump-2 | Chiller Primary pumps | Vendor | B1 Chiller plant room | 2026-04-03 | 2026-03-09 |  | 2026-01-03 | 2026-03-09
Chiller Primary pump-3 | Chiller Primary pumps | Vendor | B1 Chiller plant room | 2026-04-03 | 2026-03-09 |  | 2026-01-03 | 2026-03-09
Chiller Mall secondary pump-1 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2026-04-04 | 2026-03-10 |  | 2026-01-04 | 2026-03-10
Chiller Mall secondary pump-2 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2026-04-04 | 2026-03-10 |  | 2026-01-04 | 2026-03-10
Chiller Mall secondary pump-3 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2026-04-04 | 2026-03-10 |  | 2026-01-04 | 2026-03-10
Chiller Marriott Secondary pump-1 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2026-04-05 | 2026-03-11 |  | 2026-01-05 | 2026-03-11
Chiller Marriott Secondary pump-2 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2026-04-05 | 2026-03-11 |  | 2026-01-05 | 2026-03-11
Chiller Marriott Secondary pump-3 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2026-04-05 | 2026-03-11 |  | 2026-01-05 | 2026-03-11
Package Condenser pump-1 | Package condenser pumps | Vendor | Terrace | 2026-04-06 | 2026-03-12 |  | 2026-01-06 | 2026-03-12
Package Condenser pump-2 | Package condenser pumps | Vendor | Terrace | 2026-04-06 | 2026-03-12 |  | 2026-01-06 | 2026-03-12
Package Condenser pump-3 | Package condenser pumps | Vendor | Terrace | 2026-04-06 | 2026-03-12 |  | 2026-01-06 | 2026-03-12
Chilled water makeup pump-1 | Chilled water Pressuer makeup pumps | In-House | B1 Chiller plant room | 2026-04-07 | 2026-03-15 |  | 2026-01-07 | 2026-03-15
Chilled water makeup pump-2 | Chilled water Pressuer makeup pumps | In-House | B1 Chiller plant room | 2026-04-07 | 2026-03-15 |  | 2026-01-07 | 2026-03-15
DG condenser pump-1 | DG Condenser pumps | In-House | DG Room | 2026-03-07 | 2026-03-07 |  | 2026-02-05 | 2026-03-07
DG condenser pump-2 | DG Condenser pumps | In-House | DG Room | 2026-03-09 | 2026-03-08 |  | 2026-02-07 | 2026-03-08
DG condenser pump-3 | DG Condenser pumps | In-House | DG Room | 2026-03-11 | 2026-03-09 |  | 2026-02-09 | 2026-03-09
DG condenser pump-4 | DG Condenser pumps | In-House | DG Room | 2026-03-12 | 2026-03-10 |  | 2026-02-10 | 2026-03-10
DG condenser pump-5 | DG Condenser pumps | In-House | DG Room | 2026-03-13 | 2026-03-11 |  | 2026-02-11 | 2026-03-11
WTP Raw water Pump-1 | WTP pumps | In-House | B1 Chiller plant room | 2026-05-14 | 2026-04-01 |  | 2026-02-13 | 2026-04-01
WTP Raw water Pump-2 | WTP pumps | In-House | B1 Chiller plant room | 2026-05-16 | 2026-04-02 |  | 2026-02-15 | 2026-04-02
Domestic water shifting Pump-1 | Domastic pumps | In-House | B1 Chiller plant room | 2026-05-18 | 2026-04-03 |  | 2026-02-17 | 2026-04-03
Domestic water shifting Pump-2 | Domastic pumps | In-House | B1 Chiller plant room | 2026-05-19 | 2026-04-04 |  | 2026-02-18 | 2026-04-04
Chiller Cooling tower-1 | Cooling towers | In-House | Terrace | 2026-03-04 | 2026-03-08 |  | 2026-02-02 | 2026-03-08
Chiller Cooling tower-2 | Cooling towers | In-House | Terrace | 2026-03-05 | 2026-03-09 |  | 2026-02-03 | 2026-03-09
Chiller Cooling tower-3 | Cooling towers | In-House | Terrace | 2026-03-06 | 2026-03-10 |  | 2026-02-04 | 2026-03-10
DG Cooling tower-1 | Cooling towers | In-House | Terrace | 2026-03-07 | 2026-03-11 |  | 2026-02-05 | 2026-03-11
DG Cooling tower-2 | Cooling towers | In-House | Terrace | 2026-03-08 | 2026-03-12 |  | 2026-02-06 | 2026-03-12
Package Cooling tower-1 | Cooling towers | In-House | Terrace | 2026-03-09 | 2026-03-13 |  | 2026-02-07 | 2026-03-13
Package Cooling tower-2 | Cooling towers | In-House | Terrace | 2026-03-10 | 2026-03-14 |  | 2026-02-08 | 2026-03-14
Chiller Cooling tower-1 fan -1 To 4 | CT Fans | In-House | Terrace | 2026-05-10 | 2026-05-14 |  | 2026-02-09 | 2026-05-14
Chiller Cooling tower-2 fan -1 To 4 | CT Fans | In-House | Terrace | 2026-05-11 | 2026-05-15 |  | 2026-02-10 | 2026-05-15
Chiller Cooling tower-3 fan -1 & 2 | CT Fans | In-House | Terrace | 2026-05-12 | 2026-05-16 |  | 2026-02-11 | 2026-05-16
DG Cooling tower-1 fan -1 & 2 | CT Fans | In-House | Terrace | 2026-05-13 | 2026-05-17 |  | 2026-02-12 | 2026-05-17
DG Cooling tower-2 fan -1 & 2 | CT Fans | In-House | Terrace | 2026-05-14 | 2026-05-18 |  | 2026-02-13 | 2026-05-18
Package Cooling tower-1 fan -1 To 4 | CT Fans | In-House | Terrace | 2026-05-15 | 2026-05-19 |  | 2026-02-14 | 2026-05-19
Package Cooling tower-2 fan -1 To 4 | CT Fans | In-House | Terrace | 2026-05-16 | 2026-05-20 |  | 2026-02-15 | 2026-05-20
L8 common area lobby Package Unit-1 | Package units | Vendor | L8 Beside office Lift Lobby | 2026-05-17 | 2026-05-21 |  | 2026-02-16 | 2026-05-21
L7 common area lobby Package Unit-1 | Package units | Vendor | L7 Beside office Lift Lobby | 2026-05-18 | 2026-05-22 |  | 2026-02-17 | 2026-05-22
L6 common area lobby Package Unit-1 | Package units | Vendor | L6 Beside office Lift Lobby | 2026-05-19 | 2026-05-23 |  | 2026-02-18 | 2026-05-23
L5 common area lobby Package Unit-1 | Package units | Vendor | L5 Beside office Lift Lobby | 2026-05-20 | 2026-05-24 |  | 2026-02-19 | 2026-05-24
L4 common area lobby Package Unit-1 | Package units | Vendor | L4 Beside office Lift Lobby | 2026-05-21 | 2026-05-25 |  | 2026-02-20 | 2026-05-25
L1 Common area AHU -1 | AHU Units | In-House | L1 AHU opp MS lifts | 2026-03-23 | 2026-03-04 |  | 2026-02-21 | 2026-03-04
L2 Common area AHU -1 | AHU Units | In-House | L2AHU opp MS lifts | 2026-03-23 | 2026-03-05 |  | 2026-02-21 | 2026-03-05
L2 Common area CSU -1 | CSU Units | In-House | L2 above LRR | 2026-03-24 | 2026-03-06 |  | 2026-02-22 | 2026-03-06
L3 Common area AHU -1 | AHU Units | In-House | L3 above GRR | 2026-03-24 | 2026-03-07 |  | 2026-02-22 | 2026-03-07
L3 Common area CSU -1 | CSU Units | In-House | L3 above LRR | 2026-03-25 | 2026-03-08 |  | 2026-02-23 | 2026-03-08
LG MS Lift Lobby CSU -1 | CSU Units | In-House | LG above Ceiling MS Lift Lobby | 2026-03-25 | 2026-03-09 |  | 2026-02-23 | 2026-03-09
LG OE Lift Lobby CSU -2 | CSU Units | In-House | LG Podium above Ceiling OE Lift Lobby | 2026-03-26 | 2026-03-10 |  | 2026-02-24 | 2026-03-10
B1 LT Room CSU -1 | CSU Units | In-House | B1 LT Room | 2026-03-26 | 2026-03-11 |  | 2026-02-24 | 2026-03-11
B1 HT Room CSU -1 | CSU Units | In-House | B1 HT Room | 2026-03-27 | 2026-03-12 |  | 2026-02-25 | 2026-03-12
B1 Garbage room AC Unit-1 | Cold storage Unit | In-House | B1 Garbage Room | 2026-04-02 | 2026-04-20 |  | 2026-01-02 | 2026-04-20
B1 UPS Room Fan coil Unit-1 | FCU Unit | In-House | B1 UPS Room | 2026-04-02 | 2026-04-20 |  | 2026-01-02 | 2026-04-20
B1 Server Room Split Air Conditioner -1 | Split AC units | Vendor | B1 Server Room | 2026-04-02 | 2026-04-20 |  | 2026-01-02 | 2026-04-20
B1 Server Room Split Air Conditioner -2 | Split AC units | Vendor | B1 Server Room | 2026-04-03 | 2026-04-21 |  | 2026-01-03 | 2026-04-21
CCTV Room Split Air Conditioner -1 | Split AC units | Vendor | B1 CCTV Room | 2026-04-03 | 2026-04-21 |  | 2026-01-03 | 2026-04-21
CCTV Room Split Air Conditioner -2 | Split AC units | Vendor | B1 CCTV Room | 2026-04-03 | 2026-04-21 |  | 2026-01-03 | 2026-04-21
BMS Room Split Air Conditioner -1 | Split AC units | Vendor | B1 BMS Room | 2026-04-04 | 2026-04-22 |  | 2026-01-04 | 2026-04-22
B1 UPS Room Split Air Conditioner -1 | Split AC units | Vendor | B1 UPS Room | 2026-04-04 | 2026-04-22 |  | 2026-01-04 | 2026-04-22
B2 OE Lift Lobby Split Air Conditioner-1 | Split AC units | Vendor | B2 OE Lift Lobby | 2026-04-04 | 2026-04-22 |  | 2026-01-04 | 2026-04-22
B3 OE Lift Lobby Split Air Conditioner-1 | Split AC units | Vendor | B3 OE Lift Lobby | 2026-04-05 | 2026-04-23 |  | 2026-01-05 | 2026-04-23
B4 OE Lift Lobby Split Air Conditioner-1 | Split AC units | Vendor | B4OE Lift Lobby | 2026-04-05 | 2026-04-23 |  | 2026-01-05 | 2026-04-23
L9 OE Lift Lobby Split Air Conditioner -1 | Split AC units | Vendor | L9 OE Lift Lobby | 2026-04-05 | 2026-04-23 |  | 2026-01-05 | 2026-04-23
L9 UPS Room Split Air Conditioner -1 | Split AC units | Vendor | L9 UPS Room | 2026-04-06 | 2026-04-24 |  | 2026-01-06 | 2026-04-24
L8 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L8 | 2026-04-06 | 2026-04-24 |  | 2026-01-06 | 2026-04-24
L7 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L7 | 2026-04-06 | 2026-04-24 |  | 2026-01-06 | 2026-04-24
L6 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L6 | 2026-04-07 | 2026-04-25 |  | 2026-01-07 | 2026-04-25
L5 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L5 | 2026-04-07 | 2026-04-25 |  | 2026-01-07 | 2026-04-25
L4 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L4 | 2026-04-08 | 2026-04-25 |  | 2026-01-08 | 2026-04-25
Chiller-1 | 350 TR chiller-1 | Vendor | B1 Chiller plant room | 2026-05-29 | 2026-04-26 |  | 2026-02-28 | 2026-04-26
Chiller-2 | 650 TR chiller-1 | Vendor | B1 Chiller plant room | 2026-05-29 | 2026-04-26 |  | 2026-02-28 | 2026-04-26
Chiller-3 | 650 TR chiller-2 | Vendor | B1 Chiller plant room | 2026-05-29 | 2026-04-26 |  | 2026-02-28 | 2026-04-26
ST-5 Fresh Air Unit -1 | Fresh Air Units | In-House | Level-9 | 2025-04-01 | 2026-04-05 |  | 2025-03-02 | 2026-01-05
ST-5 Exahust Unit -1 | Exahust Units | In-House | Level-9 | 2025-04-01 | 2026-04-06 |  | 2025-03-02 | 2026-01-06
Scrubber Unit -1 | Scrubber Units | In-House | Level-9 | 2025-04-01 | 2026-04-07 |  | 2025-03-02 | 2026-01-07
Air washer Unit -1 | Air washer Units | In-House | Level-9 | 2025-04-02 | 2026-04-08 |  | 2025-03-03 | 2026-01-08
DG Fresh air fan -1 | Fresh Air Units | In-House | DG Room | 2025-04-02 | 2026-04-09 |  | 2025-03-03 | 2026-01-09
DG Fresh air fan -2 | Fresh Air Units | In-House | DG Room | 2025-04-02 | 2026-04-10 |  | 2025-03-03 | 2026-01-10
DG Fresh air fan -3 | Fresh Air Units | In-House | DG Room | 2025-04-03 | 2026-04-11 |  | 2025-03-04 | 2026-01-11
DG Fresh air fan -4 | Fresh Air Units | In-House | DG Room | 2025-04-03 | 2026-04-12 |  | 2025-03-04 | 2026-01-12
DG Exhaust Fan -1 | Exahust Units | In-House | DG Room | 2025-04-03 | 2026-04-13 |  | 2025-03-04 | 2026-01-13
DG Exhaust Fan -2 | Exahust Units | In-House | DG Room | 2025-04-04 | 2026-04-14 |  | 2025-03-05 | 2026-01-14
DG Exhaust Fan -3 | Exahust Units | In-House | DG Room | 2025-04-04 | 2026-04-15 |  | 2025-03-05 | 2026-01-15
DG Exhaust Fan -4 | Exahust Units | In-House | DG Room | 2025-04-04 | 2026-04-16 |  | 2025-03-05 | 2026-01-16
B3 Toilet Exhaust-1 | Exahust Units | In-House | Basement - 3 | 2025-04-05 | 2026-04-17 |  | 2025-03-06 | 2026-01-17
B1 Toilet Exhaust-1 | Exahust Units | In-House | Basement - 1 | 2025-04-05 | 2026-04-18 |  | 2025-03-06 | 2026-01-18
L2 GRR Toilet Exhaust-1 | Exahust Units | In-House | Level-L2 | 2025-04-05 | 2026-04-19 |  | 2025-03-06 | 2026-01-19
L2 LRR Toilet Exhaust-1 | Exahust Units | In-House | Level-L2 | 2025-04-06 | 2026-04-20 |  | 2025-03-07 | 2026-01-20
L3 GRR Toilet Exhaust-1 | Exahust Units | In-House | Level-L3 | 2025-04-06 | 2026-04-21 |  | 2025-03-07 | 2026-01-21
L3 LRR Toilet Exhaust-1 | Exahust Units | In-House | Level-L3 | 2025-04-06 | 2026-04-22 |  | 2025-03-07 | 2026-01-22
B1 Garbage Room Exhaust-1 | Exahust Units | In-House | B1 Garbage Room | 2025-04-07 | 2026-04-23 |  | 2025-03-08 | 2026-01-23
B4 STP Fresh Air Fan-1 | Fresh Air Units | In-House | Basement - 4 | 2025-04-07 | 2026-04-24 |  | 2025-03-08 | 2026-01-24
B4 Fresh Air Fan unit -1 | Fresh Air Units | In-House | Basement - 4 | 2025-04-07 | 2026-04-25 |  | 2025-03-08 | 2026-01-25
B4 Fresh Air Fan unit -2 | Fresh Air Units | In-House | Basement - 4 | 2025-04-08 | 2026-04-26 |  | 2025-03-09 | 2026-01-26
B4 Fresh Air Fan unit -3 | Fresh Air Units | In-House | Basement - 4 | 2025-04-08 | 2026-04-27 |  | 2025-03-09 | 2026-01-27
B4 Fresh Air Fan unit -4 | Fresh Air Units | In-House | Basement - 4 | 2025-04-08 | 2026-04-28 |  | 2025-03-09 | 2026-01-28
B4 Fresh Air Fan unit -5 | Fresh Air Units | In-House | Basement - 4 | 2025-04-09 | 2026-04-29 |  | 2025-03-10 | 2026-01-29
B4 Fresh Air Fan unit -6 | Fresh Air Units | In-House | Basement - 4 | 2025-04-09 | 2026-04-30 |  | 2025-03-10 | 2026-01-30
B4 Fresh Air Fan unit -7 | Fresh Air Units | In-House | Basement - 4 | 2025-04-09 | 2026-05-01 |  | 2025-03-10 | 2026-01-31
B4 Fresh Air Fan unit -8 | Fresh Air Units | In-House | Basement - 4 | 2025-04-10 | 2026-05-02 |  | 2025-03-11 | 2026-02-01
B4 Fresh Air Fan unit -9 | Fresh Air Units | In-House | Basement - 4 | 2025-04-10 | 2026-05-03 |  | 2025-03-11 | 2026-02-02
B4 Fresh Air Fan unit -10 | Fresh Air Units | In-House | Basement - 4 | 2025-04-10 | 2026-05-04 |  | 2025-03-11 | 2026-02-03
B4 Fresh Air Fan unit -11 | Fresh Air Units | In-House | Basement - 4 | 2025-04-11 | 2026-05-05 |  | 2025-03-12 | 2026-02-04
B4 Fresh Air Fan unit -12 | Fresh Air Units | In-House | Basement - 4 | 2025-04-11 | 2026-05-06 |  | 2025-03-12 | 2026-02-05
B4 Fresh Air Fan unit -13 | Fresh Air Units | In-House | Basement - 4 | 2025-04-11 | 2026-05-07 |  | 2025-03-12 | 2026-02-06
B4 Fresh Air Fan unit -14 | Fresh Air Units | In-House | Basement - 4 | 2025-04-12 | 2026-05-08 |  | 2025-03-13 | 2026-02-07
B4 Fresh Air Fan unit -15 | Fresh Air Units | In-House | Basement - 4 | 2025-04-12 | 2026-05-09 |  | 2025-03-13 | 2026-02-08
B4 Exhaust Fan unit -1 | Exahust Units | In-House | Basement - 4 | 2025-04-12 | 2026-05-10 |  | 2025-03-13 | 2026-02-09
B4 Exhaust Fan unit -2 | Exahust Units | In-House | Basement - 4 | 2025-04-13 | 2026-05-11 |  | 2025-03-14 | 2026-02-10
B4 Exhaust Fan unit -3 | Exahust Units | In-House | Basement - 4 | 2025-04-13 | 2026-05-12 |  | 2025-03-14 | 2026-02-11
B4 Exhaust Fan unit -4 | Exahust Units | In-House | Basement - 4 | 2025-04-13 | 2026-05-13 |  | 2025-03-14 | 2026-02-12
B4 Exhaust Fan unit -5 | Exahust Units | In-House | Basement - 4 | 2025-04-14 | 2026-05-14 |  | 2025-03-15 | 2026-02-13
B4 Exhaust Fan unit -6 | Exahust Units | In-House | Basement - 4 | 2025-04-14 | 2026-05-15 |  | 2025-03-15 | 2026-02-14
B4 Exhaust Fan unit -7 | Exahust Units | In-House | Basement - 4 | 2025-04-14 | 2026-05-16 |  | 2025-03-15 | 2026-02-15
B4 Exhaust Fan unit -8 | Exahust Units | In-House | Basement - 4 | 2025-04-15 | 2026-05-17 |  | 2025-03-16 | 2026-02-16
B4 Exhaust Fan unit -9 | Exahust Units | In-House | Basement - 4 | 2025-04-15 | 2026-05-18 |  | 2025-03-16 | 2026-02-17
B4 Exhaust Fan unit -10 | Exahust Units | In-House | Basement - 4 | 2025-04-15 | 2026-05-19 |  | 2025-03-16 | 2026-02-18
B4 Exhaust Fan unit -11 | Exahust Units | In-House | Basement - 4 | 2025-04-16 | 2026-05-20 |  | 2025-03-17 | 2026-02-19
B4 Exhaust Fan unit -12 | Exahust Units | In-House | Basement - 4 | 2025-04-16 | 2026-05-21 |  | 2025-03-17 | 2026-02-20
B3 Fresh Air Fan unit-1 | Fresh Air Units | In-House | Basement - 3 | 2025-04-16 | 2026-05-22 |  | 2025-03-17 | 2026-02-21
B3 Fresh Air Fan unit-2 | Fresh Air Units | In-House | Basement - 3 | 2025-04-17 | 2026-05-23 |  | 2025-03-18 | 2026-02-22
B3 Fresh Air Fan unit-3 | Fresh Air Units | In-House | Basement - 3 | 2025-04-17 | 2026-05-24 |  | 2025-03-18 | 2026-02-23
B3 Fresh Air Fan unit-4 | Fresh Air Units | In-House | Basement - 3 | 2025-04-17 | 2026-05-25 |  | 2025-03-18 | 2026-02-24
B3 Fresh Air Fan unit-5 | Fresh Air Units | In-House | Basement - 3 | 2025-04-18 | 2026-05-26 |  | 2025-03-19 | 2026-02-25
B3 Fresh Air Fan unit-6 | Fresh Air Units | In-House | Basement - 3 | 2025-04-18 | 2026-05-27 |  | 2025-03-19 | 2026-02-26
B3 Fresh Air Fan unit-7 | Fresh Air Units | In-House | Basement - 3 | 2025-04-18 | 2026-05-28 |  | 2025-03-19 | 2026-02-27
B3 Fresh Air Fan unit-8 | Fresh Air Units | In-House | Basement - 3 | 2025-04-19 | 2026-05-29 |  | 2025-03-20 | 2026-02-28
B3 Fresh Air Fan unit-9 | Fresh Air Units | In-House | Basement - 3 | 2025-04-19 | 2026-05-30 |  | 2025-03-20 | 2026-03-01
B3 Fresh Air Fan unit-10 | Fresh Air Units | In-House | Basement - 3 | 2025-04-19 | 2026-05-31 |  | 2025-03-20 | 2026-03-02
B3 Fresh Air Fan unit-11 | Fresh Air Units | In-House | Basement - 3 | 2025-04-20 | 2026-03-03 |  | 2025-03-21 | 2026-03-03
B3 Fresh Air Fan unit-12 | Fresh Air Units | In-House | Basement - 3 | 2025-04-20 | 2026-03-04 |  | 2025-03-21 | 2026-03-04
B3 Fresh Air Fan unit-13 | Fresh Air Units | In-House | Basement - 3 | 2025-04-20 | 2026-03-05 |  | 2025-03-21 | 2026-03-05
B3 Fresh Air Fan unit-14 | Fresh Air Units | In-House | Basement - 3 | 2025-04-21 | 2026-03-06 |  | 2025-03-22 | 2026-03-06
B3 Fresh Air Fan unit-15 | Fresh Air Units | In-House | Basement - 3 | 2025-04-21 | 2026-03-07 |  | 2025-03-22 | 2026-03-07
B3 Exhaust Fan unit-1 | Exahust Units | In-House | Basement - 3 | 2025-04-21 | 2026-03-08 |  | 2025-03-22 | 2026-03-08
B3 Exhaust Fan unit-2 | Exahust Units | In-House | Basement - 3 | 2025-04-22 | 2026-03-09 |  | 2025-03-23 | 2026-03-09
B3 Exhaust Fan unit-3 | Exahust Units | In-House | Basement - 3 | 2025-04-22 | 2026-03-10 |  | 2025-03-23 | 2026-03-10
B3 Exhaust Fan unit-4 | Exahust Units | In-House | Basement - 3 | 2025-04-22 | 2026-03-11 |  | 2025-03-23 | 2026-03-11
B3 Exhaust Fan unit-5 | Exahust Units | In-House | Basement - 3 | 2025-04-23 | 2026-03-12 |  | 2025-03-24 | 2026-03-12
B3 Exhaust Fan unit-6 | Exahust Units | In-House | Basement - 3 | 2025-04-23 | 2026-03-13 |  | 2025-03-24 | 2026-03-13
B3 Exhaust Fan unit-7 | Exahust Units | In-House | Basement - 3 | 2025-04-23 | 2026-03-14 |  | 2025-03-24 | 2026-03-14
B3 Exhaust Fan unit-8 | Exahust Units | In-House | Basement - 3 | 2025-04-24 | 2026-03-15 |  | 2025-03-25 | 2026-03-15
B3 Exhaust Fan unit-9 | Exahust Units | In-House | Basement - 3 | 2025-04-24 | 2026-03-16 |  | 2025-03-25 | 2026-03-16
B3 Exhaust Fan unit-10 | Exahust Units | In-House | Basement - 3 | 2025-04-24 | 2026-03-17 |  | 2025-03-25 | 2026-03-17
B3 Exhaust Fan unit-11 | Exahust Units | In-House | Basement - 3 | 2025-04-25 | 2026-03-18 |  | 2025-03-26 | 2026-03-18
B3 Exhaust Fan unit-12 | Exahust Units | In-House | Basement - 3 | 2025-04-25 | 2026-03-19 |  | 2025-03-26 | 2026-03-19
B2 Fresh Air Fan unit-1 | Fresh Air Units | In-House | Basement - 3 | 2025-04-25 | 2026-03-20 |  | 2025-03-26 | 2026-03-20
B2 Fresh Air Fan unit-2 | Fresh Air Units | In-House | Basement - 3 | 2025-04-26 | 2026-03-21 |  | 2025-03-27 | 2026-03-21
B2 Fresh Air Fan unit-3 | Fresh Air Units | In-House | Basement - 2 | 2025-04-26 | 2026-03-22 |  | 2025-03-27 | 2026-03-22
B2 Fresh Air Fan unit-4 | Fresh Air Units | In-House | Basement - 2 | 2025-04-26 | 2026-03-23 |  | 2025-03-27 | 2026-03-23
B2 Fresh Air Fan unit-5 | Fresh Air Units | In-House | Basement - 2 | 2025-04-27 | 2026-03-24 |  | 2025-03-28 | 2026-03-24
B2 Fresh Air Fan unit-6 | Fresh Air Units | In-House | Basement - 2 | 2025-04-27 | 2026-03-25 |  | 2025-03-28 | 2026-03-25
B2 Fresh Air Fan unit-7 | Fresh Air Units | In-House | Basement - 2 | 2025-04-27 | 2026-03-26 |  | 2025-03-28 | 2026-03-26
B2 Fresh Air Fan unit-8 | Fresh Air Units | In-House | Basement - 2 | 2025-04-28 | 2026-03-27 |  | 2025-03-29 | 2026-03-27
B2 Fresh Air Fan unit-9 | Fresh Air Units | In-House | Basement - 2 | 2025-04-28 | 2026-03-28 |  | 2025-03-29 | 2026-03-28
B2 Fresh Air Fan unit-10 | Fresh Air Units | In-House | Basement - 2 | 2025-04-28 | 2026-03-29 |  | 2025-03-29 | 2026-03-29
B2 Fresh Air Fan unit-11 | Fresh Air Units | In-House | Basement - 2 | 2025-04-29 | 2026-03-30 |  | 2025-03-30 | 2026-03-30
B2 Fresh Air Fan unit-12 | Fresh Air Units | In-House | Basement - 2 | 2025-04-29 | 2026-03-31 |  | 2025-03-30 | 2026-03-31
B2 Fresh Air Fan unit-13 | Fresh Air Units | In-House | Basement - 2 | 2025-04-29 | 2026-04-01 |  | 2025-03-30 | 2026-04-01
B2 Fresh Air Fan unit-14 | Fresh Air Units | In-House | Basement - 2 | 2025-04-30 | 2026-04-02 |  | 2025-03-31 | 2026-04-02
B2 Exhaust Fan unit-1 | Exahust Units | In-House | Basement - 2 | 2025-04-30 | 2026-04-03 |  | 2025-03-31 | 2026-04-03
B2 Exhaust Fan unit-2 | Exahust Units | In-House | Basement - 2 | 2025-04-30 | 2026-04-04 |  | 2025-03-31 | 2026-04-04
B2 Exhaust Fan unit-3 | Exahust Units | In-House | Basement - 2 | 2025-05-01 | 2026-04-05 |  | 2025-04-01 | 2026-04-05
B2 Exhaust Fan unit-4 | Exahust Units | In-House | Basement - 2 | 2025-05-01 | 2026-04-06 |  | 2025-04-01 | 2026-04-06
B2 Exhaust Fan unit-5 | Exahust Units | In-House | Basement - 2 | 2025-05-01 | 2026-04-07 |  | 2025-04-01 | 2026-04-07
B2 Exhaust Fan unit-6 | Exahust Units | In-House | Basement - 2 | 2025-05-02 | 2026-04-08 |  | 2025-04-02 | 2026-04-08
B2 Exhaust Fan unit-7 | Exahust Units | In-House | Basement - 2 | 2025-05-02 | 2026-04-09 |  | 2025-04-02 | 2026-04-09
B2 Exhaust Fan unit-8 | Exahust Units | In-House | Basement - 2 | 2025-05-02 | 2026-04-10 |  | 2025-04-02 | 2026-04-10
B2 Exhaust Fan unit-9 | Exahust Units | In-House | Basement - 2 | 2025-05-03 | 2026-04-11 |  | 2025-04-03 | 2026-04-11
B2 Exhaust Fan unit-10 | Exahust Units | In-House | Basement - 2 | 2025-05-03 | 2026-04-12 |  | 2025-04-03 | 2026-04-12
B2 Exhaust Fan unit-11 | Exahust Units | In-House | Basement - 2 | 2025-05-03 | 2026-04-13 |  | 2025-04-03 | 2026-04-13
B2 Exhaust Fan unit-12 | Exahust Units | In-House | Basement - 2 | 2025-05-04 | 2026-04-14 |  | 2025-04-04 | 2026-04-14
B1 T/R Room Exhaust unit-1 | Exahust Units | In-House | Transformer Room | 2025-05-04 | 2026-04-15 |  | 2025-04-04 | 2026-04-15
B1 T/R Room Fresh Air unit-1 | Fresh Air Units | In-House | Transformer Room | 2025-05-04 | 2026-04-16 |  | 2025-04-04 | 2026-04-16
B1 Chiller Room Fresh Air unit-1 | Fresh Air Units | In-House | B1 Chiller plant room | 2025-05-05 | 2026-04-17 |  | 2025-04-05 | 2026-04-17
B1 Chiller Room Exhaust unit-1 | Exahust Units | In-House | B1 Chiller plant room | 2025-05-05 | 2026-04-18 |  | 2025-04-05 | 2026-04-18
Staircase Pressurization fans -1 | Pressurization units | In-House | Level-9 | 2025-05-05 | 2026-04-19 |  | 2025-04-05 | 2026-04-19
Staircase Pressurization fans -2 | Pressurization units | In-House | Level-9 | 2025-05-06 | 2026-04-20 |  | 2025-04-06 | 2026-04-20
By Pass Motor Pump-1(STP) | Stp By pass pump | Vendor | Level-B4 STP | 2026-06-05 | 2026-04-05 |  | 2026-03-07 | 2026-04-05
SBR Drain Pump 1 | SBR pumps | Vendor | Level-B4 STP | 2026-06-05 | 2026-04-06 |  | 2026-03-07 | 2026-04-06
SBR Drain Pump 2 | SBR pumps | Vendor | Level-B4 STP | 2026-06-05 | 2026-04-07 |  | 2026-03-07 | 2026-04-07
Raw Pump-1 | STP Raw water pumps | Vendor | Level-B4 STP | 2026-06-06 | 2026-04-08 |  | 2026-03-08 | 2026-04-08
Raw Pump-2 | STP Raw water pumps | Vendor | Level-B4 STP | 2026-06-06 | 2026-04-09 |  | 2026-03-08 | 2026-04-09
Sludge Pump 1 | sludge pumps | Vendor | Level-B4 STP | 2026-06-06 | 2026-04-10 |  | 2026-03-08 | 2026-04-10
Sludge Pump 2 | sludge pumps | Vendor | Level-B4 STP | 2026-06-07 | 2026-04-11 |  | 2026-03-09 | 2026-04-11
Screw Pump-1 | screw pumps | Vendor | Level-B4 STP | 2026-06-07 | 2026-04-12 |  | 2026-03-09 | 2026-04-12
Screw Pump-2 | screw pumps | Vendor | Level-B4 STP | 2026-06-07 | 2026-04-13 |  | 2026-03-09 | 2026-04-13
Feeding Pump 1 | STP filter feed pumps | Vendor | Level-B4 STP | 2026-06-08 | 2026-04-14 |  | 2026-03-10 | 2026-04-14
Feeding Pump 2 | STP filter feed pumps | Vendor | Level-B4 STP | 2026-06-08 | 2026-04-15 |  | 2026-03-10 | 2026-04-15
Softener Pump 1 | Softner pumps | Vendor | Level-B4 STP | 2026-06-08 | 2026-04-16 |  | 2026-03-10 | 2026-04-16
Softener Pump 2 | Softner pumps | Vendor | Level-B4 STP | 2026-06-09 | 2026-04-17 |  | 2026-03-11 | 2026-04-17
Drain Pump-1 | STP Drain pumps | Vendor | Level-B4 STP | 2026-06-09 | 2026-04-18 |  | 2026-03-11 | 2026-04-18
Drain Pump-2 | STP Drain pumps | Vendor | Level-B4 STP | 2026-06-09 | 2026-04-19 |  | 2026-03-11 | 2026-04-19
Air Blower 1 | Air Blower motors | Vendor | Level-B4 STP | 2026-06-10 | 2026-04-20 |  | 2026-03-12 | 2026-04-20
Air Blower 2 | Air Blower motors | Vendor | Level-B4 STP | 2026-06-10 | 2026-04-21 |  | 2026-03-12 | 2026-04-21
Air Blower 3 | Air Blower motors | Vendor | Level-B4 STP | 2026-06-10 | 2026-04-22 |  | 2026-03-12 | 2026-04-22
Rain Water Drain Pump-1(50HP)(Over Flow Rain Water) | Rain water drain pump | In-House | Level-B4 | 2026-06-11 | 2026-04-23 |  | 2026-03-13 | 2026-04-23
Fire Diesel generator Pump -1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-06-11 | 2026-05-29 |  | 2026-03-13 | 2026-05-29
Fire Hydrant Pumps -Kirloskar-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-06-11 | 2026-05-29 |  | 2026-03-13 | 2026-05-29
Fire Sprinkler Pumps -Kirloskar-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-06-12 | 2026-05-29 |  | 2026-03-14 | 2026-05-29
Fire Stand by Pumps -Kirloskar-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-06-12 | 2026-05-29 |  | 2026-03-14 | 2026-05-29
Fire Low Jockey Pumps -Grundfos-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-06-12 | 2026-05-29 |  | 2026-03-14 | 2026-05-29
Fire High Jockey Pumps -Grundfos-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-06-13 | 2026-05-29 |  | 2026-03-15 | 2026-05-29
Addressable Control panel-1 & 2 | Fire Alarm & PA system | Vendor | B1 CCTV Room | 2026-06-13 | 2026-04-28 |  | 2026-03-15 | 2026-04-28
Camera - 256 Nos | CCTV | In-House | All Locations | 2026-06-13 | 2026-04-29 |  | 2026-03-15 | 46141
Primary Rate Interface(Telephone PRI) | PRI | In-House | B1 Server Room | 2026-06-14 | 2026-04-30 |  | 2026-03-16 | 2026-04-30
Air Washer & Scrubber PCC Panel (L 9) | Air Washer & Scrubber PCC Panel (L 9) | In-House | Level-9 | 2026-03-04 | 2026-03-16 |  | 2026-02-02 | 2026-02-14
Secondary Pumps VFD panel-B1 | Secondary Pumps VFD panel-B1 | In-House | B1 Pump Room | 2026-03-05 | 2026-03-17 |  | 2026-02-03 | 2026-02-15
STP MCC Panel Basement - 4 (B4-4.0) | STP MCC Panel Basement - 4 (B4-4.0) | In-House | Basement - 4 | 2026-03-06 | 2026-03-18 |  | 2026-02-04 | 2026-02-16
Stack Parking MCC Panel-1.1 No's 3 | Stack Parking MCC Panel-1.1 No's 3 | In-House | Basement - 3 | 2026-03-07 | 2026-03-19 |  | 2026-02-05 | 2026-02-17
Scrubber MCC Panel -1(L9) | Scrubber MCC Panel -1(L9) | In-House | Terrace | 2026-03-08 | 2026-03-20 |  | 2026-02-06 | 2026-02-18
Air Washer MCC Panel -1(L9) | Air Washer MCC Panel -1(L9) | In-House | Terrace | 2026-03-09 | 2026-03-21 |  | 2026-02-07 | 2026-02-19
Package Cooling Tower Fans MCC Panels -1 | Package Cooling Tower Fans MCC Panels -1 | In-House | Terrace | 2026-03-10 | 2026-03-22 |  | 2026-02-08 | 2026-02-20
Package Cooling Tower Fans MCC Panels -2 | Package Cooling Tower Fans MCC Panels -2 | In-House | Terrace | 2026-03-11 | 2026-03-23 |  | 2026-02-09 | 2026-02-21
Chiller cooling Tower Fans MCC Panel -1 | Chiller cooling Tower Fans MCC Panel -1 | In-House | Terrace | 2026-03-12 | 2026-03-24 |  | 2026-02-10 | 2026-02-22
Chiller cooling Tower Fans MCC Panel -2 | Chiller cooling Tower Fans MCC Panel -2 | In-House | Terrace | 2026-03-13 | 2026-03-25 |  | 2026-02-11 | 2026-02-23
Chiller cooling Tower Fans MCC Panel -3 | Chiller cooling Tower Fans MCC Panel -3 | In-House | Terrace | 2026-03-14 | 2026-03-26 |  | 2026-02-12 | 2026-02-24
All Earth Pits - 76 Nos | All Earth Pits - 76 Nos | Vendor | LG | 2026-06-26 | 2026-03-28 |  | 2026-03-28 | 2026-06-26
Lighting arrester-1 To 2 | Lighting arrester-1 To 2 | Vendor | Terrace | 2026-06-27 | 2026-03-29 |  | 2026-03-29 | 2026-06-27
B4-MDB-1 | Basment MDB`s | In-House | Basement - 4 | 2025-04-01 | 2026-03-03 |  | 2025-03-02 | 2026-02-01
B4-MDB-2 | Basment MDB`s | In-House | Basement - 4 | 2025-04-01 | 2026-03-04 |  | 2025-03-02 | 2026-02-02
B4-MDB-3 | Basment MDB`s | In-House | Basement - 4 | 2025-04-01 | 2026-03-05 |  | 2025-03-02 | 2026-02-03
B3-MDB-1 | Basment MDB`s | In-House | Basement - 3 | 2025-04-02 | 2026-03-06 |  | 2025-03-03 | 2026-02-04
B3-MDB-2 | Basment MDB`s | In-House | Basement - 3 | 2025-04-02 | 2026-03-07 |  | 2025-03-03 | 2026-02-05
B3-MDB-3 | Basment MDB`s | In-House | Basement - 3 | 2025-04-02 | 2026-03-08 |  | 2025-03-03 | 2026-02-06
B2-MDB-1 | Basment MDB`s | In-House | Basement - 2 | 2025-04-03 | 2026-03-09 |  | 2025-03-04 | 2026-02-07
B2-MDB-2 | Basment MDB`s | In-House | Basement - 2 | 2025-04-03 | 2026-03-10 |  | 2025-03-04 | 2026-02-08
B2-MDB-3 | Basment MDB`s | In-House | Basement - 2 | 2025-04-03 | 2026-03-11 |  | 2025-03-04 | 2026-02-09
B1-MDB-1 | Basment MDB`s | In-House | Basement - 1 | 2025-04-04 | 2026-03-12 |  | 2025-03-05 | 2026-02-10
B1-MDB-2 | Basment MDB`s | In-House | Basement - 1 | 2025-04-04 | 2026-03-13 |  | 2025-03-05 | 2026-02-11
LG MDB-1 | Basment MDB`s | In-House | LG | 2025-04-04 | 2026-03-14 |  | 2025-03-05 | 2026-02-12
LG MDB-2 | Basment MDB`s | In-House | LG | 2025-04-05 | 2026-03-15 |  | 2025-03-06 | 2026-02-13
L1 MDB -1 | Basment MDB`s | In-House | Level - 1 | 2025-04-05 | 2026-03-16 |  | 2025-03-06 | 2026-02-14
L2 MDB-1 | Basment MDB`s | In-House | Level - 2 | 2025-04-05 | 2026-03-17 |  | 2025-03-06 | 2026-02-15
L2 MDB-2 | Basment MDB`s | In-House | Level - 2 | 2025-04-06 | 2026-03-18 |  | 2025-03-07 | 2026-02-16
L3 MDB-1 | Basment MDB`s | In-House | Level - 3 | 2025-04-06 | 2026-03-19 |  | 2025-03-07 | 2026-02-17
L3 MDB-2 | Basment MDB`s | In-House | Level - 3 | 2025-04-06 | 2026-03-20 |  | 2025-03-07 | 2026-02-18
L4 MDB-1 | Basment MDB`s | In-House | Level - 4 | 2025-04-07 | 2026-03-21 |  | 2025-03-08 | 2026-02-19
L4 MDB-2 | Basment MDB`s | In-House | Level - 4 | 2025-04-07 | 2026-03-22 |  | 2025-03-08 | 2026-02-20
L5 MDB-1 | Basment MDB`s | In-House | Level - 5 | 2025-04-07 | 2026-03-23 |  | 2025-03-08 | 2026-02-21
L5 MDB-2 | Basment MDB`s | In-House | Level - 5 | 2025-04-08 | 2026-03-24 |  | 2025-03-09 | 2026-02-22
L6 MDB-1 | Basment MDB`s | In-House | Level - 6 | 2025-04-08 | 2026-03-25 |  | 2025-03-09 | 2026-02-23
L6 MDB-2 | Basment MDB`s | In-House | Level - 6 | 2025-04-08 | 2026-03-26 |  | 2025-03-09 | 2026-02-24
L7 MDB-1 | Basment MDB`s | In-House | Level - 7 | 2025-04-09 | 2026-03-27 |  | 2025-03-10 | 2026-02-25
L7 MDB-2 | Basment MDB`s | In-House | Level - 7 | 2025-04-09 | 2026-03-28 |  | 2025-03-10 | 2026-02-26
L8 MDB-1 | Basment MDB`s | In-House | Level - 8 | 2025-04-09 | 2026-03-29 |  | 2025-03-10 | 2026-02-27
L8 MDB-2 | Basment MDB`s | In-House | Level - 8 | 2025-04-10 | 2026-03-30 |  | 2025-03-11 | 2026-02-28
L9 MDB-1 | Basment MDB`s | In-House | Level - 9 | 2025-04-10 | 2026-03-31 |  | 2025-03-11 | 2026-03-01
B4-SDB -1.1 No's 3 | Basment SDB`s | In-House | Basement - 4 | 2025-04-10 | 2026-04-01 |  | 2025-03-11 | 2026-03-02
B1-SDB - 1.1 | Basment SDB`s | In-House | Basement - 1 | 2025-04-11 | 2026-03-03 |  | 2025-03-12 | 2026-03-03
B4 EL Lighting DB-1 & 2 | ELDB`s | In-House | Basement - 4 | 2025-04-11 | 2026-03-04 |  | 2025-03-12 | 2026-03-04
B3 EL Lighting DB-1 & 2 | ELDB`s | In-House | Basement - 3 | 2025-04-11 | 2026-03-05 |  | 2025-03-12 | 2026-03-05
B2 EL Lighting DB-1 & 2 | ELDB`s | In-House | Basement - 2 | 2025-04-12 | 2026-03-06 |  | 2025-03-13 | 2026-03-06
B1 EL Lighting DB-1 To 3 | ELDB`s | In-House | Basement - 1 | 2025-04-12 | 2026-03-07 |  | 2025-03-13 | 2026-03-07
LG EL Lighting DB-1 | ELDB`s | In-House | Lower Ground | 2025-04-12 | 2026-03-08 |  | 2025-03-13 | 2026-03-08
L1 EL Lighting DB-1 | ELDB`s | In-House | Level - 1 | 2025-04-13 | 2026-03-09 |  | 2025-03-14 | 2026-03-09
L2 EL Lighting DB-1 & 2 | ELDB`s | In-House | Level - 2 | 2025-04-13 | 2026-03-10 |  | 2025-03-14 | 2026-03-10
L3 EL Lighting DB-1 & 2 | ELDB`s | In-House | Level - 3 | 2025-04-13 | 2026-03-11 |  | 2025-03-14 | 2026-03-11
L4 EL Lighting DB-1 | ELDB`s | In-House | Level - 4 | 2025-04-14 | 2026-03-12 |  | 2025-03-15 | 2026-03-12
L5 EL Lighting DB-1 | ELDB`s | In-House | Level - 5 | 2025-04-14 | 2026-03-13 |  | 2025-03-15 | 2026-03-13
L6 EL Lighting DB-1 | ELDB`s | In-House | Level - 6 | 2025-04-14 | 2026-03-14 |  | 2025-03-15 | 2026-03-14
L7 EL Lighting DB-1 | ELDB`s | In-House | Level - 7 | 2025-04-15 | 2026-03-15 |  | 2025-03-16 | 2026-03-15
L8 EL Lighting DB-1 | ELDB`s | In-House | Level - 8 | 2025-04-15 | 2026-03-16 |  | 2025-03-16 | 2026-03-16
L9 EL Lighting DB-1 | ELDB`s | In-House | Level - 9 | 2025-04-15 | 2026-03-17 |  | 2025-03-16 | 2026-03-17
B4 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Basement - 4 | 2025-04-16 | 2026-03-18 |  | 2025-03-17 | 2026-03-18
B3 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Basement - 3 | 2025-04-16 | 2026-03-19 |  | 2025-03-17 | 2026-03-19
B2 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Basement - 2 | 2025-04-16 | 2026-03-20 |  | 2025-03-17 | 2026-03-20
B1 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Basement - 1 | 2025-04-17 | 2026-03-21 |  | 2025-03-18 | 2026-03-21
LG Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Lower Ground | 2025-04-17 | 2026-03-22 |  | 2025-03-18 | 2026-03-22
L1 Raw power Lighting DB -1 To 3 | RPDB`s | In-House | Level - 1 | 2025-04-17 | 2026-03-23 |  | 2025-03-18 | 2026-03-23
L2 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Level - 2 | 2025-04-18 | 2026-03-24 |  | 2025-03-19 | 2026-03-24
L3 Raw power Lighting DB -1 To 3 | RPDB`s | In-House | Level - 3 | 2025-04-18 | 2026-03-25 |  | 2025-03-19 | 2026-03-25
L9 Raw power Lighting DB -1 | RPDB`s | In-House | Level - 9 | 2025-04-18 | 2026-03-26 |  | 2025-03-19 | 2026-03-26
Drain Sump pump-1 | Starter panels | In-House | Basement - 4 | 2025-04-19 | 2026-03-27 |  | 2025-03-20 | 2026-03-27
Drain Sump pump-2 | Starter panels | In-House | Basement - 4 | 2025-04-19 | 2026-03-28 |  | 2025-03-20 | 2026-03-28
Drain Sump pump-3 | Starter panels | In-House | Basement - 4 | 2025-04-19 | 2026-03-29 |  | 2025-03-20 | 2026-03-29
Drain Sump pump-4 | Starter panels | In-House | Basement - 4 | 2025-04-20 | 2026-03-30 |  | 2025-03-21 | 2026-03-30
Drain Sump pump-5 | Starter panels | In-House | Basement - 4 | 2025-04-20 | 2026-03-31 |  | 2025-03-21 | 2026-03-31
Drain Sump Starter Panel-1 | Starter panels | In-House | Basement - 4 | 2025-04-20 | 2026-04-01 |  | 2025-03-21 | 2026-04-01
Drain Sump Starter Panel-2 | Starter panels | In-House | Basement - 4 | 2025-04-21 | 2026-03-03 |  | 2025-03-22 | 2026-04-02
Drain Sump Starter Panel-3 | Starter panels | In-House | Basement - 4 | 2025-04-21 | 2026-03-04 |  | 2025-03-22 | 2026-04-03
Drain Sump Starter Panel-4 | Starter panels | In-House | Basement - 4 | 2025-04-21 | 2026-03-05 |  | 2025-03-22 | 2026-04-04
Drain Sump Starter Panel-5 | Starter panels | In-House | Basement - 4 | 2025-04-22 | 2026-03-06 |  | 2025-03-23 | 2026-04-05
Raw water shifting Pump Starter 1 | Starter panels | In-House | Basement - 4 | 2025-04-22 | 2026-03-07 |  | 2025-03-23 | 2026-04-06
Raw water shifting Pump Starter 2 | Starter panels | In-House | Basement - 4 | 2025-04-22 | 2026-03-08 |  | 2025-03-23 | 2026-04-07
SBR Pumps Starter -1 | Starter panels | In-House | Basement - 4 | 2025-04-23 | 2026-03-09 |  | 2025-03-24 | 2026-04-08
SBR Pumps Starter -2 | Starter panels | In-House | Basement - 4 | 2025-04-23 | 2026-03-10 |  | 2025-03-24 | 2026-04-09
Drain Pump Starter-1 | Starter panels | In-House | Basement - 4 | 2025-04-23 | 2026-03-11 |  | 2025-03-24 | 2026-04-10
Drain Pump Starter-2 | Starter panels | In-House | Basement - 4 | 2025-04-24 | 2026-03-12 |  | 2025-03-25 | 2026-04-11
Air Blowers Starter -1 | Starter panels | In-House | Basement - 4 | 2025-04-24 | 2026-03-13 |  | 2025-03-25 | 2026-04-12
Air Blowers Starter -2 | Starter panels | In-House | Basement - 4 | 2025-04-24 | 2026-03-14 |  | 2025-03-25 | 2026-04-13
Air Blowers Starter -3 | Starter panels | In-House | Basement - 4 | 2025-04-25 | 2026-03-15 |  | 2025-03-26 | 2026-04-14
Domestic Tank - 1 To 3 | Water storage Tanks | In-House | B1 Pump Room | 2026-04-20 | 2026-03-28 |  | 2026-01-20 | 2026-03-28
Raw Water Tank - 1 To 2 | Water storage Tanks | In-House | B1 Pump Room | 2026-04-21 | 2026-03-29 |  | 2026-01-21 | 2026-03-29
Fire Tank 1 To 2 | Water storage Tanks | In-House | B1 Pump Room | 2026-04-22 | 2026-03-30 |  | 2026-01-22 | 2026-03-30
Domestic Tank | Water storage Tanks | In-House | Terrace | 2026-04-23 | 2026-03-31 |  | 2026-01-23 | 2026-03-31
Flush Tank | Water storage Tanks | In-House | Terrace | 2026-04-24 | 2026-04-01 |  | 2026-01-24 | 2026-04-01
Softner Tank | Water storage Tanks | In-House | Terrace | 2026-04-25 | 2026-04-02 |  | 2026-01-25 | 2026-04-02
Fire Tank | Water storage Tanks | In-House | Terrace | 2026-04-26 | 2026-04-03 |  | 2026-01-26 | 2026-04-03
STP Final Tank | Water storage Tanks | In-House | B4 STP Plant | 2026-04-27 | 2026-04-04 |  | 2026-01-27 | 2026-04-04
STP Softner Tank | Water storage Tanks | In-House | B4 STP Plant | 2026-04-28 | 2026-04-05 |  | 2026-01-28 | 2026-04-05
Stainers (1 - 5) | Stainers | In-House | B1 DG Room | 2026-04-20 | 2026-03-13 |  | 2026-01-20 | 2026-03-13 | 4.6556
Stainers (1 & 2) | Stainers | In-House | B1 Domestic Tank | 2026-04-21 | 2026-03-14 |  | 2026-01-21 | 2026-03-14
Stainers (1 & 2) | Stainers | In-House | B1 Raw Water Tank | 2026-04-22 | 2026-03-15 |  | 2026-01-22 | 2026-03-15
Stainers (1 & 2) | Stainers | In-House | B1 Fire tank | 2026-04-23 | 2026-03-16 |  | 2026-01-23 | 2026-03-16
Chiller (1 - 3) Stainers | Stainers | In-House | B1 Chiller Plant | 2026-04-24 | 2026-03-17 |  | 2026-01-24 | 2026-03-17
Condensor Pumps Stainers | Stainers | In-House | B1 Chiller Plant | 2026-04-25 | 2026-03-18 |  | 2026-01-25 | 2026-03-18
Secondary Pumps Stainers | Stainers | In-House | B1 Chiller Plant | 2026-04-26 | 2026-03-19 |  | 2026-01-26 | 2026-03-19
Primary Pumps Stainers | Stainers | In-House | B1 Chiller Plant | 2026-04-27 | 2026-03-20 |  | 2026-01-27 | 2026-03-20
Package condenser Stainers | Stainers | In-House | Terrace | 2026-04-28 | 2026-03-21 |  | 2026-01-28 | 2026-03-21
Condensing tank for chiller | Condensing Tank | In-House | Service Floor | 2026-04-29 | 2026-03-22 |  | 2026-01-29 | 2026-03-22
Pressure Release Valves | PRV`s | In-House | All Shafts | 2026-04-30 | 2026-03-23 |  | 2026-01-30 | 2026-03-23
Sliding Door | Glas doors | In-House | LG | 2026-05-31 | 2026-03-24 |  | 2026-03-02 | 2026-03-24
Staricase Emergency Doors | Staircase Doors | In-House | Staircase 1 to 5 | 2026-03-30 | 2026-03-30 |  | 2026-02-28 | 2026-03-30
Multi stack Parking - 106 Nos | Stack Parking | Vendor | Basement - 3 | 2026-03-05 | 2026-05-31 |  | 2025-12-05 | 2026-05-31
Formulas:
Last Service = [Last Service]+365
nextDueDate = [nextDueDate]+365*(INT((TODAY()-[nextDueDate])/365)+1)