## Assets
s_no | asset_name | asset_code | location
1 | HT Panel I/C Source -1 VCB | HT I/C VCB-1 | HT Room
2 | HT Panel I/C Source -1 VCB | HT I/C VCB-1 | HT Room
3 | HT Panel I/C Source -2 VCB | HT I/C VCB-2 | HT Room
4 | HT Panel O/G VCB-1 | HT O/G-1 VCB-1 | HT Room
5 | HT I/C from O/G VCB | HT I/C from O/G VCB-4 | HT Room
6 | Transformer- HT I/C VCB-1 | HT TR 01 VCB-1 | HT Room
7 | Transformer- HT I/C VCB-2 | HT TR 02 VCB-2 | HT Room
8 | Transformer- HT I/C VCB-3 | HT TR 03 VCB-3 | HT Room
9 | Transformer- HT I/C VCB-4 | HT TR 04 VCB-4 | HT Room
10 | Transformer- HT I/C VCB-5 | HT TR 05 VCB-5 | HT Room
11 | DG set-1 1500 KVA | DG-01 | DG Room
12 | DG set-2 1500 KVA | DG-02 | DG Room
13 | DG set-3 1500 KVA | DG-03 | DG Room
14 | DG set-4 1500 KVA | DG-04 | DG Room
15 | Transformer-1 - 1600KVA | TR-1 | Transformer Room
16 | Transformer-2 - 1600KVA | TR-2 | Transformer Room
17 | Transformer-3 - 1600KVA | TR-3 | Transformer Room
18 | Transformer-4 - 1600KVA | TR-4 | Transformer Room
19 | Transformer-5 - 630KVA | TR-5 | Transformer Room
20 | LT Kiosk panel ACB's -1 | T/R-1 Isolator -1 | HT Room
21 | LT Kiosk panel ACB's -2 | T/R-2 Isolator -2 | HT Room
22 | LT Kiosk panel ACB's -3 | T/R-3 Isolator -3 | HT Room
23 | LT Kiosk panel ACB's -4 | T/R-4 Isolator -4 | HT Room
24 | LT Kiosk panel ACB's -5 | T/R-5 Isolator -5 | HT Room
25 | LT panel EB Incomining ACB -1 | LT I/C ACB EB-1 | LT ROOM
26 | LT panel EB Incomining ACB -2 | LT I/C ACB EB-2 | LT ROOM
27 | LT panel EB Incomining ACB -3 | LT I/C ACB EB-3 | LT ROOM
28 | LT panel EB Incomining ACB -4 | LT I/C ACB EB-4 | LT ROOM
29 | LT panel EB Incomining ACB -5 | LT I/C ACB EB-5 | LT ROOM
30 | LT panel DG Incomining ACB -1 | LT I/C ACB DG-1 | LT ROOM
31 | LT panel DG Incomining ACB -2 | LT I/C ACB DG-2 | LT ROOM
32 | LT panel DG Incomining ACB -3 | LT I/C ACB DG-3 | LT ROOM
33 | LT panel DG Incomining ACB -4 | LT I/C ACB DG-4 | LT ROOM
34 | LT Panel BUSCOUPLER -1 | LT Buscoupler ACB-1 | LT ROOM
35 | LT Panel BUSCOUPLER -2 | LT Buscoupler ACB-2 | LT ROOM
36 | LT Panel BUSCOUPLER -3 | LT Buscoupler ACB-3 | LT ROOM
37 | LT Panel BUSCOUPLER -4 | LT Buscoupler ACB-4 | LT ROOM
38 | Chiller Source -1 | Chiller O/G ACB Source-1 | LT ROOM
39 | Chiller Source -2 | Chiller O/G ACB Source-2 | LT ROOM
40 | LT Spare ACB | Spare ACB | LT ROOM
41 | Main PLC panel | PLC panel | LT ROOM
42 | 400 kvar APFCR panel-1 | EB Capacitor panel-1 | LT ROOM
43 | 400 kvar APFCR panel-1 | EB Capacitor panel-2 | LT ROOM
44 | 400 kvar APFCR panel-1 | EB Capacitor panel-3 | LT ROOM
45 | 400 kvar APFCR panel-1 | EB Capacitor panel-4 | LT ROOM
46 | 150 kvar APFCR panel-1 | EB Capacitor panel-5 | LT ROOM
47 | DG AMF panel O/G VCB-1 | DG O/G VCB-1 | DG Room
48 | DG AMF panel O/G VCB-2 | DG O/G VCB-2 | DG Room
49 | DG AMF panel O/G VCB-3 | DG O/G VCB-3 | DG Room
50 | DG AMF panel O/G VCB-4 | DG O/G VCB-4 | DG Room
51 | DG AMF panel O/G | DG O/G ACB -5 spare | DG Room
52 | Chiller source-1 I/C ACB | Chiller I/C ACB Source-1 | Plant Room
53 | Chiller source-2 I/C ACB | Chiller I/C ACB Source-2 | Plant Room
54 | Chiller Buscoupler ACB | Chiller Buscoupler ACB | Plant Room
55 | Chiller-1 O/G ACB | Chiller-1 ACB | Plant Room
56 | Chiller-2 O/G ACB | Chiller-2 ACB | Plant Room
57 | Chiller-3 O/G ACB | Chiller-3 ACB | Plant Room
58 | 33kv I/C source panel | HT I/C Panel | HT Room
59 | HT TR I/C panel | HT O/G Panel | HT Room
60 | LT TR O/G panel | LT kiosk panel | HT Room
61 | LT I/C from kiosk panel | LT PANEL | LT ROOM
62 | AMF DG panel-1 | AMF Panel-1 | DG Room
63 | AMF DG panel-2 | AMF Panel-2 | DG Room
64 | AMF DG panel-3 | AMF Panel-3 | DG Room
65 | AMF DG panel-4 | AMF Panel-4 | DG Room
66 | 60 KVA ups | UPS-1 | UPS Room
67 | Battery chargers-1 | Inverter-1 | HT Room
68 | Battery chargers-2 | Inverter-2 | LT ROOM
69 | Battery chargers-3 | Inverter-3 | Server Room
70 | Office Elevator-1 | Elevator OE-1 | Level-9
71 | Office Elevator-2 | Elevator OE-2 | Level-9
72 | Office Elevator-3 | Elevator OE-3 | Level-9
73 | Office Service Elevator-1 | Elevator OS-1 | Level-9
74 | Mall Guest Elevator-1 | Elevator MG-1 | Level-3
75 | Mall Guest Elevator-2 | Elevator MG-2 | Level-3
76 | Mall Service Elevator-1 | Elevator MS-1 | Level-3
77 | Mall Service Elevator-2 | Elevator MS-2 | Level-3
78 | L3-L2 Down Escalator | Escalator L3-L2 | Level-2
79 | L2-L3 Up Escalator | Escalator L2-L3 | Level-3
80 | L2-L1 Down Escalator | Escalator L2-L1 | Level-1
81 | L1-L2 Up Escalator | Escalator L1-L2 | Level-2
82 | L1-LG Down Escalator | Escalator L1-LG | Level-G
83 | LG-L1 Up Escalator | Escalator LG-L1 | Level-1
84 | LG-B1 Mid Down Travellator | Travellator LG | Level-G
85 | B1 Mid - B1 Down Travellator | Travellator B1 | B1 Mid Level
86 | B1-B2 Down Travellator | Travellator B2 | Level-B1
87 | D mart inside L1-LG Down Escalator | Travellator L1-LG | Level-1
88 | Chiller condenser pumps | Chiller Condenser pump-1 | B1 Chiller plant room
89 | Chiller condenser pumps | Chiller Condenser pump-2 | B1 Chiller plant room
90 | Chiller condenser pumps | Chiller Condenser pump-3 | B1 Chiller plant room
91 | Chiller Primary pumps | Chiller Primary pump-1 | B1 Chiller plant room
92 | Chiller Primary pumps | Chiller Primary pump-2 | B1 Chiller plant room
93 | Chiller Primary pumps | Chiller Primary pump-3 | B1 Chiller plant room
94 | Chiller Secondary pumps | Chiller Mall secondary pump-1 | B1 Chiller plant room
95 | Chiller Secondary pumps | Chiller Mall secondary pump-2 | B1 Chiller plant room
96 | Chiller Secondary pumps | Chiller Mall secondary pump-3 | B1 Chiller plant room
97 | Chiller Secondary pumps | Chiller Marriott Secondary pump-1 | B1 Chiller plant room
98 | Chiller Secondary pumps | Chiller Marriott Secondary pump-2 | B1 Chiller plant room
99 | Chiller Secondary pumps | Chiller Marriott Secondary pump-3 | B1 Chiller plant room
100 | Package condenser pumps | Package Condenser pump-1 | Terrace
101 | Package condenser pumps | Package Condenser pump-2 | Terrace
102 | Package condenser pumps | Package Condenser pump-3 | Terrace
103 | Chilled water Pressuer makeup pumps | Chilled water makeup pump-1 | B1 Chiller plant room
104 | Chilled water Pressuer makeup pumps | Chilled water makeup pump-2 | B1 Chiller plant room
105 | DG Condenser pumps | DG condenser pump-1 | DG Room
106 | DG Condenser pumps | DG condenser pump-2 | DG Room
107 | DG Condenser pumps | DG condenser pump-3 | DG Room
108 | DG Condenser pumps | DG condenser pump-4 | DG Room
109 | DG Condenser pumps | DG condenser pump-5 | DG Room
110 | WTP pumps | WTP Raw water Pump-1 | B1 Chiller plant room
111 | WTP pumps | WTP Raw water Pump-2 | B1 Chiller plant room
112 | Domastic pumps | Domestic water shifting Pump-1 | B1 Chiller plant room
113 | Domastic pumps | Domestic water shifting Pump-2 | B1 Chiller plant room
114 | Cooling towers | Chiller Cooling tower-1 | Terrace
115 | Cooling towers | Chiller Cooling tower-2 | Terrace
116 | Cooling towers | Chiller Cooling tower-3 | Terrace
117 | Cooling towers | DG Cooling tower-1 | Terrace
118 | Cooling towers | DG Cooling tower-2 | Terrace
119 | Cooling towers | Package Cooling tower-1 | Terrace
120 | Cooling towers | Package Cooling tower-2 | Terrace
121 | CT Fans | Chiller Cooling tower-1 fan -1 To 4 | Terrace
122 | CT Fans | Chiller Cooling tower-2 fan -1 To 4 | Terrace
123 | CT Fans | Chiller Cooling tower-3 fan -1 & 2 | Terrace
124 | CT Fans | DG Cooling tower-1 fan -1 & 2 | Terrace
125 | CT Fans | DG Cooling tower-2 fan -1 & 2 | Terrace
126 | CT Fans | Package Cooling tower-1 fan -1 To 4 | Terrace
127 | CT Fans | Package Cooling tower-2 fan -1 To 4 | Terrace
128 | Package units | L8 common area lobby Package Unit-1 | L8 Beside office Lift Lobby
129 | Package units | L7 common area lobby Package Unit-1 | L7 Beside office Lift Lobby
130 | Package units | L6 common area lobby Package Unit-1 | L6 Beside office Lift Lobby
131 | Package units | L5 common area lobby Package Unit-1 | L5 Beside office Lift Lobby
132 | Package units | L4 common area lobby Package Unit-1 | L4 Beside office Lift Lobby
133 | AHU Units | L1 Common area AHU -1 | L1 AHU opp MS lifts
134 | AHU Units | L2 Common area AHU -1 | L2AHU opp MS lifts
135 | CSU Units | L2 Common area CSU -1 | L2 above LRR
136 | AHU Units | L3 Common area AHU -1 | L3 above GRR
137 | CSU Units | L3 Common area CSU -1 | L3 above LRR
138 | CSU Units | LG MS Lift Lobby CSU -1 | LG above Ceiling MS Lift Lobby
139 | CSU Units | LG OE Lift Lobby CSU -2 | LG Podium above Ceiling OE Lift Lobby
140 | CSU Units | B1 LT Room CSU -1 | B1 LT Room
141 | CSU Units | B1 HT Room CSU -1 | B1 HT Room
142 | Cold storage Unit | B1 Garbage room AC Unit-1 | B1 Garbage Room
143 | FCU Unit | B1 UPS Room Fan coil Unit-1 | B1 UPS Room
144 | Split AC units | B1 Server Room Split Air Conditioner -1 | B1 Server Room
145 | Split AC units | B1 Server Room Split Air Conditioner -2 | B1 Server Room
146 | Split AC units | CCTV Room Split Air Conditioner -1 | B1 CCTV Room
147 | Split AC units | CCTV Room Split Air Conditioner -2 | B1 CCTV Room
148 | Split AC units | BMS Room Split Air Conditioner -1 | B1 BMS Room
149 | Split AC units | B1 UPS Room Split Air Conditioner -1 | B1 UPS Room
150 | Split AC units | B2 OE Lift Lobby Split Air Conditioner-1 | B2 OE Lift Lobby
151 | Split AC units | B3 OE Lift Lobby Split Air Conditioner-1 | B3 OE Lift Lobby
152 | Split AC units | B4 OE Lift Lobby Split Air Conditioner-1 | B4OE Lift Lobby
153 | Split AC units | L9 OE Lift Lobby Split Air Conditioner -1 | L9 OE Lift Lobby
154 | Split AC units | L9 UPS Room Split Air Conditioner -1 | L9 UPS Room
155 | Split AC units | L8 Server room split AC Unit-1 | Server Room L8
156 | Split AC units | L7 Server room split AC Unit-1 | Server Room L7
157 | Split AC units | L6 Server room split AC Unit-1 | Server Room L6
158 | Split AC units | L5 Server room split AC Unit-1 | Server Room L5
159 | Split AC units | L4 Server room split AC Unit-1 | Server Room L4
160 | 350 TR chiller-1 | Chiller-1 | B1 Chiller plant room
161 | 650 TR chiller-1 | Chiller-2 | B1 Chiller plant room
162 | 650 TR chiller-2 | Chiller-3 | B1 Chiller plant room
163 | Fresh Air Units | ST-5 Fresh Air Unit -1 | Level-9
164 | Exahust Units | ST-5 Exahust Unit -1 | Level-9
165 | Scrubber Units | Scrubber Unit -1 | Level-9
166 | Air washer Units | Air washer Unit -1 | Level-9
167 | Fresh Air Units | DG Fresh air fan -1 | DG Room
168 | Fresh Air Units | DG Fresh air fan -2 | DG Room
169 | Fresh Air Units | DG Fresh air fan -3 | DG Room
170 | Fresh Air Units | DG Fresh air fan -4 | DG Room
171 | Exahust Units | DG Exhaust Fan -1 | DG Room
172 | Exahust Units | DG Exhaust Fan -2 | DG Room
173 | Exahust Units | DG Exhaust Fan -3 | DG Room
174 | Exahust Units | DG Exhaust Fan -4 | DG Room
175 | Exahust Units | B3 Toilet Exhaust-1 | Basement - 3
176 | Exahust Units | B1 Toilet Exhaust-1 | Basement - 1
177 | Exahust Units | L2 GRR Toilet Exhaust-1 | Level-L2
178 | Exahust Units | L2 LRR Toilet Exhaust-1 | Level-L2
179 | Exahust Units | L3 GRR Toilet Exhaust-1 | Level-L3
180 | Exahust Units | L3 LRR Toilet Exhaust-1 | Level-L3
181 | Exahust Units | B1 Garbage Room Exhaust-1 | B1 Garbage Room
182 | Fresh Air Units | B4 STP Fresh Air Fan-1 | Basement - 4
183 | Fresh Air Units | B4 Fresh Air Fan unit -1 | Basement - 4
184 | Fresh Air Units | B4 Fresh Air Fan unit -2 | Basement - 4
185 | Fresh Air Units | B4 Fresh Air Fan unit -3 | Basement - 4
186 | Fresh Air Units | B4 Fresh Air Fan unit -4 | Basement - 4
187 | Fresh Air Units | B4 Fresh Air Fan unit -5 | Basement - 4
188 | Fresh Air Units | B4 Fresh Air Fan unit -6 | Basement - 4
189 | Fresh Air Units | B4 Fresh Air Fan unit -7 | Basement - 4
190 | Fresh Air Units | B4 Fresh Air Fan unit -8 | Basement - 4
191 | Fresh Air Units | B4 Fresh Air Fan unit -9 | Basement - 4
192 | Fresh Air Units | B4 Fresh Air Fan unit -10 | Basement - 4
193 | Fresh Air Units | B4 Fresh Air Fan unit -11 | Basement - 4
194 | Fresh Air Units | B4 Fresh Air Fan unit -12 | Basement - 4
195 | Fresh Air Units | B4 Fresh Air Fan unit -13 | Basement - 4
196 | Fresh Air Units | B4 Fresh Air Fan unit -14 | Basement - 4
197 | Fresh Air Units | B4 Fresh Air Fan unit -15 | Basement - 4
198 | Exahust Units | B4 Exhaust Fan unit -1 | Basement - 4
199 | Exahust Units | B4 Exhaust Fan unit -2 | Basement - 4
200 | Exahust Units | B4 Exhaust Fan unit -3 | Basement - 4
201 | Exahust Units | B4 Exhaust Fan unit -4 | Basement - 4
202 | Exahust Units | B4 Exhaust Fan unit -5 | Basement - 4
203 | Exahust Units | B4 Exhaust Fan unit -6 | Basement - 4
204 | Exahust Units | B4 Exhaust Fan unit -7 | Basement - 4
205 | Exahust Units | B4 Exhaust Fan unit -8 | Basement - 4
206 | Exahust Units | B4 Exhaust Fan unit -9 | Basement - 4
207 | Exahust Units | B4 Exhaust Fan unit -10 | Basement - 4
208 | Exahust Units | B4 Exhaust Fan unit -11 | Basement - 4
209 | Exahust Units | B4 Exhaust Fan unit -12 | Basement - 4
210 | Fresh Air Units | B3 Fresh Air Fan unit-1 | Basement - 3
211 | Fresh Air Units | B3 Fresh Air Fan unit-2 | Basement - 3
212 | Fresh Air Units | B3 Fresh Air Fan unit-3 | Basement - 3
213 | Fresh Air Units | B3 Fresh Air Fan unit-4 | Basement - 3
214 | Fresh Air Units | B3 Fresh Air Fan unit-5 | Basement - 3
215 | Fresh Air Units | B3 Fresh Air Fan unit-6 | Basement - 3
216 | Fresh Air Units | B3 Fresh Air Fan unit-7 | Basement - 3
217 | Fresh Air Units | B3 Fresh Air Fan unit-8 | Basement - 3
218 | Fresh Air Units | B3 Fresh Air Fan unit-9 | Basement - 3
219 | Fresh Air Units | B3 Fresh Air Fan unit-10 | Basement - 3
220 | Fresh Air Units | B3 Fresh Air Fan unit-11 | Basement - 3
221 | Fresh Air Units | B3 Fresh Air Fan unit-12 | Basement - 3
222 | Fresh Air Units | B3 Fresh Air Fan unit-13 | Basement - 3
223 | Fresh Air Units | B3 Fresh Air Fan unit-14 | Basement - 3
224 | Fresh Air Units | B3 Fresh Air Fan unit-15 | Basement - 3
225 | Exahust Units | B3 Exhaust Fan unit-1 | Basement - 3
226 | Exahust Units | B3 Exhaust Fan unit-2 | Basement - 3
227 | Exahust Units | B3 Exhaust Fan unit-3 | Basement - 3
228 | Exahust Units | B3 Exhaust Fan unit-4 | Basement - 3
229 | Exahust Units | B3 Exhaust Fan unit-5 | Basement - 3
230 | Exahust Units | B3 Exhaust Fan unit-6 | Basement - 3
231 | Exahust Units | B3 Exhaust Fan unit-7 | Basement - 3
232 | Exahust Units | B3 Exhaust Fan unit-8 | Basement - 3
233 | Exahust Units | B3 Exhaust Fan unit-9 | Basement - 3
234 | Exahust Units | B3 Exhaust Fan unit-10 | Basement - 3
235 | Exahust Units | B3 Exhaust Fan unit-11 | Basement - 3
236 | Exahust Units | B3 Exhaust Fan unit-12 | Basement - 3
237 | Fresh Air Units | B2 Fresh Air Fan unit-1 | Basement - 3
238 | Fresh Air Units | B2 Fresh Air Fan unit-2 | Basement - 3
239 | Fresh Air Units | B2 Fresh Air Fan unit-3 | Basement - 2
240 | Fresh Air Units | B2 Fresh Air Fan unit-4 | Basement - 2
241 | Fresh Air Units | B2 Fresh Air Fan unit-5 | Basement - 2
242 | Fresh Air Units | B2 Fresh Air Fan unit-6 | Basement - 2
243 | Fresh Air Units | B2 Fresh Air Fan unit-7 | Basement - 2
244 | Fresh Air Units | B2 Fresh Air Fan unit-8 | Basement - 2
245 | Fresh Air Units | B2 Fresh Air Fan unit-9 | Basement - 2
246 | Fresh Air Units | B2 Fresh Air Fan unit-10 | Basement - 2
247 | Fresh Air Units | B2 Fresh Air Fan unit-11 | Basement - 2
248 | Fresh Air Units | B2 Fresh Air Fan unit-12 | Basement - 2
249 | Fresh Air Units | B2 Fresh Air Fan unit-13 | Basement - 2
250 | Fresh Air Units | B2 Fresh Air Fan unit-14 | Basement - 2
251 | Exahust Units | B2 Exhaust Fan unit-1 | Basement - 2
252 | Exahust Units | B2 Exhaust Fan unit-2 | Basement - 2
253 | Exahust Units | B2 Exhaust Fan unit-3 | Basement - 2
254 | Exahust Units | B2 Exhaust Fan unit-4 | Basement - 2
255 | Exahust Units | B2 Exhaust Fan unit-5 | Basement - 2
256 | Exahust Units | B2 Exhaust Fan unit-6 | Basement - 2
257 | Exahust Units | B2 Exhaust Fan unit-7 | Basement - 2
258 | Exahust Units | B2 Exhaust Fan unit-8 | Basement - 2
259 | Exahust Units | B2 Exhaust Fan unit-9 | Basement - 2
260 | Exahust Units | B2 Exhaust Fan unit-10 | Basement - 2
261 | Exahust Units | B2 Exhaust Fan unit-11 | Basement - 2
262 | Exahust Units | B2 Exhaust Fan unit-12 | Basement - 2
263 | Exahust Units | B1 T/R Room Exhaust unit-1 | Transformer Room
264 | Fresh Air Units | B1 T/R Room Fresh Air unit-1 | Transformer Room
265 | Fresh Air Units | B1 Chiller Room Fresh Air unit-1 | B1 Chiller plant room
266 | Exahust Units | B1 Chiller Room Exhaust unit-1 | B1 Chiller plant room
267 | Pressurization units | Staircase Pressurization fans -1 | Level-9
268 | Pressurization units | Staircase Pressurization fans -2 | Level-9
269 | Stp By pass pump | By Pass Motor Pump-1(STP) | Level-B4 STP
270 | SBR pumps | SBR Drain Pump 1 | Level-B4 STP
271 | SBR pumps | SBR Drain Pump 2 | Level-B4 STP
272 | STP Raw water pumps | Raw Pump-1 | Level-B4 STP
273 | STP Raw water pumps | Raw Pump-2 | Level-B4 STP
274 | sludge pumps | Sludge Pump 1 | Level-B4 STP
275 | sludge pumps | Sludge Pump 2 | Level-B4 STP
276 | screw pumps | Screw Pump-1 | Level-B4 STP
277 | screw pumps | Screw Pump-2 | Level-B4 STP
278 | STP filter feed pumps | Feeding Pump 1 | Level-B4 STP
279 | STP filter feed pumps | Feeding Pump 2 | Level-B4 STP
280 | Softner pumps | Softener Pump 1 | Level-B4 STP
281 | Softner pumps | Softener Pump 2 | Level-B4 STP
282 | STP Drain pumps | Drain Pump-1 | Level-B4 STP
283 | STP Drain pumps | Drain Pump-2 | Level-B4 STP
284 | Air Blower motors | Air Blower 1 | Level-B4 STP
285 | Air Blower motors | Air Blower 2 | Level-B4 STP
286 | Air Blower motors | Air Blower 3 | Level-B4 STP
287 | Rain water drain pump | Rain Water Drain Pump-1(50HP)(Over Flow Rain Water) | Level-B4
288 | Fire fighting pumps | Fire Diesel generator Pump -1 | B1 Fire Fighting Room
289 | Fire fighting pumps | Fire Hydrant Pumps -Kirloskar-1 | B1 Fire Fighting Room
290 | Fire fighting pumps | Fire Sprinkler Pumps -Kirloskar-1 | B1 Fire Fighting Room
291 | Fire fighting pumps | Fire Stand by Pumps -Kirloskar-1 | B1 Fire Fighting Room
292 | Fire fighting pumps | Fire Low Jockey Pumps -Grundfos-1 | B1 Fire Fighting Room
293 | Fire fighting pumps | Fire High Jockey Pumps -Grundfos-1 | B1 Fire Fighting Room
294 | Fire Alarm & PA system | Addressable Control panel-1 & 2 | B1 CCTV Room
295 | CCTV | Camera - 256 Nos | All Locations
296 | PRI | Primary Rate Interface(Telephone PRI) | B1 Server Room
297 | Air Washer & Scrubber PCC Panel (L 9) | Air Washer & Scrubber PCC Panel (L 9) | Level-9
298 | Secondary Pumps VFD panel-B1 | Secondary Pumps VFD panel-B1 | B1 Pump Room
299 | STP MCC Panel Basement - 4 (B4-4.0) | STP MCC Panel Basement - 4 (B4-4.0) | Basement - 4
300 | Stack Parking MCC Panel-1.1 No's 3 | Stack Parking MCC Panel-1.1 No's 3 | Basement - 3
301 | Scrubber MCC Panel -1(L9) | Scrubber MCC Panel -1(L9) | Terrace
302 | Air Washer MCC Panel -1(L9) | Air Washer MCC Panel -1(L9) | Terrace
303 | Package Cooling Tower Fans MCC Panels -1 | Package Cooling Tower Fans MCC Panels -1 | Terrace
304 | Package Cooling Tower Fans MCC Panels -2 | Package Cooling Tower Fans MCC Panels -2 | Terrace
305 | Chiller cooling Tower Fans MCC Panel -1 | Chiller cooling Tower Fans MCC Panel -1 | Terrace
306 | Chiller cooling Tower Fans MCC Panel -2 | Chiller cooling Tower Fans MCC Panel -2 | Terrace
307 | Chiller cooling Tower Fans MCC Panel -3 | Chiller cooling Tower Fans MCC Panel -3 | Terrace
308 | All Earth Pits - 76 Nos | All Earth Pits - 76 Nos | LG
309 | Lighting arrester-1 To 2 | Lighting arrester-1 To 2 | Terrace
310 | Basment MDB`s | B4-MDB-1 | Basement - 4
311 | Basment MDB`s | B4-MDB-2 | Basement - 4
312 | Basment MDB`s | B4-MDB-3 | Basement - 4
313 | Basment MDB`s | B3-MDB-1 | Basement - 3
314 | Basment MDB`s | B3-MDB-2 | Basement - 3
315 | Basment MDB`s | B3-MDB-3 | Basement - 3
316 | Basment MDB`s | B2-MDB-1 | Basement - 2
317 | Basment MDB`s | B2-MDB-2 | Basement - 2
318 | Basment MDB`s | B2-MDB-3 | Basement - 2
319 | Basment MDB`s | B1-MDB-1 | Basement - 1
320 | Basment MDB`s | B1-MDB-2 | Basement - 1
321 | Basment MDB`s | LG MDB-1 | LG
322 | Basment MDB`s | LG MDB-2 | LG
323 | Basment MDB`s | L1 MDB -1 | Level - 1
324 | Basment MDB`s | L2 MDB-1 | Level - 2
325 | Basment MDB`s | L2 MDB-2 | Level - 2
326 | Basment MDB`s | L3 MDB-1 | Level - 3
327 | Basment MDB`s | L3 MDB-2 | Level - 3
328 | Basment MDB`s | L4 MDB-1 | Level - 4
329 | Basment MDB`s | L4 MDB-2 | Level - 4
330 | Basment MDB`s | L5 MDB-1 | Level - 5
331 | Basment MDB`s | L5 MDB-2 | Level - 5
332 | Basment MDB`s | L6 MDB-1 | Level - 6
333 | Basment MDB`s | L6 MDB-2 | Level - 6
334 | Basment MDB`s | L7 MDB-1 | Level - 7
335 | Basment MDB`s | L7 MDB-2 | Level - 7
336 | Basment MDB`s | L8 MDB-1 | Level - 8
337 | Basment MDB`s | L8 MDB-2 | Level - 8
338 | Basment MDB`s | L9 MDB-1 | Level - 9
339 | Basment SDB`s | B4-SDB -1.1 No's 3 | Basement - 4
340 | Basment SDB`s | B1-SDB - 1.1 | Basement - 1
341 | ELDB`s | B4 EL Lighting DB-1 & 2 | Basement - 4
342 | ELDB`s | B3 EL Lighting DB-1 & 2 | Basement - 3
343 | ELDB`s | B2 EL Lighting DB-1 & 2 | Basement - 2
344 | ELDB`s | B1 EL Lighting DB-1 To 3 | Basement - 1
345 | ELDB`s | LG EL Lighting DB-1 | Lower Ground
346 | ELDB`s | L1 EL Lighting DB-1 | Level - 1
347 | ELDB`s | L2 EL Lighting DB-1 & 2 | Level - 2
348 | ELDB`s | L3 EL Lighting DB-1 & 2 | Level - 3
349 | ELDB`s | L4 EL Lighting DB-1 | Level - 4
350 | ELDB`s | L5 EL Lighting DB-1 | Level - 5
351 | ELDB`s | L6 EL Lighting DB-1 | Level - 6
352 | ELDB`s | L7 EL Lighting DB-1 | Level - 7
353 | ELDB`s | L8 EL Lighting DB-1 | Level - 8
354 | ELDB`s | L9 EL Lighting DB-1 | Level - 9
355 | RPDB`s | B4 Raw power Lighting DB -1 To 4 | Basement - 4
356 | RPDB`s | B3 Raw power Lighting DB -1 To 4 | Basement - 3
357 | RPDB`s | B2 Raw power Lighting DB -1 To 4 | Basement - 2
358 | RPDB`s | B1 Raw power Lighting DB -1 To 4 | Basement - 1
359 | RPDB`s | LG Raw power Lighting DB -1 To 4 | Lower Ground
360 | RPDB`s | L1 Raw power Lighting DB -1 To 3 | Level - 1
361 | RPDB`s | L2 Raw power Lighting DB -1 To 4 | Level - 2
362 | RPDB`s | L3 Raw power Lighting DB -1 To 3 | Level - 3
363 | RPDB`s | L9 Raw power Lighting DB -1 | Level - 9
364 | Starter panels | Drain Sump pump-1 | Basement - 4
365 | Starter panels | Drain Sump pump-2 | Basement - 4
366 | Starter panels | Drain Sump pump-3 | Basement - 4
367 | Starter panels | Drain Sump pump-4 | Basement - 4
368 | Starter panels | Drain Sump pump-5 | Basement - 4
369 | Starter panels | Drain Sump Starter Panel-1 | Basement - 4
370 | Starter panels | Drain Sump Starter Panel-2 | Basement - 4
371 | Starter panels | Drain Sump Starter Panel-3 | Basement - 4
372 | Starter panels | Drain Sump Starter Panel-4 | Basement - 4
373 | Starter panels | Drain Sump Starter Panel-5 | Basement - 4
374 | Starter panels | Raw water shifting Pump Starter 1 | Basement - 4
375 | Starter panels | Raw water shifting Pump Starter 2 | Basement - 4
376 | Starter panels | SBR Pumps Starter -1 | Basement - 4
377 | Starter panels | SBR Pumps Starter -2 | Basement - 4
378 | Starter panels | Drain Pump Starter-1 | Basement - 4
379 | Starter panels | Drain Pump Starter-2 | Basement - 4
380 | Starter panels | Air Blowers Starter -1 | Basement - 4
381 | Starter panels | Air Blowers Starter -2 | Basement - 4
382 | Starter panels | Air Blowers Starter -3 | Basement - 4
383 | Water storage Tanks | Domestic Tank - 1 To 3 | B1 Pump Room
384 | Water storage Tanks | Raw Water Tank - 1 To 2 | B1 Pump Room
385 | Water storage Tanks | Fire Tank 1 To 2 | B1 Pump Room
386 | Water storage Tanks | Domestic Tank | Terrace
387 | Water storage Tanks | Flush Tank | Terrace
388 | Water storage Tanks | Softner Tank | Terrace
389 | Water storage Tanks | Fire Tank | Terrace
390 | Water storage Tanks | STP Final Tank | B4 STP Plant
391 | Water storage Tanks | STP Softner Tank | B4 STP Plant
392 | Stainers | Stainers (1 - 5) | B1 DG Room
393 | Stainers | Stainers (1 & 2) | B1 Domestic Tank
394 | Stainers | Stainers (1 & 2) | B1 Raw Water Tank
395 | Stainers | Stainers (1 & 2) | B1 Fire tank
396 | Stainers | Chiller (1 - 3) Stainers | B1 Chiller Plant
397 | Stainers | Condensor Pumps Stainers | B1 Chiller Plant
398 | Stainers | Secondary Pumps Stainers | B1 Chiller Plant
399 | Stainers | Primary Pumps Stainers | B1 Chiller Plant
400 | Stainers | Package condenser Stainers | Terrace
401 | Condensing Tank | Condensing tank for chiller | Service Floor
402 | PRV`s | Pressure Release Valves | All Shafts
403 | Glas doors | Sliding Door | LG
404 | Staircase Doors | Staricase Emergency Doors | Staircase 1 to 5
405 | Stack Parking | Multi stack Parking - 106 Nos | Basement - 3

## Inhouse
s_no | equip_no | equip_name | equip_type | ppm_by | location | last_service | next_due | freq_color_code | last_service | next_due_date
1 | EB Capacitor panel-1 | 400 kvar APFCR panel-1 | Capacitor panel | In-House | LT ROOM | 2025-02-24 | 2026-03-26 | Monthly | 2025-01-25 | 2026-01-25
2 | EB Capacitor panel-2 | 400 kvar APFCR panel-1 | Capacitor panel | In-House | LT ROOM | 2025-02-24 | 2026-03-26 | Monthly | 2025-01-25 | 2026-01-25
3 | EB Capacitor panel-3 | 400 kvar APFCR panel-1 | Capacitor panel | In-House | LT ROOM | 2025-02-24 | 2026-03-26 | Monthly | 2025-01-25 | 2026-01-25
4 | EB Capacitor panel-4 | 400 kvar APFCR panel-1 | Capacitor panel | In-House | LT ROOM | 2025-02-25 | 2026-03-27 | Monthly | 2025-01-26 | 2026-01-26
5 | EB Capacitor panel-5 | 150 kvar APFCR panel-1 | Capacitor panel | In-House | LT ROOM | 2025-02-25 | 2026-03-27 | Monthly | 2025-01-26 | 2026-01-26
6 | AMF Panel-1 | AMF DG panel-1 | AMF Panel | In-House | DG Room | 2026-01-21 | 2026-04-26 | Quaterly | 2025-01-26 | 2026-01-26
7 | AMF Panel-2 | AMF DG panel-2 | AMF Panel | In-House | DG Room | 2026-01-22 | 2026-04-27 | Quaterly | 2025-01-27 | 2026-01-27
8 | AMF Panel-3 | AMF DG panel-3 | AMF Panel | In-House | DG Room | 2026-01-22 | 2026-04-27 | Quaterly | 2025-01-27 | 2026-01-27
9 | AMF Panel-4 | AMF DG panel-4 | AMF Panel | In-House | DG Room | 2026-01-22 | 2026-04-27 | Quaterly | 2025-01-27 | 2026-01-27
10 | Chilled water makeup pump-1 | Chilled water Pressuer makeup pumps | Chiller pump motors | In-House | Plant room | 2025-04-27 | 2026-04-27 | Quaterly | 2025-01-27 | 2026-01-27
11 | Chilled water makeup pump-2 | Chilled water Pressuer makeup pumps | Chiller pump motors | In-House | Plant room | 2026-05-11 | 2026-03-12 | Quaterly | 2026-02-10 | 2026-03-12
12 | DG condenser pump-1 | DG Condenser pumps | Condenser pumps | In-House | Plant room | 2026-03-13 | 2026-03-12 | Monthly | 2026-02-11 | 2026-03-12
13 | DG condenser pump-2 | DG Condenser pumps | Condenser pumps | In-House | Plant room | 2026-03-14 | 2026-03-12 | Monthly | 2026-02-12 | 2026-03-12
14 | DG condenser pump-3 | DG Condenser pumps | Condenser pumps | In-House | Plant room | 2026-03-15 | 2026-03-12 | Monthly | 2026-02-13 | 2026-03-12
15 | DG condenser pump-4 | DG Condenser pumps | Condenser pumps | In-House | Plant room | 2026-03-28 | 2026-03-28 | Monthly | 2026-02-26 | 2026-05-27
16 | DG condenser pump-5 | DG Condenser pumps | Condenser pumps | In-House | Plant room | 2026-03-29 | 2026-03-28 | Monthly | 2026-02-27 | 2026-05-27
17 | WTP Raw water Pump-1 | WTP pumps | Water pump motors | In-House | Plant room | 2026-05-29 | 2026-05-27 | Quaterly | 2026-02-28 | 2026-05-27
18 | WTP Raw water Pump-2 | WTP pumps | Water pump motors | In-House | Plant room | 2026-05-30 | 2026-05-27 | Quaterly | 2026-03-01 | 2026-05-27
19 | Domestic water shifting Pump-1 | Domastic pumps | Water pump motors | In-House | Plant room | 2026-05-31 | 2026-05-27 | Quaterly | 2026-03-02 | 2026-05-27
20 | Domestic water shifting Pump-2 | Domastic pumps | Water pump motors | In-House | Plant room | 2025-04-28 | 2026-04-23 | Quaterly | 2025-01-28 | 2026-01-23
21 | Chiller Cooling tower-1 | Cooling towers | CT Tubs | In-House | Terrace | 2025-02-27 | 2026-03-24 | Monthly | 2025-01-28 | 2026-01-23
22 | Chiller Cooling tower-2 | Cooling towers | CT Tubs | In-House | Terrace | 2025-02-27 | 2026-03-24 | Monthly | 2025-01-28 | 2026-01-23
23 | Chiller Cooling tower-3 | Cooling towers | CT Tubs | In-House | Terrace | 2025-02-28 | 2026-03-25 | Monthly | 2025-01-29 | 2026-01-24
24 | DG Cooling tower-1 | Cooling towers | CT Tubs | In-House | Terrace | 2025-02-28 | 2026-03-25 | Monthly | 2025-01-29 | 2026-01-24
25 | DG Cooling tower-2 | Cooling towers | CT Tubs | In-House | Terrace | 2025-02-28 | 2026-03-25 | Monthly | 2025-01-29 | 2026-01-24
26 | Package Cooling tower-1 | Cooling towers | CT Tubs | In-House | Terrace | 2025-03-01 | 2026-03-26 | Monthly | 2025-01-30 | 2026-01-25
27 | Package Cooling tower-2 | Cooling towers | CT Tubs | In-House | Terrace | 2025-03-01 | 2026-03-26 | Monthly | 2025-01-30 | 2026-01-25
28 | Chiller Cooling tower-1 fan -1 To 4 | Cooling towers | CT Fan motors | In-House | Terrace | 2025-04-30 | 2026-04-25 | Quaterly | 2025-01-30 | 2026-01-25
29 | Chiller Cooling tower-2 fan -1 To 4 | Cooling towers | CT Fan motors | In-House | Terrace | 2025-05-01 | 2026-04-26 | Quaterly | 2025-01-31 | 2026-01-26
30 | Chiller Cooling tower-3 fan -1 & 2 | Cooling towers | CT Fan motors | In-House | Terrace | 2025-05-01 | 2026-04-26 | Quaterly | 2025-01-31 | 2026-01-26
31 | DG Cooling tower-1 fan -1 & 2 | Cooling towers | CT Fan motors | In-House | Terrace | 2025-05-01 | 2026-04-26 | Quaterly | 2025-01-31 | 2026-01-26
32 | DG Cooling tower-2 fan -1 & 2 | Cooling towers | CT Fan motors | In-House | Terrace | 2025-05-02 | 2026-04-27 | Quaterly | 2025-02-01 | 2026-01-27
33 | Package Cooling tower-1 fan -1 To 4 | Cooling towers | CT Fan motors | In-House | Terrace | 2025-05-02 | 2026-04-27 | Quaterly | 2025-02-01 | 2026-01-27
34 | Package Cooling tower-2 fan -1 To 4 | Cooling towers | CT Fan motors | In-House | Terrace | 2025-05-02 | 2026-04-27 | Quaterly | 2025-02-01 | 2026-01-27
35 | L1 Common area AHU -1 | AHU Units | AC Units | In-House | L1 AHU opp MS lifts | 2025-03-04 | 2026-03-29 | Quaterly | 2025-02-02 | 2026-01-28
36 | L2 Common area AHU -1 | AHU Units | AC Units | In-House | L2AHU opp MS lifts | 2025-03-04 | 2026-03-29 | Quaterly | 2025-02-02 | 2026-01-28
37 | L2 Common area CSU -1 | CSU Units | AC Units | In-House | L2 above LRR | 2025-03-04 | 2026-03-29 | Quaterly | 2025-02-02 | 2026-01-28
38 | L3 Common area AHU -1 | AHU Units | AC Units | In-House | L3 above GRR | 2025-03-05 | 2026-03-30 | Quaterly | 2025-02-03 | 2026-01-29
39 | L3 Common area CSU -1 | CSU Units | AC Units | In-House | L3 above LRR | 2025-03-05 | 2026-03-30 | Quaterly | 2025-02-03 | 2026-01-29
40 | LG MS Lift Lobby CSU -1 | CSU Units | AC Units | In-House | LG above Ceiling MS Lift Lobby | 2025-03-05 | 2026-03-30 | Quaterly | 2025-02-03 | 2026-01-29
41 | LG OE Lift Lobby CSU -2 | CSU Units | AC Units | In-House | LG Podium above Ceiling OE Lift Lobby | 2025-03-05 | 2026-03-30 | Quaterly | 2025-02-03 | 2026-01-29
42 | B1 LT Room CSU -1 | CSU Units | AC Units | In-House | B1 LT Room | 2026-03-16 | 2026-03-22 | Quaterly | 2026-02-14 | 2026-03-22
43 | B1 HT Room CSU -1 | CSU Units | AC Units | In-House | B1 HT Room | 2026-03-17 | 2026-03-22 | Quaterly | 2026-02-15 | 2026-03-22
44 | ST-5 Fresh Air Unit -1 | Fresh Air Units | Fresh Air Units | In-House | Level-9 | 2026-03-18 | 2026-03-22 | Quaterly | 2026-02-16 | 2026-03-22
45 | ST-5 Exahust Unit -1 | Exahust Units | Exahust Units | In-House | Level-9 | 2026-03-19 | 2026-03-22 | Quaterly | 2026-02-17 | 2026-03-22
46 | Scrubber Unit -1 | Scrubber Units | Scrubber Units | In-House | Level-9 | 2026-03-20 | 2026-03-22 | Quaterly | 2026-02-18 | 2026-03-22
47 | Air washer Unit -1 | Air washer Units | Air washer Units | In-House | Level-9 | 2025-03-06 | 2026-04-30 | Quaterly | 2025-02-04 | 2026-01-30
48 | DG Fresh air fan -1 | Fresh Air Units | Fresh Air Units | In-House | DG Room | 2025-03-06 | 2026-04-30 | Quaterly | 2025-02-04 | 2026-01-30
49 | DG Fresh air fan -2 | Fresh Air Units | Fresh Air Units | In-House | DG Room | 2025-03-06 | 2026-04-30 | Quaterly | 2025-02-04 | 2026-01-30
50 | DG Fresh air fan -3 | Fresh Air Units | Fresh Air Units | In-House | DG Room | 2025-03-07 | 2026-05-01 | Quaterly | 2025-02-05 | 2026-01-31
51 | DG Fresh air fan -4 | Fresh Air Units | Fresh Air Units | In-House | DG Room | 2025-03-07 | 2026-05-01 | Quaterly | 2025-02-05 | 2026-01-31
52 | DG Exhaust Fan -1 | Exahust Units | Exahust Units | In-House | DG Room | 2025-03-07 | 2026-05-01 | Quaterly | 2025-02-05 | 2026-01-31
53 | DG Exhaust Fan -2 | Exahust Units | Exahust Units | In-House | DG Room | 2025-03-08 | 2026-05-02 | Quaterly | 2025-02-06 | 2026-02-01
54 | DG Exhaust Fan -3 | Exahust Units | Exahust Units | In-House | DG Room | 2025-03-08 | 2026-05-02 | Quaterly | 2025-02-06 | 2026-02-01
55 | DG Exhaust Fan -4 | Exahust Units | Exahust Units | In-House | DG Room | 2025-03-08 | 2026-05-02 | Quaterly | 2025-02-06 | 2026-02-01
56 | B3 Toilet Exhaust-1 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2025-03-09 | 2026-05-03 | Quaterly | 2025-02-07 | 2026-02-02
57 | B1 Toilet Exhaust-1 | Exahust Units | Exahust Units | In-House | Basement - 1 | 2025-03-09 | 2026-05-03 | Quaterly | 2025-02-07 | 2026-02-02
58 | L2 GRR Toilet Exhaust-1 | Exahust Units | Exahust Units | In-House | Level-L2 | 2025-03-09 | 2026-05-03 | Quaterly | 2025-02-07 | 2026-02-02
59 | L2 LRR Toilet Exhaust-1 | Exahust Units | Exahust Units | In-House | Level-L2 | 2025-03-10 | 2026-05-04 | Quaterly | 2025-02-08 | 2026-02-03
60 | L3 GRR Toilet Exhaust-1 | Exahust Units | Exahust Units | In-House | Level-L3 | 2025-03-10 | 2026-05-04 | Quaterly | 2025-02-08 | 2026-02-03
61 | L3 LRR Toilet Exhaust-1 | Exahust Units | Exahust Units | In-House | Level-L3 | 2025-03-10 | 2026-05-04 | Quaterly | 2025-02-08 | 2026-02-03
62 | B1 Garbage Room Exhaust-1 | Exahust Units | Exahust Units | In-House | B1 Garbage Room | 2025-03-11 | 2026-05-05 | Quaterly | 2025-02-09 | 2026-02-04
63 | B4 STP Fresh Air Fan-1 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2025-03-11 | 2026-05-05 | Quaterly | 2025-02-09 | 2026-02-04
64 | B4 Fresh Air Fan unit -1 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2025-03-11 | 2026-05-05 | Quaterly | 2025-02-09 | 2026-02-04
65 | B4 Fresh Air Fan unit -2 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2025-03-11 | 2026-05-05 | Quaterly | 2025-02-09 | 2026-02-04
66 | B4 Fresh Air Fan unit -3 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-26 | 2026-05-21 | Quaterly | 2026-02-24 | 2026-05-21
67 | B4 Fresh Air Fan unit -4 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-27 | 2026-05-21 | Quaterly | 2026-02-25 | 2026-05-21
68 | B4 Fresh Air Fan unit -5 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-28 | 2026-05-21 | Quaterly | 2026-02-26 | 2026-05-21
69 | B4 Fresh Air Fan unit -6 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-29 | 2026-05-21 | Quaterly | 2026-02-27 | 2026-05-21
70 | B4 Fresh Air Fan unit -7 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-22 | 2026-03-27 | Quaterly | 2026-02-20 | 2026-03-27
71 | B4 Fresh Air Fan unit -8 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-22 | 2026-03-27 | Quaterly | 2026-02-20 | 2026-03-27
72 | B4 Fresh Air Fan unit -9 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-22 | 2026-03-27 | Quaterly | 2026-02-20 | 2026-03-27
73 | B4 Fresh Air Fan unit -10 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-23 | 2026-03-27 | Quaterly | 2026-02-21 | 2026-03-27
74 | B4 Fresh Air Fan unit -11 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-23 | 2026-03-27 | Quaterly | 2026-02-21 | 2026-03-27
75 | B4 Fresh Air Fan unit -12 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-23 | 2026-03-27 | Quaterly | 2026-02-21 | 2026-03-27
76 | B4 Fresh Air Fan unit -13 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-24 | 2026-03-27 | Quaterly | 2026-02-22 | 2026-03-27
77 | B4 Fresh Air Fan unit -14 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-24 | 2026-03-27 | Quaterly | 2026-02-22 | 2026-03-27
78 | B4 Fresh Air Fan unit -15 | Fresh Air Units | Fresh Air Units | In-House | Basement - 4 | 2026-03-24 | 2026-03-27 | Quaterly | 2026-02-22 | 2026-03-27
79 | B4 Exhaust Fan unit -1 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-25 | 2026-03-27 | Quaterly | 2026-02-23 | 2026-03-27
80 | B4 Exhaust Fan unit -2 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-25 | 2026-03-27 | Quaterly | 2026-02-23 | 2026-03-27
81 | B4 Exhaust Fan unit -3 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-25 | 2026-03-27 | Quaterly | 2026-02-23 | 2026-03-27
82 | B4 Exhaust Fan unit -4 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-26 | 2026-03-27 | Quaterly | 2026-02-24 | 2026-03-27
83 | B4 Exhaust Fan unit -5 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-26 | 2026-03-27 | Quaterly | 2026-02-24 | 2026-03-27
84 | B4 Exhaust Fan unit -6 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-26 | 2026-03-27 | Quaterly | 2026-02-24 | 2026-03-27
85 | B4 Exhaust Fan unit -7 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-27 | 2026-03-27 | Quaterly | 2026-02-25 | 2026-03-27
86 | B4 Exhaust Fan unit -8 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-27 | 2026-03-27 | Quaterly | 2026-02-25 | 2026-03-27
87 | B4 Exhaust Fan unit -9 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-03-27 | 2026-03-27 | Quaterly | 2026-02-25 | 2026-03-27
88 | B4 Exhaust Fan unit -10 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-02-01 | 2026-06-06 | Quaterly | 2026-01-02 | 2026-03-08
89 | B4 Exhaust Fan unit -11 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-02-01 | 2026-06-06 | Quaterly | 2026-01-02 | 2026-03-08
90 | B4 Exhaust Fan unit -12 | Exahust Units | Exahust Units | In-House | Basement - 4 | 2026-02-01 | 2026-06-06 | Quaterly | 2026-01-02 | 2026-03-08
91 | B3 Fresh Air Fan unit-1 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-02 | 2026-06-07 | Quaterly | 2026-01-03 | 2026-03-09
92 | B3 Fresh Air Fan unit-2 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-02 | 2026-06-07 | Quaterly | 2026-01-03 | 2026-03-09
93 | B3 Fresh Air Fan unit-3 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-02 | 2026-06-07 | Quaterly | 2026-01-03 | 2026-03-09
94 | B3 Fresh Air Fan unit-4 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-03 | 2026-06-08 | Quaterly | 2026-01-04 | 2026-03-10
95 | B3 Fresh Air Fan unit-5 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-03 | 2026-06-08 | Quaterly | 2026-01-04 | 2026-03-10
96 | B3 Fresh Air Fan unit-6 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-03 | 2026-06-08 | Quaterly | 2026-01-04 | 2026-03-10
97 | B3 Fresh Air Fan unit-7 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-04 | 2026-06-09 | Quaterly | 2026-01-05 | 2026-03-11
98 | B3 Fresh Air Fan unit-8 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-04 | 2026-06-09 | Quaterly | 2026-01-05 | 2026-03-11
99 | B3 Fresh Air Fan unit-9 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-04 | 2026-06-09 | Quaterly | 2026-01-05 | 2026-03-11
100 | B3 Fresh Air Fan unit-10 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-05 | 2026-03-12 | Quaterly | 2026-01-06 | 2026-03-12
101 | B3 Fresh Air Fan unit-11 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-05 | 2026-03-12 | Quaterly | 2026-01-06 | 2026-03-12
102 | B3 Fresh Air Fan unit-12 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-05 | 2026-03-12 | Quaterly | 2026-01-06 | 2026-03-12
103 | B3 Fresh Air Fan unit-13 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-06 | 2026-03-15 | Quaterly | 2026-01-07 | 2026-03-15
104 | B3 Fresh Air Fan unit-14 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-02-06 | 2026-03-15 | Quaterly | 2026-01-07 | 2026-03-15
105 | B3 Fresh Air Fan unit-15 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-03-07 | 2026-06-05 | Quaterly | 2026-02-05 | 2026-03-07
106 | B3 Exhaust Fan unit-1 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-09 | 2026-06-06 | Quaterly | 2026-02-07 | 2026-03-08
107 | B3 Exhaust Fan unit-2 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-11 | 2026-06-07 | Quaterly | 2026-02-09 | 2026-03-09
108 | B3 Exhaust Fan unit-3 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-12 | 2026-06-08 | Quaterly | 2026-02-10 | 2026-03-10
109 | B3 Exhaust Fan unit-4 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-13 | 2026-06-09 | Quaterly | 2026-02-11 | 2026-03-11
110 | B3 Exhaust Fan unit-5 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-15 | 2026-04-01 | Quaterly | 2026-02-13 | 2026-04-01
111 | B3 Exhaust Fan unit-6 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-17 | 2026-04-02 | Quaterly | 2026-02-15 | 2026-04-02
112 | B3 Exhaust Fan unit-7 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-19 | 2026-04-03 | Quaterly | 2026-02-17 | 2026-04-03
113 | B3 Exhaust Fan unit-8 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-20 | 2026-04-04 | Quaterly | 2026-02-18 | 2026-04-04
114 | B3 Exhaust Fan unit-9 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-04 | 2026-06-06 | Quaterly | 2026-02-02 | 2026-03-08
115 | B3 Exhaust Fan unit-10 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-05 | 2026-06-07 | Quaterly | 2026-02-03 | 2026-03-09
116 | B3 Exhaust Fan unit-11 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-06 | 2026-06-08 | Quaterly | 2026-02-04 | 2026-03-10
117 | B3 Exhaust Fan unit-12 | Exahust Units | Exahust Units | In-House | Basement - 3 | 2026-03-07 | 2026-06-09 | Quaterly | 2026-02-05 | 2026-03-11
118 | B2 Fresh Air Fan unit-1 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-03-08 | 2026-03-12 | Quaterly | 2026-02-06 | 2026-03-12
119 | B2 Fresh Air Fan unit-2 | Fresh Air Units | Fresh Air Units | In-House | Basement - 3 | 2026-03-09 | 2026-03-13 | Quaterly | 2026-02-07 | 2026-03-13
120 | B2 Fresh Air Fan unit-3 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-10 | 2026-03-14 | Quaterly | 2026-02-08 | 2026-03-14
121 | B2 Fresh Air Fan unit-4 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-11 | 2026-05-14 | Quaterly | 2026-02-09 | 2026-05-14
122 | B2 Fresh Air Fan unit-5 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-12 | 2026-05-15 | Quaterly | 2026-02-10 | 2026-05-15
123 | B2 Fresh Air Fan unit-6 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-13 | 2026-05-16 | Quaterly | 2026-02-11 | 2026-05-16
124 | B2 Fresh Air Fan unit-7 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-14 | 2026-05-17 | Quaterly | 2026-02-12 | 2026-05-17
125 | B2 Fresh Air Fan unit-8 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-15 | 2026-05-18 | Quaterly | 2026-02-13 | 2026-05-18
126 | B2 Fresh Air Fan unit-9 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-16 | 2026-05-19 | Quaterly | 2026-02-14 | 2026-05-19
127 | B2 Fresh Air Fan unit-10 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-17 | 2026-05-20 | Quaterly | 2026-02-15 | 2026-05-20
128 | B2 Fresh Air Fan unit-11 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-18 | 2026-05-21 | Quaterly | 2026-02-16 | 2026-05-21
129 | B2 Fresh Air Fan unit-12 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-19 | 2026-05-22 | Quaterly | 2026-02-17 | 2026-05-22
130 | B2 Fresh Air Fan unit-13 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-20 | 2026-05-23 | Quaterly | 2026-02-18 | 2026-05-23
131 | B2 Fresh Air Fan unit-14 | Fresh Air Units | Fresh Air Units | In-House | Basement - 2 | 2026-03-21 | 2026-05-24 | Quaterly | 2026-02-19 | 2026-05-24
132 | B2 Exhaust Fan unit-1 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-22 | 2026-05-25 | Quaterly | 2026-02-20 | 2026-05-25
133 | B2 Exhaust Fan unit-2 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-23 | 2026-06-02 | Quaterly | 2026-02-21 | 2026-03-04
134 | B2 Exhaust Fan unit-3 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-23 | 2026-06-03 | Quaterly | 2026-02-21 | 2026-03-05
135 | B2 Exhaust Fan unit-4 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-24 | 2026-06-04 | Quaterly | 2026-02-22 | 2026-03-06
136 | B2 Exhaust Fan unit-5 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-24 | 2026-06-05 | Quaterly | 2026-02-22 | 2026-03-07
137 | B2 Exhaust Fan unit-6 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-25 | 2026-06-06 | Quaterly | 2026-02-23 | 2026-03-08
138 | B2 Exhaust Fan unit-7 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-25 | 2026-06-07 | Quaterly | 2026-02-23 | 2026-03-09
139 | B2 Exhaust Fan unit-8 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-26 | 2026-06-08 | Quaterly | 2026-02-24 | 2026-03-10
140 | B2 Exhaust Fan unit-9 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-26 | 2026-06-09 | Quaterly | 2026-02-24 | 2026-03-11
141 | B2 Exhaust Fan unit-10 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-03-27 | 2026-03-12 | Quaterly | 2026-02-25 | 2026-03-12
142 | B2 Exhaust Fan unit-11 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-02-01 | 2026-04-20 | Quaterly | 2026-01-02 | 2026-04-20
143 | B2 Exhaust Fan unit-12 | Exahust Units | Exahust Units | In-House | Basement - 2 | 2026-02-01 | 2026-04-20 | Quaterly | 2026-01-02 | 2026-04-20
144 | B1 T/R Room Exhaust unit-1 | Exahust Units | Exahust Units | In-House | Transformer Room | 2026-02-01 | 2026-04-20 | Quaterly | 2026-01-02 | 2026-04-20
145 | B1 T/R Room Fresh Air unit-1 | Fresh Air Units | Fresh Air Units | In-House | Transformer Room | 2026-02-02 | 2026-04-21 | Quaterly | 2026-01-03 | 2026-04-21
146 | B1 Chiller Room Fresh Air unit-1 | Fresh Air Units | Fresh Air Units | In-House | B1 Chiller plant room | 2026-02-02 | 2026-04-21 | Quaterly | 2026-01-03 | 2026-04-21
147 | B1 Chiller Room Exhaust unit-1 | Exahust Units | Exahust Units | In-House | B1 Chiller plant room | 2026-02-02 | 2026-04-21 | Quaterly | 2026-01-03 | 2026-04-21
148 | Staircase Pressurization fans -1 | Pressurization units | Pressurization units | In-House | Level-9 | 2026-02-03 | 2026-04-22 | Quaterly | 2026-01-04 | 2026-04-22
149 | Staircase Pressurization fans -2 | Pressurization units | Pressurization units | In-House | Level-9 | 2026-02-03 | 2026-04-22 | Quaterly | 2026-01-04 | 2026-04-22
150 | Rain Water Drain Pump-1(50HP)(Over Flow Rain Water) | Rain water drain pump | Dewatering pump | In-House | Level-B4 | 2026-04-04 | 2026-04-22 | Quaterly | 2026-01-04 | 2026-04-22
151 | Fire Diesel generator Pump -1 | Fire fighting pumps | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-04-05 | 2026-04-23 | Quaterly | 2026-01-05 | 2026-04-23
152 | Fire Hydrant Pumps -Kirloskar-1 | Fire fighting pumps | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-04-05 | 2026-04-23 | Quaterly | 2026-01-05 | 2026-04-23
153 | Fire Sprinkler Pumps -Kirloskar-1 | Fire fighting pumps | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-04-05 | 2026-04-23 | Quaterly | 2026-01-05 | 2026-04-23
154 | Fire Stand by Pumps -Kirloskar-1 | Fire fighting pumps | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-04-06 | 2026-04-24 | Quaterly | 2026-01-06 | 2026-04-24
155 | Fire Low Jockey Pumps -Grundfos-1 | Fire fighting pumps | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-04-06 | 2026-04-24 | Quaterly | 2026-01-06 | 2026-04-24
156 | Fire High Jockey Pumps -Grundfos-1 | Fire fighting pumps | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2026-04-06 | 2026-04-24 | Quaterly | 2026-01-06 | 2026-04-24
157 | Camera - 256 Nos | CCTV | Cameras | In-House | All Locations | 2026-04-07 | 2026-04-25 | Quaterly | 2026-01-07 | 2026-04-25
158 | Primary Rate Interface(Telephone PRI) | PRI | PRI | In-House | B1 Server Room | 2026-04-07 | 2026-04-25 | Quaterly | 2026-01-07 | 2026-04-25
159 | Air Washer & Scrubber PCC Panel (L 9) | Air Washer & Scrubber PCC Panel (L 9) | Electrical starter panels | In-House | Level-9 | 2026-02-07 | 2026-03-26 | Quaterly | 2026-01-08 | 2026-04-25
160 | Secondary Pumps VFD panel-B1 | Secondary Pumps VFD panel-B1 | Electrical starter panels | In-House | B1 Pump Room | 2026-03-30 | 2026-03-27 | Quaterly | 2026-02-28 | 2026-04-26
161 | STP MCC Panel Basement - 4 (B4-4.0) | STP MCC Panel Basement - 4 (B4-4.0) | Electrical starter panels | In-House | Basement - 4 | 2026-03-30 | 2026-03-27 | Quaterly | 2026-02-28 | 2026-04-26
162 | Stack Parking MCC Panel-1.1 No's 3 | Stack Parking MCC Panel-1.1 No's 3 | Electrical starter panels | In-House | Basement - 3 | 2026-03-30 | 2026-03-27 | Quaterly | 2026-02-28 | 2026-04-26
163 | Scrubber MCC Panel -1(L9) | Scrubber MCC Panel -1(L9) | Electrical starter panels | In-House | Terrace | 2025-04-01 | 2026-04-05 | Quaterly | 2025-03-02 | 2026-01-05
164 | Air Washer MCC Panel -1(L9) | Air Washer MCC Panel -1(L9) | Electrical starter panels | In-House | Terrace | 2025-04-01 | 2026-04-06 | Quaterly | 2025-03-02 | 2026-01-06
165 | Package Cooling Tower Fans MCC Panels -1 | Package Cooling Tower Fans MCC Panels -1 | Electrical starter panels | In-House | Terrace | 2025-04-01 | 2026-04-07 | Quaterly | 2025-03-02 | 2026-01-07
166 | Package Cooling Tower Fans MCC Panels -2 | Package Cooling Tower Fans MCC Panels -2 | Electrical starter panels | In-House | Terrace | 2025-04-02 | 2026-04-08 | Quaterly | 2025-03-03 | 2026-01-08
167 | Chiller cooling Tower Fans MCC Panel -1 | Chiller cooling Tower Fans MCC Panel -1 | Electrical starter panels | In-House | Terrace | 2025-04-02 | 2026-04-09 | Quaterly | 2025-03-03 | 2026-01-09
168 | Chiller cooling Tower Fans MCC Panel -2 | Chiller cooling Tower Fans MCC Panel -2 | Electrical starter panels | In-House | Terrace | 2025-04-02 | 2026-04-10 | Quaterly | 2025-03-03 | 2026-01-10
169 | Chiller cooling Tower Fans MCC Panel -3 | Chiller cooling Tower Fans MCC Panel -3 | Electrical starter panels | In-House | Terrace | 2025-04-03 | 2026-03-12 | Quaterly | 2025-03-04 | 2026-01-11
170 | All Earth Pits - 76 Nos | All Earth Pits - 76 Nos | Electrical starter panels | In-House | LG | 2025-06-02 | 2026-04-12 | Quaterly | 2025-03-04 | 2026-01-12
171 | Lighting arrester-1 To 2 | Lighting arrester-1 To 2 | Electrical starter panels | In-House | Terrace | 2025-06-02 | 2026-04-13 | Quaterly | 2025-03-04 | 2026-01-13
172 | B4-MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Basement - 4 | 2025-04-04 | 2026-03-15 | Monthly | 2025-03-05 | 2026-01-14
173 | B4-MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Basement - 4 | 2025-04-04 | 2026-03-16 | Monthly | 2025-03-05 | 2026-01-15
174 | B4-MDB-3 | Basment MDB`s | Basment MDB`s | In-House | Basement - 4 | 2025-04-04 | 2026-03-17 | Monthly | 2025-03-05 | 2026-01-16
175 | B3-MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Basement - 3 | 2025-04-05 | 2026-03-18 | Monthly | 2025-03-06 | 2026-01-17
176 | B3-MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Basement - 3 | 2025-04-05 | 2026-03-19 | Monthly | 2025-03-06 | 2026-01-18
177 | B3-MDB-3 | Basment MDB`s | Basment MDB`s | In-House | Basement - 3 | 2025-04-05 | 2026-03-20 | Monthly | 2025-03-06 | 2026-01-19
178 | B2-MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Basement - 2 | 2025-04-06 | 2026-03-21 | Monthly | 2025-03-07 | 2026-01-20
179 | B2-MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Basement - 2 | 2025-04-06 | 2026-03-22 | Monthly | 2025-03-07 | 2026-01-21
180 | B2-MDB-3 | Basment MDB`s | Basment MDB`s | In-House | Basement - 2 | 2025-04-06 | 2026-03-23 | Monthly | 2025-03-07 | 2026-01-22
181 | B1-MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Basement - 1 | 2025-04-07 | 2026-03-24 | Monthly | 2025-03-08 | 2026-01-23
182 | B1-MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Basement - 1 | 2025-04-07 | 2026-03-25 | Monthly | 2025-03-08 | 2026-01-24
183 | LG MDB-1 | Basment MDB`s | Basment MDB`s | In-House | LG | 2025-04-07 | 2026-03-26 | Monthly | 2025-03-08 | 2026-01-25
184 | LG MDB-2 | Basment MDB`s | Basment MDB`s | In-House | LG | 2025-04-08 | 2026-03-27 | Monthly | 2025-03-09 | 2026-01-26
185 | L1 MDB -1 | Basment MDB`s | Basment MDB`s | In-House | Level - 1 | 2025-04-08 | 2026-03-28 | Monthly | 2025-03-09 | 2026-01-27
186 | L2 MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Level - 2 | 2025-04-08 | 2026-03-29 | Monthly | 2025-03-09 | 2026-01-28
187 | L2 MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Level - 2 | 2025-04-09 | 2026-03-30 | Monthly | 2025-03-10 | 2026-01-29
190 | L3 MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Level - 3 | 2025-04-09 | 2026-03-31 | Monthly | 2025-03-10 | 2026-01-30
191 | L3 MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Level - 3 | 2025-04-09 | 2026-04-01 | Monthly | 2025-03-10 | 2026-01-31
192 | L4 MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Level - 4 | 2025-04-10 | 2026-04-02 | Monthly | 2025-03-11 | 2026-02-01
193 | L4 MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Level - 4 | 2025-04-10 | 2026-04-03 | Monthly | 2025-03-11 | 2026-02-02
199 | L5 MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Level - 5 | 2025-04-10 | 2026-04-04 | Monthly | 2025-03-11 | 2026-02-03
204 | L5 MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Level - 5 | 2025-04-11 | 2026-04-05 | Monthly | 2025-03-12 | 2026-02-04
205 | L6 MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Level - 6 | 2025-04-11 | 2026-04-06 | Monthly | 2025-03-12 | 2026-02-05
206 | L6 MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Level - 6 | 2025-04-11 | 2026-04-07 | Monthly | 2025-03-12 | 2026-02-06
207 | L7 MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Level - 7 | 2025-04-12 | 2026-04-08 | Monthly | 2025-03-13 | 2026-02-07
208 | L7 MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Level - 7 | 2025-04-12 | 2026-04-09 | Monthly | 2025-03-13 | 2026-02-08
209 | L8 MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Level - 8 | 2025-04-12 | 2026-04-10 | Monthly | 2025-03-13 | 2026-02-09
210 | L8 MDB-2 | Basment MDB`s | Basment MDB`s | In-House | Level - 8 | 2025-04-13 | 2026-03-12 | Monthly | 2025-03-14 | 2026-02-10
211 | L9 MDB-1 | Basment MDB`s | Basment MDB`s | In-House | Level - 9 | 2025-04-13 | 2026-03-13 | Monthly | 2025-03-14 | 2026-02-11
212 | B4-SDB -1.1 No's 3 | Basment SDB`s | Basment SDB`s | In-House | Basement - 4 | 2025-04-13 | 2026-03-14 | Monthly | 2025-03-14 | 2026-02-12
213 | B1-SDB - 1.1 | Basment SDB`s | Basment SDB`s | In-House | Basement - 1 | 2025-04-14 | 2026-03-15 | Monthly | 2025-03-15 | 2026-02-13
214 | B4 EL Lighting DB-1 & 2 | ELDB`s | ELDB`s | In-House | Basement - 4 | 2025-04-14 | 2026-03-16 | Monthly | 2025-03-15 | 2026-02-14
215 | B3 EL Lighting DB-1 & 2 | ELDB`s | ELDB`s | In-House | Basement - 3 | 2025-04-14 | 2026-03-17 | Monthly | 2025-03-15 | 2026-02-15
216 | B2 EL Lighting DB-1 & 2 | ELDB`s | ELDB`s | In-House | Basement - 2 | 2025-04-15 | 2026-03-18 | Monthly | 2025-03-16 | 2026-02-16
217 | B1 EL Lighting DB-1 To 3 | ELDB`s | ELDB`s | In-House | Basement - 1 | 2025-04-15 | 2026-03-19 | Monthly | 2025-03-16 | 2026-02-17
218 | LG EL Lighting DB-1 | ELDB`s | ELDB`s | In-House | Lower Ground | 2025-04-15 | 2026-03-20 | Monthly | 2025-03-16 | 2026-02-18
219 | L1 EL Lighting DB-1 | ELDB`s | ELDB`s | In-House | Level - 1 | 2025-04-16 | 2026-03-21 | Monthly | 2025-03-17 | 2026-02-19
220 | L2 EL Lighting DB-1 & 2 | ELDB`s | ELDB`s | In-House | Level - 2 | 2025-04-16 | 2026-03-22 | Monthly | 2025-03-17 | 2026-02-20
221 | L3 EL Lighting DB-1 & 2 | ELDB`s | ELDB`s | In-House | Level - 3 | 2025-04-16 | 2026-03-23 | Monthly | 2025-03-17 | 2026-02-21
222 | L4 EL Lighting DB-1 | ELDB`s | ELDB`s | In-House | Level - 4 | 2025-04-17 | 2026-03-24 | Monthly | 2025-03-18 | 2026-02-22
223 | L5 EL Lighting DB-1 | ELDB`s | ELDB`s | In-House | Level - 5 | 2025-04-17 | 2026-03-25 | Monthly | 2025-03-18 | 2026-02-23
224 | L6 EL Lighting DB-1 | ELDB`s | ELDB`s | In-House | Level - 6 | 2025-04-17 | 2026-03-26 | Monthly | 2025-03-18 | 2026-02-24
225 | L7 EL Lighting DB-1 | ELDB`s | ELDB`s | In-House | Level - 7 | 2025-04-18 | 2026-03-27 | Monthly | 2025-03-19 | 2026-02-25
226 | L8 EL Lighting DB-1 | ELDB`s | ELDB`s | In-House | Level - 8 | 2025-04-18 | 2026-03-28 | Monthly | 2025-03-19 | 2026-02-26
227 | L9 EL Lighting DB-1 | ELDB`s | ELDB`s | In-House | Level - 9 | 2025-04-18 | 2026-03-29 | Monthly | 2025-03-19 | 2026-02-27
228 | B4 Raw power Lighting DB -1 To 4 | RPDB`s | RPDB`s | In-House | Basement - 4 | 2025-04-19 | 2026-03-30 | Monthly | 2025-03-20 | 2026-02-28
229 | B3 Raw power Lighting DB -1 To 4 | RPDB`s | RPDB`s | In-House | Basement - 3 | 2025-04-19 | 2026-03-31 | Monthly | 2025-03-20 | 2026-03-01
230 | B2 Raw power Lighting DB -1 To 4 | RPDB`s | RPDB`s | In-House | Basement - 2 | 2025-04-19 | 2026-04-01 | Monthly | 2025-03-20 | 2026-03-02
231 | B1 Raw power Lighting DB -1 To 4 | RPDB`s | RPDB`s | In-House | Basement - 1 | 2025-04-20 | 2026-04-02 | Monthly | 2025-03-21 | 2026-03-03
232 | LG Raw power Lighting DB -1 To 4 | RPDB`s | RPDB`s | In-House | Lower Ground | 2025-04-20 | 2026-04-03 | Monthly | 2025-03-21 | 2026-03-04
233 | L1 Raw power Lighting DB -1 To 3 | RPDB`s | RPDB`s | In-House | Level - 1 | 2025-04-20 | 2026-04-04 | Monthly | 2025-03-21 | 2026-03-05
234 | L2 Raw power Lighting DB -1 To 4 | RPDB`s | RPDB`s | In-House | Level - 2 | 2025-04-21 | 2026-04-05 | Monthly | 2025-03-22 | 2026-03-06
235 | L3 Raw power Lighting DB -1 To 3 | RPDB`s | RPDB`s | In-House | Level - 3 | 2025-04-21 | 2026-04-06 | Monthly | 2025-03-22 | 2026-03-07
236 | L9 Raw power Lighting DB -1 | RPDB`s | RPDB`s | In-House | Level - 9 | 2025-04-21 | 2026-04-07 | Monthly | 2025-03-22 | 2026-03-08
237 | Drain Sump pump-1 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-22 | 2026-04-08 | Monthly | 2025-03-23 | 2026-03-09
238 | Drain Sump pump-2 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-22 | 2026-04-09 | Monthly | 2025-03-23 | 2026-03-10
239 | Drain Sump pump-3 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-22 | 2026-04-10 | Monthly | 2025-03-23 | 2026-03-11
240 | Drain Sump pump-4 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-23 | 2026-03-12 | Monthly | 2025-03-24 | 2026-03-12
241 | Drain Sump pump-5 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-23 | 2026-03-13 | Monthly | 2025-03-24 | 2026-03-13
242 | Drain Sump Starter Panel-1 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-23 | 2026-03-14 | Monthly | 2025-03-24 | 2026-03-14
243 | Drain Sump Starter Panel-2 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-24 | 2026-03-15 | Monthly | 2025-03-25 | 2026-03-15
244 | Drain Sump Starter Panel-3 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-24 | 2026-03-16 | Monthly | 2025-03-25 | 2026-03-16
245 | Drain Sump Starter Panel-4 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-24 | 2026-03-17 | Monthly | 2025-03-25 | 2026-03-17
246 | Drain Sump Starter Panel-5 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-25 | 2026-03-18 | Monthly | 2025-03-26 | 2026-03-18
247 | Raw water shifting Pump Starter 1 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-25 | 2026-03-19 | Monthly | 2025-03-26 | 2026-03-19
248 | Raw water shifting Pump Starter 2 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-25 | 2026-03-20 | Monthly | 2025-03-26 | 2026-03-20
249 | SBR Pumps Starter -1 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-26 | 2026-03-21 | Quaterly | 2025-03-27 | 2026-03-21
250 | SBR Pumps Starter -2 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-26 | 2026-03-22 | Quaterly | 2025-03-27 | 2026-03-22
251 | Drain Pump Starter-1 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-26 | 2026-03-23 | Quaterly | 2025-03-27 | 2026-03-23
252 | Drain Pump Starter-2 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-27 | 2026-03-24 | Quaterly | 2025-03-28 | 2026-03-24
253 | Air Blowers Starter -1 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-27 | 2026-03-25 | Quaterly | 2025-03-28 | 2026-03-25
254 | Air Blowers Starter -2 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-27 | 2026-03-26 | Quaterly | 2025-03-28 | 2026-03-26
255 | Air Blowers Starter -3 | Starter panels | Starter panels | In-House | Basement - 4 | 2025-04-28 | 2026-03-27 | Quaterly | 2025-03-29 | 2026-03-27
256 | Domestic Tank - 1 To 3 | Water storage Tanks | Water storage Tanks | In-House | B1 Pump Room | 2025-06-27 | 2026-03-28 | Quaterly | 2025-03-29 | 2026-03-28
257 | Raw Water Tank - 1 To 2 | Water storage Tanks | Water storage Tanks | In-House | B1 Pump Room | 2025-06-27 | 2026-03-29 | Quaterly | 2025-03-29 | 2026-03-29
258 | Fire Tank 1 To 2 | Water storage Tanks | Water storage Tanks | In-House | B1 Pump Room | 2025-06-28 | 2026-03-30 | Quaterly | 2025-03-30 | 2026-03-30
259 | Domestic Tank | Water storage Tanks | Water storage Tanks | In-House | Terrace | 2025-06-28 | 2026-03-31 | Quaterly | 2025-03-30 | 2026-03-31
260 | Flush Tank | Water storage Tanks | Water storage Tanks | In-House | Terrace | 2025-06-28 | 2026-04-01 | Quaterly | 2025-03-30 | 2026-04-01
261 | Softner Tank | Water storage Tanks | Water storage Tanks | In-House | Terrace | 2025-06-29 | 2026-04-02 | Quaterly | 2025-03-31 | 2026-04-02
262 | Fire Tank | Water storage Tanks | Water storage Tanks | In-House | Terrace | 2025-06-29 | 2026-04-03 | Quaterly | 2025-03-31 | 2026-04-03
263 | STP Final Tank | Water storage Tanks | Water storage Tanks | In-House | B4 STP Plant | 2025-06-29 | 2026-04-04 | Quaterly | 2025-03-31 | 2026-04-04
264 | STP Softner Tank | Water storage Tanks | Water storage Tanks | In-House | B4 STP Plant | 2025-06-30 | 2026-04-05 | Quaterly | 2025-04-01 | 2026-04-05
265 | Stainers (1 - 5) | Stainers | Stainers | In-House | B1 DG Room | 2025-06-30 | 2026-04-06 | Monthly | 2025-04-01 | 2026-04-06
266 | Stainers (1 & 2) | Stainers | Stainers | In-House | B1 Domestic Tank | 2025-06-30 | 2026-04-07 | Monthly | 2025-04-01 | 2026-04-07
267 | Stainers (1 & 2) | Stainers | Stainers | In-House | B1 Raw Water Tank | 2025-07-01 | 2026-04-08 | Monthly | 2025-04-02 | 2026-04-08
268 | Stainers (1 & 2) | Stainers | Stainers | In-House | B1 Fire tank | 2025-07-01 | 2026-04-09 | Monthly | 2025-04-02 | 2026-04-09
269 | Chiller (1 - 3) Stainers | Stainers | Stainers | In-House | B1 Chiller Plant | 2025-07-01 | 2026-04-10 | Monthly | 2025-04-02 | 2026-04-10
270 | Condensor Pumps Stainers | Stainers | Stainers | In-House | B1 Chiller Plant | 2025-07-02 | 2026-03-12 | Monthly | 2025-04-03 | 2026-04-11
271 | Secondary Pumps Stainers | Stainers | Stainers | In-House | B1 Chiller Plant | 2025-07-02 | 2026-03-13 | Monthly | 2025-04-03 | 2026-04-12
272 | Primary Pumps Stainers | Stainers | Stainers | In-House | B1 Chiller Plant | 2025-07-02 | 2026-03-14 | Monthly | 2025-04-03 | 2026-04-13
273 | Package condenser Stainers | Stainers | Stainers | In-House | Terrace | 2025-07-03 | 2026-03-15 | Monthly | 2025-04-04 | 2026-04-14
274 | Condensing tank for chiller | Condensing Tank | Condensing Tank | In-House | Service Floor | 2025-07-03 | 2026-03-16 | Monthly | 2025-04-04 | 2026-04-15
275 | Pressure Release Valves | PRV`s | PRV`s | In-House | All Shafts | 2025-07-03 | 2026-03-17 | Monthly | 2025-04-04 | 2026-04-16
276 | Staricase Emergency Doors | Staircase Doors | Staircase Doors | In-House | Staircase 1 to 5 | 2025-07-04 | 2026-03-18 | Monthly | 2025-04-05 | 2026-04-17
490
491
492
493
494
495
496
497
498
499
500
501
502
503
504
505
506
507
508
509
510
511
512
513
514
515
516
517
518
519
520
521
522
523
524
525
526
527
528
529
530
531
532
533
534
535
536
537
538
539
540
541
546
547
548
549
550
551
552
553
554
555
556
557
558
559
560
561
562
563
564
565
566
567
568
569
570
571
572
573
574
575
576
577
578
579
580
581
582
583
584
585
586
587
588
589
590
592
593
594
595
596
597
598
599
600
601
602
603
604
605
606
607
610
611
612
613
614
615
616
617
618
619
620
621
622
623
624
625
626
627
628
629
630
631
632
633
634
635
636
637
638
639
640
641
642
643
644
645
646
647
648
649
650
651
652
653
654
655
656
657
658
659
660
661
182.6667
[5 empty] | 6.0667 |  |  | per day
Red yearly
green monthly
yellow Quarterly
Formulas:
last_service = [last_service]+30
next_due = [next_due_date]+30*(INT((TODAY()-[next_due_date])/30)+1)

## Vendor
s_no | equip_no | equip_name | equip_type | ppm_by | location | last_service | next_due | freq_color_code | last_service | next_due_date
1 | HT I/C VCB-1 | HT Panel I/C Source -1 VCB | VCB | Vendor | HT Room | 2026-01-25 | 2027-01-25 | Yearly | 2025-01-25 | 2026-01-25
2 | HT I/C VCB-1 | HT Panel I/C Source -1 VCB | VCB | Vendor | HT Room | 2026-01-25 | 2027-01-25 | Yearly | 2025-01-25 | 2026-01-25
3 | HT I/C VCB-2 | HT Panel I/C Source -2 VCB | VCB | Vendor | HT Room | 2026-01-25 | 2027-01-25 | Yearly | 2025-01-25 | 2026-01-25
4 | HT O/G-1 VCB-1 | HT Panel O/G VCB-1 | VCB | Vendor | HT Room | 2026-01-26 | 2027-01-26 | Yearly | 2025-01-26 | 2026-01-26
5 | HT I/C from O/G VCB-4 | HT I/C from O/G VCB | VCB | Vendor | HT Room | 2026-01-26 | 2027-01-26 | Yearly | 2025-01-26 | 2026-01-26
6 | HT TR 01 VCB-1 | Transformer- HT I/C VCB-1 | VCB | Vendor | HT Room | 2026-01-26 | 2027-01-26 | Yearly | 2025-01-26 | 2026-01-26
7 | HT TR 02 VCB-2 | Transformer- HT I/C VCB-2 | VCB | Vendor | HT Room | 2026-01-27 | 2027-01-27 | Yearly | 2025-01-27 | 2026-01-27
8 | HT TR 03 VCB-3 | Transformer- HT I/C VCB-3 | VCB | Vendor | HT Room | 2026-01-27 | 2027-01-27 | Yearly | 2025-01-27 | 2026-01-27
9 | HT TR 04 VCB-4 | Transformer- HT I/C VCB-4 | VCB | Vendor | HT Room | 2026-01-27 | 2027-01-27 | Yearly | 2025-01-27 | 2026-01-27
10 | HT TR 05 VCB-5 | Transformer- HT I/C VCB-5 | VCB | Vendor | HT Room | 2026-01-27 | 2027-01-27 | Yearly | 2025-01-27 | 2026-01-27
11 | DG-01 | DG set-1 1500 KVA | Diesel generator | Vendor | DG Room | 2026-03-12 | 2026-03-12 | Monthly | 2026-02-10 | 2026-03-12
12 | DG-02 | DG set-2 1500 KVA | Diesel generator | Vendor | DG Room | 2026-03-13 | 2026-03-12 | Monthly | 2026-02-11 | 2026-03-12
13 | DG-03 | DG set-3 1500 KVA | Diesel generator | Vendor | DG Room | 2026-03-14 | 2026-03-12 | Monthly | 2026-02-12 | 2026-03-12
14 | DG-04 | DG set-4 1500 KVA | Diesel generator | Vendor | DG Room | 2026-03-15 | 2026-03-12 | Monthly | 2026-02-13 | 2026-03-12
15 | TR-1 | Transformer-1 - 1600KVA | Transformer | Vendor | Transformer Room | 2026-05-27 | 2026-05-27 | Quarterly | 2026-02-26 | 2026-05-27
16 | TR-2 | Transformer-2 - 1600KVA | Transformer | Vendor | Transformer Room | 2026-05-28 | 2026-05-27 | Quarterly | 2026-02-27 | 2026-05-27
17 | TR-3 | Transformer-3 - 1600KVA | Transformer | Vendor | Transformer Room | 2026-05-29 | 2026-05-27 | Quarterly | 2026-02-28 | 2026-05-27
18 | TR-4 | Transformer-4 - 1600KVA | Transformer | Vendor | Transformer Room | 2026-05-30 | 2026-05-27 | Quarterly | 2026-03-01 | 2026-05-27
19 | TR-5 | Transformer-5 - 630KVA | Transformer | Vendor | Transformer Room | 2026-05-31 | 2026-05-27 | Quarterly | 2026-03-02 | 2026-05-27
20 | T/R-1 Isolator -1 | LT Kiosk panel ACB's -1 | ACB | Vendor | HT Room | 2026-01-23 | 2027-01-23 | Yearly | 2025-01-28 | 2026-01-23
21 | T/R-2 Isolator -2 | LT Kiosk panel ACB's -2 | ACB | Vendor | HT Room | 2026-01-23 | 2027-01-23 | Yearly | 2025-01-28 | 2026-01-23
22 | T/R-3 Isolator -3 | LT Kiosk panel ACB's -3 | ACB | Vendor | HT Room | 2026-01-23 | 2027-01-23 | Yearly | 2025-01-28 | 2026-01-23
23 | T/R-4 Isolator -4 | LT Kiosk panel ACB's -4 | ACB | Vendor | HT Room | 2026-01-24 | 2027-01-24 | Yearly | 2025-01-29 | 2026-01-24
24 | T/R-5 Isolator -5 | LT Kiosk panel ACB's -5 | ACB | Vendor | HT Room | 2026-01-24 | 2027-01-24 | Yearly | 2025-01-29 | 2026-01-24
25 | LT I/C ACB EB-1 | LT panel EB Incomining ACB -1 | ACB | Vendor | LT ROOM | 2026-01-24 | 2027-01-24 | Yearly | 2025-01-29 | 2026-01-24
26 | LT I/C ACB EB-2 | LT panel EB Incomining ACB -2 | ACB | Vendor | LT ROOM | 2026-01-25 | 2027-01-25 | Yearly | 2025-01-30 | 2026-01-25
27 | LT I/C ACB EB-3 | LT panel EB Incomining ACB -3 | ACB | Vendor | LT ROOM | 2026-01-25 | 2027-01-25 | Yearly | 2025-01-30 | 2026-01-25
28 | LT I/C ACB EB-4 | LT panel EB Incomining ACB -4 | ACB | Vendor | LT ROOM | 2026-01-25 | 2027-01-25 | Yearly | 2025-01-30 | 2026-01-25
29 | LT I/C ACB EB-5 | LT panel EB Incomining ACB -5 | ACB | Vendor | LT ROOM | 2026-01-26 | 2027-01-26 | Yearly | 2025-01-31 | 2026-01-26
30 | LT I/C ACB DG-1 | LT panel DG Incomining ACB -1 | ACB | Vendor | LT ROOM | 2026-01-26 | 2027-01-26 | Yearly | 2025-01-31 | 2026-01-26
31 | LT I/C ACB DG-2 | LT panel DG Incomining ACB -2 | ACB | Vendor | LT ROOM | 2026-01-26 | 2027-01-26 | Yearly | 2025-01-31 | 2026-01-26
32 | LT I/C ACB DG-3 | LT panel DG Incomining ACB -3 | ACB | Vendor | LT ROOM | 2026-01-27 | 2027-01-27 | Yearly | 2025-02-01 | 2026-01-27
33 | LT I/C ACB DG-4 | LT panel DG Incomining ACB -4 | ACB | Vendor | LT ROOM | 2026-01-27 | 2027-01-27 | Yearly | 2025-02-01 | 2026-01-27
34 | LT Buscoupler ACB-1 | LT Panel BUSCOUPLER -1 | ACB | Vendor | LT ROOM | 2026-01-27 | 2027-01-27 | Yearly | 2025-02-01 | 2026-01-27
35 | LT Buscoupler ACB-2 | LT Panel BUSCOUPLER -2 | ACB | Vendor | LT ROOM | 2026-01-28 | 2027-01-28 | Yearly | 2025-02-02 | 2026-01-28
36 | LT Buscoupler ACB-3 | LT Panel BUSCOUPLER -3 | ACB | Vendor | LT ROOM | 2026-01-28 | 2027-01-28 | Yearly | 2025-02-02 | 2026-01-28
37 | LT Buscoupler ACB-4 | LT Panel BUSCOUPLER -4 | ACB | Vendor | LT ROOM | 2026-01-28 | 2027-01-28 | Yearly | 2025-02-02 | 2026-01-28
38 | Chiller O/G ACB Source-1 | Chiller Source -1 | ACB | Vendor | LT ROOM | 2026-01-29 | 2027-01-29 | Yearly | 2025-02-03 | 2026-01-29
39 | Chiller O/G ACB Source-2 | Chiller Source -2 | ACB | Vendor | LT ROOM | 2026-01-29 | 2027-01-29 | Yearly | 2025-02-03 | 2026-01-29
40 | Spare ACB | LT Spare ACB | ACB | Vendor | LT ROOM | 2026-01-29 | 2027-01-29 | Yearly | 2025-02-03 | 2026-01-29
41 | PLC panel | Main PLC panel | PLC | Vendor | LT ROOM | 2026-01-30 | 2027-01-30 | Yearly | 2025-02-04 | 2026-01-30
42 | DG O/G VCB-1 | DG AMF panel O/G VCB-1 | VCB | Vendor | DG Room | 2026-01-30 | 2027-01-30 | Yearly | 2025-02-04 | 2026-01-30
43 | DG O/G VCB-2 | DG AMF panel O/G VCB-2 | VCB | Vendor | DG Room | 2026-01-30 | 2027-01-30 | Yearly | 2025-02-04 | 2026-01-30
44 | DG O/G VCB-3 | DG AMF panel O/G VCB-3 | VCB | Vendor | DG Room | 2026-01-31 | 2027-01-31 | Yearly | 2025-02-05 | 2026-01-31
45 | DG O/G VCB-4 | DG AMF panel O/G VCB-4 | VCB | Vendor | DG Room | 2026-01-31 | 2027-01-31 | Yearly | 2025-02-05 | 2026-01-31
46 | DG O/G ACB -5 spare | DG AMF panel O/G | ACB | Vendor | DG Room | 2026-01-31 | 2027-01-31 | Yearly | 2025-02-05 | 2026-01-31
47 | Chiller I/C ACB Source-1 | Chiller source-1 I/C ACB | ACB | Vendor | Plant room | 2026-02-01 | 2027-02-01 | Yearly | 2025-02-06 | 2026-02-01
48 | Chiller I/C ACB Source-2 | Chiller source-2 I/C ACB | ACB | Vendor | Plant room | 2026-02-01 | 2027-02-01 | Yearly | 2025-02-06 | 2026-02-01
49 | Chiller Buscoupler ACB | Chiller Buscoupler ACB | ACB | Vendor | Plant room | 2026-02-01 | 2027-02-01 | Yearly | 2025-02-06 | 2026-02-01
50 | Chiller-1 ACB | Chiller-1 O/G ACB | ACB | Vendor | Plant room | 2026-02-02 | 2027-02-02 | Yearly | 2025-02-07 | 2026-02-02
51 | Chiller-2 ACB | Chiller-2 O/G ACB | ACB | Vendor | Plant room | 2026-02-02 | 2027-02-02 | Yearly | 2025-02-07 | 2026-02-02
52 | Chiller-3 ACB | Chiller-3 O/G ACB | ACB | Vendor | Plant room | 2026-02-02 | 2027-02-02 | Yearly | 2025-02-07 | 2026-02-02
53 | HT I/C Panel | 33kv I/C source panel | HT Panel | Vendor | HT Room | 2026-02-03 | 2027-02-03 | Yearly | 2025-02-08 | 2026-02-03
54 | HT O/G Panel | HT TR I/C panel | HT Panel | Vendor | HT Room | 2026-02-03 | 2027-02-03 | Yearly | 2025-02-08 | 2026-02-03
55 | LT kiosk panel | LT TR O/G panel | HT Panel | Vendor | HT Room | 2026-02-03 | 2027-02-03 | Yearly | 2025-02-08 | 2026-02-03
56 | LT PANEL | LT I/C from kiosk panel | LT kiosk panel | Vendor | HT Room | 2027-02-19 | 2026-05-21 | Yearly | 2026-02-24 | 2026-05-21
57 | UPS-1 | 60 KVA ups | UPS | Vendor | UPS Room | 2026-05-26 | 2026-05-21 | Quarterly | 2026-02-25 | 2026-05-21
58 | Inverter-1 | Battery chargers-1 | Battery charger | Vendor | HT Room | 2026-05-27 | 2026-05-21 | Quarterly | 2026-02-26 | 2026-05-21
59 | Inverter-2 | Battery chargers-2 | Battery charger | Vendor | LT ROOM | 2026-05-28 | 2026-05-21 | Quarterly | 2026-02-27 | 2026-05-21
60 | Inverter-3 | Battery chargers-3 | Battery charger | Vendor | Server room | 2026-05-21 | 2026-03-27 | Quarterly | 2026-02-20 | 2026-03-27
61 | Elevator OE-1 | Office Elevator-1 | Elevators | Vendor | Level-9 | 2026-03-22 | 2026-03-27 | Monthly | 2026-02-20 | 2026-03-27
62 | Elevator OE-2 | Office Elevator-2 | Elevators | Vendor | Level-9 | 2026-03-22 | 2026-03-27 | Monthly | 2026-02-20 | 2026-03-27
63 | Elevator OE-3 | Office Elevator-3 | Elevators | Vendor | Level-9 | 2026-03-23 | 2026-03-27 | Monthly | 2026-02-21 | 2026-03-27
64 | Elevator OS-1 | Office Service Elevator-1 | Elevators | Vendor | Level-9 | 2026-03-23 | 2026-03-27 | Monthly | 2026-02-21 | 2026-03-27
65 | Elevator MG-1 | Mall Guest Elevator-1 | Elevators | Vendor | Level-3 | 2026-03-23 | 2026-03-27 | Monthly | 2026-02-21 | 2026-03-27
66 | Elevator MG-2 | Mall Guest Elevator-2 | Elevators | Vendor | Level-3 | 2026-03-24 | 2026-03-27 | Monthly | 2026-02-22 | 2026-03-27
67 | Elevator MS-1 | Mall Service Elevator-1 | Elevators | Vendor | Level-3 | 2026-03-24 | 2026-03-27 | Monthly | 2026-02-22 | 2026-03-27
68 | Elevator MS-2 | Mall Service Elevator-2 | Elevators | Vendor | Level-3 | 2026-03-24 | 2026-03-27 | Monthly | 2026-02-22 | 2026-03-27
69 | Escalator L3-L2 | L3-L2 Down Escalator | Escalators | Vendor | Level-2 | 2026-03-25 | 2026-03-27 | Monthly | 2026-02-23 | 2026-03-27
70 | Escalator L2-L3 | L2-L3 Up Escalator | Escalators | Vendor | Level-3 | 2026-03-25 | 2026-03-27 | Monthly | 2026-02-23 | 2026-03-27
71 | Escalator L2-L1 | L2-L1 Down Escalator | Escalators | Vendor | Level-1 | 2026-03-25 | 2026-03-27 | Monthly | 2026-02-23 | 2026-03-27
72 | Escalator L1-L2 | L1-L2 Up Escalator | Escalators | Vendor | Level-2 | 2026-03-26 | 2026-03-27 | Monthly | 2026-02-24 | 2026-03-27
73 | Escalator L1-LG | L1-LG Down Escalator | Escalators | Vendor | Level-G | 2026-03-26 | 2026-03-27 | Monthly | 2026-02-24 | 2026-03-27
74 | Escalator LG-L1 | LG-L1 Up Escalator | Escalators | Vendor | Level-1 | 2026-03-26 | 2026-03-27 | Monthly | 2026-02-24 | 2026-03-27
75 | Travellator LG | LG-B1 Mid Down Travellator | Travellator | Vendor | Level-G | 2026-03-27 | 2026-03-27 | Monthly | 2026-02-25 | 2026-03-27
76 | Travellator B1 | B1 Mid - B1 Down Travellator | Travellator | Vendor | B1 Mid Level | 2026-03-27 | 2026-03-27 | Monthly | 2026-02-25 | 2026-03-27
77 | Travellator B2 | B1-B2 Down Travellator | Travellator | Vendor | Level-B1 | 2026-03-27 | 2026-03-27 | Monthly | 2026-02-25 | 2026-03-27
78 | Travellator L1-LG | D mart inside L1-LG Down Escalator | Travellator | Vendor | Level-1 | 2026-02-01 | 2026-04-07 | Monthly | 2026-01-02 | 2026-03-08
79 | Chiller Condenser pump-1 | Chiller condenser pumps | Chiller pump motors | Vendor | Plant room | 2026-04-02 | 2026-06-06 | Quarterly | 2026-01-02 | 2026-03-08
80 | Chiller Condenser pump-2 | Chiller condenser pumps | Chiller pump motors | Vendor | Plant room | 2026-04-02 | 2026-06-06 | Quarterly | 2026-01-02 | 2026-03-08
81 | Chiller Condenser pump-3 | Chiller condenser pumps | Chiller pump motors | Vendor | Plant room | 2026-04-03 | 2026-06-07 | Quarterly | 2026-01-03 | 2026-03-09
82 | Chiller Primary pump-1 | Chiller Primary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-03 | 2026-06-07 | Quarterly | 2026-01-03 | 2026-03-09
83 | Chiller Primary pump-2 | Chiller Primary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-03 | 2026-06-07 | Quarterly | 2026-01-03 | 2026-03-09
84 | Chiller Primary pump-3 | Chiller Primary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-04 | 2026-06-08 | Quarterly | 2026-01-04 | 2026-03-10
85 | Chiller Mall secondary pump-1 | Chiller Secondary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-04 | 2026-06-08 | Quarterly | 2026-01-04 | 2026-03-10
86 | Chiller Mall secondary pump-2 | Chiller Secondary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-04 | 2026-06-08 | Quarterly | 2026-01-04 | 2026-03-10
87 | Chiller Mall secondary pump-3 | Chiller Secondary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-05 | 2026-06-09 | Quarterly | 2026-01-05 | 2026-03-11
88 | Chiller Marriott Secondary pump-1 | Chiller Secondary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-05 | 2026-06-09 | Quarterly | 2026-01-05 | 2026-03-11
89 | Chiller Marriott Secondary pump-2 | Chiller Secondary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-05 | 2026-06-09 | Quarterly | 2026-01-05 | 2026-03-11
90 | Chiller Marriott Secondary pump-3 | Chiller Secondary pumps | Chiller pump motors | Vendor | Plant room | 2026-04-06 | 2026-03-12 | Quarterly | 2026-01-06 | 2026-03-12
91 | Package Condenser pump-1 | Package condenser pumps | Package pump motor | Vendor | Terrace | 2026-04-06 | 2026-03-12 | Quarterly | 2026-01-06 | 2026-03-12
92 | Package Condenser pump-2 | Package condenser pumps | Package pump motor | Vendor | Terrace | 2026-04-06 | 2026-03-12 | Quarterly | 2026-01-06 | 2026-03-12
93 | Package Condenser pump-3 | Package condenser pumps | Package pump motor | Vendor | Terrace | 2026-05-17 | 2026-05-21 | Quarterly | 2026-02-16 | 2026-05-21
94 | L8 common area lobby Package Unit-1 | Package units | Package AC Units | Vendor | L8 Beside office Lift Lobby | 2026-05-18 | 2026-05-22 | Quarterly | 2026-02-17 | 2026-05-22
95 | L7 common area lobby Package Unit-1 | Package units | Package AC Units | Vendor | L7 Beside office Lift Lobby | 2026-05-19 | 2026-05-23 | Quarterly | 2026-02-18 | 2026-05-23
96 | L6 common area lobby Package Unit-1 | Package units | Package AC Units | Vendor | L6 Beside office Lift Lobby | 2026-05-20 | 2026-05-24 | Quarterly | 2026-02-19 | 2026-05-24
97 | L5 common area lobby Package Unit-1 | Package units | Package AC Units | Vendor | L5 Beside office Lift Lobby | 2026-05-21 | 2026-05-25 | Quarterly | 2026-02-20 | 2026-05-25
98 | L4 common area lobby Package Unit-1 | Package units | Package AC Units | Vendor | L4 Beside office Lift Lobby | 2026-04-02 | 2026-04-20 | Quarterly | 2026-01-02 | 2026-04-20
99 | B1 Garbage room AC Unit-1 | Cold storage Unit | AC Units | Vendor | B1 Garbage Room | 2026-04-03 | 2026-04-21 | Quarterly | 2026-01-03 | 2026-04-21
100 | B1 UPS Room Fan coil Unit-1 | FCU Unit | AC Units | Vendor | B1 UPS Room | 2026-04-03 | 2026-04-21 | Quarterly | 2026-01-03 | 2026-04-21
101 | B1 Server Room Split Air Conditioner -1 | Split AC units | AC Units | Vendor | B1 Server Room | 2026-04-03 | 2026-04-21 | Quarterly | 2026-01-03 | 2026-04-21
102 | B1 Server Room Split Air Conditioner -2 | Split AC units | AC Units | Vendor | B1 Server Room | 2026-04-04 | 2026-04-22 | Quarterly | 2026-01-04 | 2026-04-22
103 | CCTV Room Split Air Conditioner -1 | Split AC units | AC Units | Vendor | B1 CCTV Room | 2026-04-04 | 2026-04-22 | Quarterly | 2026-01-04 | 2026-04-22
104 | CCTV Room Split Air Conditioner -2 | Split AC units | AC Units | Vendor | B1 CCTV Room | 2026-04-04 | 2026-04-22 | Quarterly | 2026-01-04 | 2026-04-22
105 | BMS Room Split Air Conditioner -1 | Split AC units | AC Units | Vendor | B1 BMS Room | 2026-04-05 | 2026-04-23 | Quarterly | 2026-01-05 | 2026-04-23
106 | B1 UPS Room Split Air Conditioner -1 | Split AC units | AC Units | Vendor | B1 UPS Room | 2026-04-05 | 2026-04-23 | Quarterly | 2026-01-05 | 2026-04-23
107 | B2 OE Lift Lobby Split Air Conditioner-1 | Split AC units | AC Units | Vendor | B2 OE Lift Lobby | 2026-04-05 | 2026-04-23 | Quarterly | 2026-01-05 | 2026-04-23
108 | B3 OE Lift Lobby Split Air Conditioner-1 | Split AC units | AC Units | Vendor | B3 OE Lift Lobby | 2026-04-06 | 2026-04-24 | Quarterly | 2026-01-06 | 2026-04-24
109 | B4 OE Lift Lobby Split Air Conditioner-1 | Split AC units | AC Units | Vendor | B4OE Lift Lobby | 2026-04-06 | 2026-04-24 | Quarterly | 2026-01-06 | 2026-04-24
110 | L9 OE Lift Lobby Split Air Conditioner -1 | Split AC units | AC Units | Vendor | L9 OE Lift Lobby | 2026-04-06 | 2026-04-24 | Quarterly | 2026-01-06 | 2026-04-24
111 | L9 UPS Room Split Air Conditioner -1 | Split AC units | AC Units | Vendor | L9 UPS Room | 2026-04-07 | 2026-04-25 | Quarterly | 2026-01-07 | 2026-04-25
112 | L8 Server room split AC Unit-1 | Split AC units | AC Units | Vendor | Server Room L8 | 2026-04-07 | 2026-04-25 | Quarterly | 2026-01-07 | 2026-04-25
113 | L7 Server room split AC Unit-1 | Split AC units | AC Units | Vendor | Server Room L7 | 2026-04-08 | 2026-04-25 | Quarterly | 2026-01-08 | 2026-04-25
114 | L6 Server room split AC Unit-1 | Split AC units | AC Units | Vendor | Server Room L6 | 2026-05-29 | 2026-04-26 | Quarterly | 2026-02-28 | 2026-04-26
115 | L5 Server room split AC Unit-1 | Split AC units | AC Units | Vendor | Server Room L5 | 2026-05-29 | 2026-04-26 | Quarterly | 2026-02-28 | 2026-04-26
116 | L4 Server room split AC Unit-1 | Split AC units | AC Units | Vendor | Server Room L4 | 2026-05-29 | 2026-04-26 | Quarterly | 2026-02-28 | 2026-04-26
117 | Chiller-1 | 350 TR chiller-1 | Chillers | Vendor | B1 Chiller plant room | 2026-06-05 | 2026-04-05 | Quarterly | 2026-03-07 | 2026-04-05
118 | Chiller-2 | 650 TR chiller-1 | Chillers | Vendor | B1 Chiller plant room | 2026-06-05 | 2026-04-06 | Quarterly | 2026-03-07 | 2026-04-06
119 | Chiller-3 | 650 TR chiller-2 | Chillers | Vendor | B1 Chiller plant room | 2026-06-05 | 2026-04-07 | Quarterly | 2026-03-07 | 2026-04-07
120 | By Pass Motor Pump-1(STP) | Stp By pass pump | STP Pump motors | Vendor | Level-B4 STP | 2026-06-06 | 2026-04-08 | Quarterly | 2026-03-08 | 2026-04-08
121 | SBR Drain Pump 1 | SBR pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-06 | 2026-04-09 | Quarterly | 2026-03-08 | 2026-04-09
122 | SBR Drain Pump 2 | SBR pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-06 | 2026-04-10 | Quarterly | 2026-03-08 | 2026-04-10
123 | Raw Pump-1 | STP Raw water pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-07 | 2026-04-11 | Quarterly | 2026-03-09 | 2026-04-11
124 | Raw Pump-2 | STP Raw water pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-07 | 2026-04-12 | Quarterly | 2026-03-09 | 2026-04-12
125 | Sludge Pump 1 | sludge pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-07 | 2026-04-13 | Quarterly | 2026-03-09 | 2026-04-13
126 | Sludge Pump 2 | sludge pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-08 | 2026-04-14 | Quarterly | 2026-03-10 | 2026-04-14
127 | Screw Pump-1 | screw pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-08 | 2026-04-15 | Quarterly | 2026-03-10 | 2026-04-15
128 | Screw Pump-2 | screw pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-08 | 2026-04-16 | Quarterly | 2026-03-10 | 2026-04-16
129 | Feeding Pump 1 | STP filter feed pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-09 | 2026-04-17 | Quarterly | 2026-03-11 | 2026-04-17
130 | Feeding Pump 2 | STP filter feed pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-09 | 2026-04-18 | Quarterly | 2026-03-11 | 2026-04-18
131 | Softener Pump 1 | Softner pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-09 | 2026-04-19 | Quarterly | 2026-03-11 | 2026-04-19
132 | Softener Pump 2 | Softner pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-10 | 2026-04-20 | Quarterly | 2026-03-12 | 2026-04-20
133 | Drain Pump-1 | STP Drain pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-10 | 2026-04-21 | Quarterly | 2026-03-12 | 2026-04-21
134 | Drain Pump-2 | STP Drain pumps | STP Pump motors | Vendor | Level-B4 STP | 2026-06-10 | 2026-04-22 | Quarterly | 2026-03-12 | 2026-04-22
135 | Air Blower 1 | Air Blower motors | AIR Blowers | Vendor | Level-B4 STP | 2026-06-13 | 2026-04-28 | Quarterly | 2026-03-15 | 2026-04-28
136 | Air Blower 2 | Air Blower motors | AIR Blowers | Vendor | Level-B4 STP | 2026-06-26 | 2026-03-28 | Quarterly | 2026-03-28 | 2026-06-26
137 | Air Blower 3 | Air Blower motors | AIR Blowers | Vendor | Level-B4 STP | 2026-06-27 | 2026-03-29 | Quarterly | 2026-03-29 | 2026-06-27
138 | Addressable Control panel-1 & 2 | Fire Alarm & PA system | FA&PA System | Vendor | B1 CCTV Room | 2026-03-05 | 2026-05-31 | Quarterly | 2025-12-05 | 2026-05-31
139 | Sliding Door | Glas doors | Sliding doors | Vendor | LG | 1900-03-30 | 2026-05-28 | Quarterly
Formulas:
last_service = [last_service]+365
next_due = [next_due_date]+365*(INT((TODAY()-[next_due_date])/365)+1)