## Assets
Asset ID | Asset Name | In-House/Vendor | Location | Last Service | nextDueDate | Color Code
HT I/C VCB-1 | HT Panel I/C Source -1 VCB | Vendor | HT Room | 2025-01-30 | 2026-01-30
HT I/C VCB-2 | HT Panel I/C Source -2 VCB | Vendor | HT Room | 2025-01-30 | 2026-01-30
HT O/G-1 VCB-1 | HT Panel O/G VCB-1 | Vendor | HT Room | 2025-01-30 | 2026-01-30
HT I/C from O/G VCB-4 | HT I/C from O/G VCB | Vendor | HT Room | 2025-01-30 | 2026-01-30
HT TR 01 VCB-1 | Transformer- HT I/C VCB-1 | Vendor | HT Room | 2025-01-30 | 2026-01-30
HT TR 02 VCB-2 | Transformer- HT I/C VCB-2 | Vendor | HT Room | 2025-01-30 | 2026-01-30
HT TR 03 VCB-3 | Transformer- HT I/C VCB-3 | Vendor | HT Room | 2025-01-30 | 2026-01-30
HT TR 04 VCB-4 | Transformer- HT I/C VCB-4 | Vendor | HT Room | 2025-01-30 | 2026-01-30
HT TR 05 VCB-5 | Transformer- HT I/C VCB-5 | Vendor | HT Room | 2025-01-30 | 2026-01-30
DG-01 | DG set-1 1500 KVA | Vendor | DG Room | 2025-12-10 | 2026-01-10
DG-02 | DG set-2 1500 KVA | Vendor | DG Room | 2025-12-10 | 2026-01-10
DG-03 | DG set-3 1500 KVA | Vendor | DG Room | 2025-12-10 | 2026-01-10
DG-04 | DG set-4 1500 KVA | Vendor | DG Room | 2025-12-10 | 2026-01-10
TR-1 | Transformer-1 - 1600KVA | Vendor | Transformer Room | 2025-12-27 | 2026-01-24
TR-2 | Transformer-2 - 1600KVA | Vendor | Transformer Room | 2025-12-27 | 2026-01-24
TR-3 | Transformer-3 - 1600KVA | Vendor | Transformer Room | 2025-12-27 | 2026-01-24
TR-4 | Transformer-4 - 1600KVA | Vendor | Transformer Room | 2025-12-27 | 2026-01-24
TR-5 | Transformer-5 - 630KVA | Vendor | Transformer Room | 2025-12-27 | 2026-01-24
T/R-1 Isolator -1 | LT Kiosk panel ACB's -1 | Vendor | HT Room | 2025-01-30 | 2026-01-30
T/R-2 Isolator -2 | LT Kiosk panel ACB's -2 | Vendor | HT Room | 2025-01-30 | 2026-01-30
T/R-3 Isolator -3 | LT Kiosk panel ACB's -3 | Vendor | HT Room | 2025-01-30 | 2026-01-30
T/R-4 Isolator -4 | LT Kiosk panel ACB's -4 | Vendor | HT Room | 2025-01-30 | 2026-01-30
T/R-5 Isolator -5 | LT Kiosk panel ACB's -5 | Vendor | HT Room | 2025-01-30 | 2026-01-30
LT I/C ACB EB-1 | LT panel EB Incomining ACB -1 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT I/C ACB EB-2 | LT panel EB Incomining ACB -2 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT I/C ACB EB-3 | LT panel EB Incomining ACB -3 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT I/C ACB EB-4 | LT panel EB Incomining ACB -4 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT I/C ACB EB-5 | LT panel EB Incomining ACB -5 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT I/C ACB DG-1 | LT panel DG Incomining ACB -1 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT I/C ACB DG-2 | LT panel DG Incomining ACB -2 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT I/C ACB DG-3 | LT panel DG Incomining ACB -3 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT I/C ACB DG-4 | LT panel DG Incomining ACB -4 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT Buscoupler ACB-1 | LT Panel BUSCOUPLER -1 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT Buscoupler ACB-2 | LT Panel BUSCOUPLER -2 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT Buscoupler ACB-3 | LT Panel BUSCOUPLER -3 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
LT Buscoupler ACB-4 | LT Panel BUSCOUPLER -4 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
Chiller O/G ACB Source-1 | Chiller Source -1 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
Chiller O/G ACB Source-2 | Chiller Source -2 | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
Spare ACB | LT Spare ACB | Vendor | LT ROOM | 2025-01-30 | 2026-01-30
PLC panel | Main PLC panel | In-House | LT ROOM | 2025-01-30 | 2026-01-30
EB Capacitor panel-1 | 400 kvar APFCR panel-1 | In-House | LT ROOM | 2025-12-10 | 2026-01-30
EB Capacitor panel-2 | 400 kvar APFCR panel-1 | In-House | LT ROOM | 2025-12-10 | 2026-01-30
EB Capacitor panel-3 | 400 kvar APFCR panel-1 | In-House | LT ROOM | 2025-12-10 | 2026-01-30
EB Capacitor panel-4 | 400 kvar APFCR panel-1 | In-House | LT ROOM | 2025-12-10 | 2026-01-30
EB Capacitor panel-5 | 150 kvar APFCR panel-1 | In-House | LT ROOM | 2025-12-10 | 2026-01-30
DG O/G VCB-1 | DG AMF panel O/G VCB-1 | Vendor | DG Room | 2025-02-10 | 2026-02-25
DG O/G VCB-2 | DG AMF panel O/G VCB-2 | Vendor | DG Room | 2025-02-10 | 2026-02-25
DG O/G VCB-3 | DG AMF panel O/G VCB-3 | Vendor | DG Room | 2025-02-10 | 2026-02-25
DG O/G VCB-4 | DG AMF panel O/G VCB-4 | Vendor | DG Room | 2025-02-10 | 2026-02-25
DG O/G ACB -5 spare | DG AMF panel O/G | Vendor | DG Room | 2025-02-10 | 2026-02-25
Chiller I/C ACB Source-1 | Chiller source-1 I/C ACB | Vendor | Plant Room | 2025-02-10 | 2026-02-25
Chiller I/C ACB Source-2 | Chiller source-2 I/C ACB | Vendor | Plant Room | 2025-02-10 | 2026-02-25
Chiller Buscoupler ACB | Chiller Buscoupler ACB | Vendor | Plant Room | 2025-02-10 | 2026-02-25
Chiller-1 ACB | Chiller-1 O/G ACB | Vendor | Plant Room | 2025-02-10 | 2026-02-25
Chiller-2 ACB | Chiller-2 O/G ACB | Vendor | Plant Room | 2025-02-10 | 2026-02-25
Chiller-3 ACB | Chiller-3 O/G ACB | Vendor | Plant Room | 2025-02-10 | 2026-02-25
HT I/C Panel | 33kv I/C source panel | Vendor | HT Room | 2025-02-10 | 2026-02-25
HT O/G Panel | HT TR I/C panel | Vendor | HT Room | 2025-02-10 | 2026-02-25
LT kiosk panel | LT TR O/G panel | Vendor | HT Room | 2025-02-10 | 2026-02-25
LT PANEL | LT I/C from kiosk panel | Vendor | LT ROOM | 2025-02-10 | 2026-02-25
AMF Panel-1 | AMF DG panel-1 | In-House | DG Room | 2025-02-10 | 2026-02-25
AMF Panel-2 | AMF DG panel-2 | In-House | DG Room | 2025-02-10 | 2026-02-25
AMF Panel-3 | AMF DG panel-3 | In-House | DG Room | 2025-02-10 | 2026-02-25
AMF Panel-4 | AMF DG panel-4 | In-House | DG Room | 2025-02-10 | 2026-02-25
UPS-1 | 60 KVA ups | Vendor | UPS Room | 2025-10-15 | 2026-01-15
Inverter-1 | Battery chargers-1 | Vendor | HT Room | 2025-02-10 | 2026-02-25
Inverter-2 | Battery chargers-2 | Vendor | LT ROOM | 2025-02-10 | 2026-02-25
Inverter-3 | Battery chargers-3 | Vendor | Server Room | 2025-02-10 | 2026-02-25
UPS Panel | 60 kva Ups panel | In-House | UPS Room | 2025-02-10 | 2026-02-25
Elevator OE-1 | Office Elevator-1 | Vendor | Level-9 | 2025-12-25 | 2026-01-25
Elevator OE-2 | Office Elevator-2 | Vendor | Level-9 | 2025-12-25 | 2026-01-25
Elevator OE-3 | Office Elevator-3 | Vendor | Level-9 | 2025-12-25 | 2026-01-25
Elevator OS-1 | Office Service Elevator-1 | Vendor | Level-9 | 2025-12-25 | 2026-01-25
Elevator MG-1 | Mall Guest Elevator-1 | Vendor | Level-3 | 2025-12-25 | 2026-01-25
Elevator MG-2 | Mall Guest Elevator-2 | Vendor | Level-3 | 2025-12-25 | 2026-01-25
Elevator MS-1 | Mall Service Elevator-1 | Vendor | Level-3 | 2025-12-25 | 2026-01-25
Elevator MS-2 | Mall Service Elevator-2 | Vendor | Level-3 | 2025-12-25 | 2026-01-25
Elevator AG-1 | Appartment Guest Elevator-1 | Vendor | LMR | 2025-12-25 | 2026-01-25
Elevator AG-2 | Appartment Guest Elevator-2 | Vendor | LMR | 2025-12-25 | 2026-01-25
Elevator AS-1 | Appartment Service Elevator-1 | Vendor | LMR | 2025-12-25 | 2026-01-25
Elevator AS-2 | Appartment Service Elevator-2 | Vendor | LMR | 2025-12-25 | 2026-01-25
Elevator FE-1 | Dmart FE Elevator-1 | Vendor | Level-2 | 2025-12-25 | 2026-01-25
Elevator FE-2 | Dmart FE Elevator-2 | Vendor | Level-2 | 2025-12-25 | 2026-01-25
Escalator L3-L2 | L3-L2 Down Escalator | Vendor | Level-2 | 2025-12-25 | 2026-01-25
Escalator L2-L3 | L2-L3 Up Escalator | Vendor | Level-3 | 2025-12-25 | 2026-01-25
Escalator L2-L1 | L2-L1 Down Escalator | Vendor | Level-1 | 2025-12-25 | 2026-01-25
Escalator L1-L2 | L1-L2 Up Escalator | Vendor | Level-2 | 2025-12-25 | 2026-01-25
Escalator L1-LG | L1-LG Down Escalator | Vendor | Level-G | 2025-12-25 | 2026-01-25
Escalator LG-L1 | LG-L1 Up Escalator | Vendor | Level-1 | 2025-12-25 | 2026-01-25
Travellator LG | LG-B1 Mid Down Travellator | Vendor | Level-G | 2025-12-25 | 2026-01-25
Travellator B1 | B1 Mid - B1 Down Travellator | Vendor | B1 Mid Level | 2025-12-25 | 2026-01-25
Travellator B2 | B1-B2 Down Travellator | Vendor | Level-B1 | 2025-12-25 | 2026-01-25
Travellator L1-LG | D mart inside L1-LG Down Escalator | Vendor | Level-1 | 2025-12-25 | 2026-01-25
Chiller Condenser pump-1 | Chiller condenser pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Condenser pump-2 | Chiller condenser pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Condenser pump-3 | Chiller condenser pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Primary pump-1 | Chiller Primary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Primary pump-2 | Chiller Primary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Primary pump-3 | Chiller Primary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Mall secondary pump-1 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Mall secondary pump-2 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Mall secondary pump-3 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Marriott Secondary pump-1 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Marriott Secondary pump-2 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Chiller Marriott Secondary pump-3 | Chiller Secondary pumps | Vendor | B1 Chiller plant room | 2025-10-08 | 2026-01-09
Package Condenser pump-1 | Package condenser pumps | Vendor | Terrace | 2025-10-09 | 2026-01-10
Package Condenser pump-2 | Package condenser pumps | Vendor | Terrace | 2025-10-09 | 2026-01-10
Package Condenser pump-3 | Package condenser pumps | Vendor | Terrace | 2025-10-09 | 2026-01-10
Mall secondary pump VFD -1 | VFD units | In-House | B1 Chiller plant room | 2025-12-05 | 2026-02-06
Mall secondary pump VFD -2 | VFD units | In-House | B1 Chiller plant room | 2025-12-05 | 2026-02-06
Mall secondary pump VFD -3 | VFD units | In-House | B1 Chiller plant room | 2025-12-05 | 2026-02-06
Marriott Secondary pump VFD-1 | VFD units | In-House | B1 Chiller plant room | 2025-12-05 | 2026-02-06
Marriott Secondary pump VFD-2 | VFD units | In-House | B1 Chiller plant room | 2025-12-05 | 2026-02-06
Marriott Secondary pump VFD-3 | VFD units | In-House | B1 Chiller plant room | 2025-12-05 | 2026-02-06
Chilled water makeup pump-1 | Chilled water Pressuer makeup pumps | In-House | B1 Chiller plant room | 2025-12-14 | 2026-02-14
Chilled water makeup pump-2 | Chilled water Pressuer makeup pumps | In-House | B1 Chiller plant room | 2025-12-14 | 2026-02-15
DG condenser pump-1 | DG Condenser pumps | In-House | DG Room | 2025-12-13 | 2026-01-13
DG condenser pump-2 | DG Condenser pumps | In-House | DG Room | 2025-12-13 | 2026-01-13
DG condenser pump-3 | DG Condenser pumps | In-House | DG Room | 2025-12-13 | 2026-01-13
DG condenser pump-4 | DG Condenser pumps | In-House | DG Room | 2025-12-13 | 2026-01-13
DG condenser pump-5 | DG Condenser pumps | In-House | DG Room | 2025-12-13 | 2026-01-13
WTP Raw water Pump-1 | WTP pumps | In-House | B1 Chiller plant room | 2025-10-05 | 2026-01-05
WTP Raw water Pump-2 | WTP pumps | In-House | B1 Chiller plant room | 2025-10-05 | 2026-01-05
Domestic water shifting Pump-1 | Domastic pumps | In-House | B1 Chiller plant room | 2025-10-05 | 2026-01-05
Domestic water shifting Pump-2 | Domastic pumps | In-House | B1 Chiller plant room | 2025-10-05 | 2026-01-05
Chiller Cooling tower-1 | Cooling towers | In-House | Terrace | 2025-12-08 | 2026-01-17
Chiller Cooling tower-2 | Cooling towers | In-House | Terrace | 2025-12-08 | 2026-01-17
Chiller Cooling tower-3 | Cooling towers | In-House | Terrace | 2025-12-08 | 2026-01-17
DG Cooling tower-1 | Cooling towers | In-House | Terrace | 2025-12-14 | 2026-01-11
DG Cooling tower-2 | Cooling towers | In-House | Terrace | 2025-12-14 | 2026-01-11
Package Cooling tower-1 | Cooling towers | In-House | Terrace | 2025-12-10 | 2026-01-10
Package Cooling tower-2 | Cooling towers | In-House | Terrace | 2025-12-10 | 2026-01-10
Chiller Cooling tower-1 fan -1 To 4 | CT Fans | In-House | Terrace | 2025-12-05 | 2026-02-05
Chiller Cooling tower-2 fan -1 To 4 | CT Fans | In-House | Terrace | 2025-12-05 | 2026-02-05
Chiller Cooling tower-3 fan -1 & 2 | CT Fans | In-House | Terrace | 2025-12-05 | 2026-02-05
DG Cooling tower-1 fan -1 & 2 | CT Fans | In-House | Terrace | 2025-12-05 | 2026-02-05
DG Cooling tower-2 fan -1 & 2 | CT Fans | In-House | Terrace | 2025-12-05 | 2026-02-05
Package Cooling tower-1 fan -1 To 4 | CT Fans | In-House | Terrace | 2025-12-05 | 2026-02-05
Package Cooling tower-2 fan -1 To 4 | CT Fans | In-House | Terrace | 2025-12-05 | 2026-02-05
L8 common area lobby Package Unit-1 | Package units | Vendor | L8 Beside office Lift Lobby | 2025-12-02 | 2026-02-05
L7 common area lobby Package Unit-1 | Package units | Vendor | L7 Beside office Lift Lobby | 2025-12-02 | 2026-02-05
L6 common area lobby Package Unit-1 | Package units | Vendor | L6 Beside office Lift Lobby | 2025-12-02 | 2026-02-05
L5 common area lobby Package Unit-1 | Package units | Vendor | L5 Beside office Lift Lobby | 2025-12-02 | 2026-02-05
L4 common area lobby Package Unit-1 | Package units | Vendor | L4 Beside office Lift Lobby | 2025-12-02 | 2026-02-05
L1 Common area AHU -1 | AHU Units | In-House | L1 AHU opp MS lifts | 2025-12-06 | 2026-01-03
L2 Common area AHU -1 | AHU Units | In-House | L2AHU opp MS lifts | 2025-12-06 | 2026-01-03
L2 Common area CSU -1 | CSU Units | In-House | L2 above LRR | 2025-12-07 | 2026-01-04
L3 Common area AHU -1 | AHU Units | In-House | L3 above GRR | 2025-12-07 | 2026-01-04
L3 Common area CSU -1 | CSU Units | In-House | L3 above LRR | 2025-12-13 | 2026-01-10
LG MS Lift Lobby CSU -1 | CSU Units | In-House | LG above Ceiling MS Lift Lobby | 2025-12-13 | 2026-01-10
LG OE Lift Lobby CSU -2 | CSU Units | In-House | LG Podium above Ceiling OE Lift Lobby | 2025-12-14 | 2026-01-11
B1 LT Room CSU -1 | CSU Units | In-House | B1 LT Room | 2025-12-14 | 2026-01-11
B1 HT Room CSU -1 | CSU Units | In-House | B1 HT Room | 2025-12-20 | 2026-01-17
B1 Garbage room AC Unit-1 | Cold storage Unit | In-House | B1 Garbage Room | 2025-10-08 | 2026-01-10
B1 UPS Room Fan coil Unit-1 | FCU Unit | In-House | B1 UPS Room | 2025-12-20 | 2026-01-17
B1 Server Room Split Air Conditioner -1 | Split AC units | Vendor | B1 Server Room | 2025-10-08 | 2026-01-18
B1 Server Room Split Air Conditioner -2 | Split AC units | Vendor | B1 Server Room | 2025-10-08 | 2026-01-18
CCTV Room Split Air Conditioner -1 | Split AC units | Vendor | B1 CCTV Room | 2025-10-08 | 2026-01-18
CCTV Room Split Air Conditioner -2 | Split AC units | Vendor | B1 CCTV Room | 2025-10-08 | 2026-01-18
BMS Room Split Air Conditioner -1 | Split AC units | Vendor | B1 BMS Room | 2025-10-08 | 2026-01-18
B1 UPS Room Split Air Conditioner -1 | Split AC units | Vendor | B1 UPS Room | 2025-10-08 | 2026-01-18
B2 OE Lift Lobby Split Air Conditioner-1 | Split AC units | Vendor | B2 OE Lift Lobby | 2025-10-08 | 2026-01-18
B3 OE Lift Lobby Split Air Conditioner-1 | Split AC units | Vendor | B3 OE Lift Lobby | 2025-10-08 | 2026-01-18
B4 OE Lift Lobby Split Air Conditioner-1 | Split AC units | Vendor | B4OE Lift Lobby | 2025-10-08 | 2026-01-18
L9 OE Lift Lobby Split Air Conditioner -1 | Split AC units | Vendor | L9 OE Lift Lobby | 2025-10-08 | 2026-01-18
L9 UPS Room Split Air Conditioner -1 | Split AC units | Vendor | L9 UPS Room | 2025-10-08 | 2026-01-18
L8 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L8 | 2025-10-23 | 2026-01-24
L7 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L7 | 2025-10-23 | 2026-01-24
L6 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L6 | 2025-10-23 | 2026-01-24
L5 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L5 | 2025-10-23 | 2026-01-24
L4 Server room split AC Unit-1 | Split AC units | Vendor | Server Room L4 | 2025-10-23 | 2026-01-24
Chiller-1 | 350 TR chiller-1 | Vendor | B1 Chiller plant room | 2025-12-04 | 2026-02-04
Chiller-2 | 650 TR chiller-1 | Vendor | B1 Chiller plant room | 2025-12-04 | 2026-02-04
Chiller-3 | 650 TR chiller-2 | Vendor | B1 Chiller plant room | 2025-12-04 | 2026-02-04
ST-5 Fresh Air Unit -1 | Fresh Air Units | In-House | Level-9 | 2025-12-06 | 2026-01-06
ST-5 Exahust Unit -1 | Exahust Units | In-House | Level-9 | 2025-12-06 | 2026-01-06
Scrubber Unit -1 | Scrubber Units | In-House | Level-9 | 2025-12-06 | 2026-01-06
Air washer Unit -1 | Air washer Units | In-House | Level-9 | 2025-12-06 | 2026-01-06
DG Fresh air fan -1 | Fresh Air Units | In-House | DG Room | 2025-12-07 | 2026-01-07
DG Fresh air fan -2 | Fresh Air Units | In-House | DG Room | 2025-12-07 | 2026-01-07
DG Fresh air fan -3 | Fresh Air Units | In-House | DG Room | 2025-12-07 | 2026-01-07
DG Fresh air fan -4 | Fresh Air Units | In-House | DG Room | 2025-12-07 | 2026-01-07
DG Exhaust Fan -1 | Exahust Units | In-House | DG Room | 2025-12-07 | 2026-01-07
DG Exhaust Fan -2 | Exahust Units | In-House | DG Room | 2025-12-07 | 2026-01-07
DG Exhaust Fan -3 | Exahust Units | In-House | DG Room | 2025-12-07 | 2026-01-07
DG Exhaust Fan -4 | Exahust Units | In-House | DG Room | 2025-12-07 | 2026-01-07
B3 Toilet Exhaust-1 | Exahust Units | In-House | Basement - 3 | 2025-12-08 | 2026-01-08
B1 Toilet Exhaust-1 | Exahust Units | In-House | Basement - 1 | 2025-12-08 | 2026-01-08
L2 GRR Toilet Exhaust-1 | Exahust Units | In-House | Level-L2 | 2025-12-08 | 2026-01-08
L2 LRR Toilet Exhaust-1 | Exahust Units | In-House | Level-L2 | 2025-12-08 | 2026-01-08
L3 GRR Toilet Exhaust-1 | Exahust Units | In-House | Level-L3 | 2025-12-08 | 2026-01-08
L3 LRR Toilet Exhaust-1 | Exahust Units | In-House | Level-L3 | 2025-12-08 | 2026-01-08
B1 Garbage Room Exhaust-1 | Exahust Units | In-House | B1 Garbage Room | 2025-12-08 | 2026-01-08
B4 STP Fresh Air Fan-1 | Fresh Air Units | In-House | Basement - 4 | 2025-12-09 | 2026-01-09
B4 Fresh Air Fan unit -1 | Fresh Air Units | In-House | Basement - 4 | 2025-12-09 | 2026-01-09
B4 Fresh Air Fan unit -2 | Fresh Air Units | In-House | Basement - 4 | 2025-12-09 | 2026-01-09
B4 Fresh Air Fan unit -3 | Fresh Air Units | In-House | Basement - 4 | 2025-12-09 | 2026-01-09
B4 Fresh Air Fan unit -4 | Fresh Air Units | In-House | Basement - 4 | 2025-12-09 | 2026-01-09
B4 Fresh Air Fan unit -5 | Fresh Air Units | In-House | Basement - 4 | 12/10/202 | 2026-01-10
B4 Fresh Air Fan unit -6 | Fresh Air Units | In-House | Basement - 4 | 12/10/202 | 2026-01-10
B4 Fresh Air Fan unit -7 | Fresh Air Units | In-House | Basement - 4 | 12/10/202 | 2026-01-10
B4 Fresh Air Fan unit -8 | Fresh Air Units | In-House | Basement - 4 | 12/10/202 | 2026-01-10
B4 Fresh Air Fan unit -9 | Fresh Air Units | In-House | Basement - 4 | 12/10/202 | 2026-01-10
B4 Fresh Air Fan unit -10 | Fresh Air Units | In-House | Basement - 4 | 2025-12-11 | 2026-01-11
B4 Fresh Air Fan unit -11 | Fresh Air Units | In-House | Basement - 4 | 2025-12-11 | 2026-01-11
B4 Fresh Air Fan unit -12 | Fresh Air Units | In-House | Basement - 4 | 2025-12-11 | 2026-01-11
B4 Fresh Air Fan unit -13 | Fresh Air Units | In-House | Basement - 4 | 2025-12-11 | 2026-01-11
B4 Fresh Air Fan unit -14 | Fresh Air Units | In-House | Basement - 4 | 2025-12-11 | 2026-01-11
B4 Fresh Air Fan unit -15 | Fresh Air Units | In-House | Basement - 4 | 2025-12-12 | 2026-01-12
B4 Exhaust Fan unit -1 | Exahust Units | In-House | Basement - 4 | 2025-12-12 | 2026-01-12
B4 Exhaust Fan unit -2 | Exahust Units | In-House | Basement - 4 | 2025-12-12 | 2026-01-12
B4 Exhaust Fan unit -3 | Exahust Units | In-House | Basement - 4 | 2025-12-12 | 2026-01-12
B4 Exhaust Fan unit -4 | Exahust Units | In-House | Basement - 4 | 2025-12-12 | 2026-01-12
B4 Exhaust Fan unit -5 | Exahust Units | In-House | Basement - 4 | 2025-12-12 | 2026-01-12
B4 Exhaust Fan unit -6 | Exahust Units | In-House | Basement - 4 | 2025-12-13 | 2026-01-13
B4 Exhaust Fan unit -7 | Exahust Units | In-House | Basement - 4 | 2025-12-13 | 2026-01-13
B4 Exhaust Fan unit -8 | Exahust Units | In-House | Basement - 4 | 2025-12-13 | 2026-01-13
B4 Exhaust Fan unit -9 | Exahust Units | In-House | Basement - 4 | 2025-12-13 | 2026-01-13
B4 Exhaust Fan unit -10 | Exahust Units | In-House | Basement - 4 | 2025-12-13 | 2026-01-13
B4 Exhaust Fan unit -11 | Exahust Units | In-House | Basement - 4 | 2025-12-13 | 2026-01-13
B4 Exhaust Fan unit -12 | Exahust Units | In-House | Basement - 4 | 2025-12-14 | 2026-01-14
B3 Fresh Air Fan unit-1 | Fresh Air Units | In-House | Basement - 3 | 2025-12-14 | 2026-01-14
B3 Fresh Air Fan unit-2 | Fresh Air Units | In-House | Basement - 3 | 2025-12-14 | 2026-01-14
B3 Fresh Air Fan unit-3 | Fresh Air Units | In-House | Basement - 3 | 2025-12-14 | 2026-01-14
B3 Fresh Air Fan unit-4 | Fresh Air Units | In-House | Basement - 3 | 2025-12-14 | 2026-01-14
B3 Fresh Air Fan unit-5 | Fresh Air Units | In-House | Basement - 3 | 2025-12-14 | 2026-01-14
B3 Fresh Air Fan unit-6 | Fresh Air Units | In-House | Basement - 3 | 2025-12-15 | 2026-01-15
B3 Fresh Air Fan unit-7 | Fresh Air Units | In-House | Basement - 3 | 2025-12-15 | 2026-01-15
B3 Fresh Air Fan unit-8 | Fresh Air Units | In-House | Basement - 3 | 2025-12-15 | 2026-01-15
B3 Fresh Air Fan unit-9 | Fresh Air Units | In-House | Basement - 3 | 2025-12-15 | 2026-01-15
B3 Fresh Air Fan unit-10 | Fresh Air Units | In-House | Basement - 3 | 2025-12-15 | 2026-01-15
B3 Fresh Air Fan unit-11 | Fresh Air Units | In-House | Basement - 3 | 2025-12-15 | 2026-01-15
B3 Fresh Air Fan unit-12 | Fresh Air Units | In-House | Basement - 3 | 2025-12-16 | 2026-01-16
B3 Fresh Air Fan unit-13 | Fresh Air Units | In-House | Basement - 3 | 2025-12-16 | 2026-01-16
B3 Fresh Air Fan unit-14 | Fresh Air Units | In-House | Basement - 3 | 2025-12-16 | 2026-01-16
B3 Fresh Air Fan unit-15 | Fresh Air Units | In-House | Basement - 3 | 2025-12-16 | 2026-01-16
B3 Exhaust Fan unit-1 | Exahust Units | In-House | Basement - 3 | 2025-12-16 | 2026-01-16
B3 Exhaust Fan unit-2 | Exahust Units | In-House | Basement - 3 | 2025-12-16 | 2026-01-16
B3 Exhaust Fan unit-3 | Exahust Units | In-House | Basement - 3 | 2025-12-17 | 2026-01-17
B3 Exhaust Fan unit-4 | Exahust Units | In-House | Basement - 3 | 2025-12-17 | 2026-01-17
B3 Exhaust Fan unit-5 | Exahust Units | In-House | Basement - 3 | 2025-12-17 | 2026-01-17
B3 Exhaust Fan unit-6 | Exahust Units | In-House | Basement - 3 | 2025-12-17 | 2026-01-17
B3 Exhaust Fan unit-7 | Exahust Units | In-House | Basement - 3 | 2025-12-17 | 2026-01-17
B3 Exhaust Fan unit-8 | Exahust Units | In-House | Basement - 3 | 2025-12-17 | 2026-01-17
B3 Exhaust Fan unit-9 | Exahust Units | In-House | Basement - 3 | 2025-12-18 | 2026-01-18
B3 Exhaust Fan unit-10 | Exahust Units | In-House | Basement - 3 | 2025-12-18 | 2026-01-18
B3 Exhaust Fan unit-11 | Exahust Units | In-House | Basement - 3 | 2025-12-18 | 2026-01-18
B3 Exhaust Fan unit-12 | Exahust Units | In-House | Basement - 3 | 2025-12-18 | 2026-01-18
B2 Fresh Air Fan unit-1 | Fresh Air Units | In-House | Basement - 3 | 2025-12-18 | 2026-01-18
B2 Fresh Air Fan unit-2 | Fresh Air Units | In-House | Basement - 3 | 2025-12-18 | 2026-01-18
B2 Fresh Air Fan unit-3 | Fresh Air Units | In-House | Basement - 2 | 2025-12-19 | 2026-01-19
B2 Fresh Air Fan unit-4 | Fresh Air Units | In-House | Basement - 2 | 2025-12-19 | 2026-01-19
B2 Fresh Air Fan unit-5 | Fresh Air Units | In-House | Basement - 2 | 2025-12-19 | 2026-01-19
B2 Fresh Air Fan unit-6 | Fresh Air Units | In-House | Basement - 2 | 2025-12-19 | 2026-01-19
B2 Fresh Air Fan unit-7 | Fresh Air Units | In-House | Basement - 2 | 2025-12-19 | 2026-01-19
B2 Fresh Air Fan unit-8 | Fresh Air Units | In-House | Basement - 2 | 2025-12-19 | 2026-01-19
B2 Fresh Air Fan unit-9 | Fresh Air Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-19
B2 Fresh Air Fan unit-10 | Fresh Air Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-19
B2 Fresh Air Fan unit-11 | Fresh Air Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-19
B2 Fresh Air Fan unit-12 | Fresh Air Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-20
B2 Fresh Air Fan unit-13 | Fresh Air Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-20
B2 Fresh Air Fan unit-14 | Fresh Air Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-20
B2 Exhaust Fan unit-1 | Exahust Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-20
B2 Exhaust Fan unit-2 | Exahust Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-20
B2 Exhaust Fan unit-3 | Exahust Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-20
B2 Exhaust Fan unit-4 | Exahust Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-20
B2 Exhaust Fan unit-5 | Exahust Units | In-House | Basement - 2 | 2025-12-20 | 2026-01-20
B2 Exhaust Fan unit-6 | Exahust Units | In-House | Basement - 2 | 2025-12-21 | 2026-01-20
B2 Exhaust Fan unit-7 | Exahust Units | In-House | Basement - 2 | 2025-12-21 | 2026-01-20
B2 Exhaust Fan unit-8 | Exahust Units | In-House | Basement - 2 | 2025-12-21 | 2026-01-20
B2 Exhaust Fan unit-9 | Exahust Units | In-House | Basement - 2 | 2025-12-21 | 2026-01-21
B2 Exhaust Fan unit-10 | Exahust Units | In-House | Basement - 2 | 2025-12-21 | 2026-01-21
B2 Exhaust Fan unit-11 | Exahust Units | In-House | Basement - 2 | 2025-12-21 | 2026-01-21
B2 Exhaust Fan unit-12 | Exahust Units | In-House | Basement - 2 | 2025-12-21 | 2026-01-21
B1 T/R Room Exhaust unit-1 | Exahust Units | In-House | Transformer Room | 2025-12-21 | 2026-01-21
B1 T/R Room Fresh Air unit-1 | Fresh Air Units | In-House | Transformer Room | 2025-12-21 | 2026-01-21
B1 Chiller Room Fresh Air unit-1 | Fresh Air Units | In-House | B1 Chiller plant room | 2025-12-21 | 2026-01-21
B1 Chiller Room Exhaust unit-1 | Exahust Units | In-House | B1 Chiller plant room | 2025-12-21 | 2026-01-21
Staircase Pressurization fans -1 | Pressurization units | In-House | Level-9 | 2025-12-21 | 2026-01-21
Staircase Pressurization fans -2 | Pressurization units | In-House | Level-9 | 2025-12-21 | 2026-01-21
By Pass Motor Pump-1(STP) | Stp By pass pump | Vendor | Level-B4 STP | 12/02/205 | 2026-02-02
SBR Drain Pump 1 | SBR pumps | Vendor | Level-B4 STP | 12/02/205 | 2026-02-02
SBR Drain Pump 2 | SBR pumps | Vendor | Level-B4 STP | 12/02/205 | 2026-02-02
Raw Pump-1 | STP Raw water pumps | Vendor | Level-B4 STP | 12/02/205 | 2026-02-02
Raw Pump-2 | STP Raw water pumps | Vendor | Level-B4 STP | 12/02/205 | 2026-02-02
Sludge Pump 1 | sludge pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Sludge Pump 2 | sludge pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Screw Pump-1 | screw pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Screw Pump-2 | screw pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Feeding Pump 1 | STP filter feed pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Feeding Pump 2 | STP filter feed pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Softener Pump 1 | Softner pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Softener Pump 2 | Softner pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Drain Pump-1 | STP Drain pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Drain Pump-2 | STP Drain pumps | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Air Blower 1 | Air Blower motors | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Air Blower 2 | Air Blower motors | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Air Blower 3 | Air Blower motors | Vendor | Level-B4 STP | 2025-10-06 | 2026-01-06
Rain Water Drain Pump-1(50HP)(Over Flow Rain Water) | Rain water drain pump | In-House | Level-B4 | 2025-10-06 | 2026-01-06
Fire Diesel generator Pump -1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2025-12-10 | 2026-02-10
Fire Hydrant Pumps -Kirloskar-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2025-12-10 | 2026-02-10
Fire Sprinkler Pumps -Kirloskar-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2025-12-10 | 2026-02-10
Fire Stand by Pumps -Kirloskar-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2025-12-10 | 2026-02-10
Fire Low Jockey Pumps -Grundfos-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2025-12-10 | 2026-02-10
Fire High Jockey Pumps -Grundfos-1 | Fire fighting pumps | In-House | B1 Fire Fighting Room | 2025-12-10 | 2026-02-10
Addressable Control panel-1 & 2 | Fire Alarm & PA system | Vendor | B1 CCTV Room | 2025-12-01 | 2026-02-01
Detectors - 627 Nos | Fire Alarm & PA system | Vendor | All Locations | 2025-12-01 | 2026-02-01
MCP - 48 Nos | Fire Alarm & PA system | Vendor | All Locations | 2025-12-01 | 2026-02-01
Hooters - 46 Nos | Fire Alarm & PA system | Vendor | All Locations | 2025-12-01 | 2026-02-01
Speakers - 281 Nos | Fire Alarm & PA system | Vendor | All Locations | 2025-12-01 | 2026-02-01
FJT Phone -1 | Fire Alarm & PA system | Vendor | CCTV Room | 2025-12-01 | 2026-02-01
FJT Receiver - 3 Nos | Fire Alarm & PA system | Vendor | CCTV Room | 2025-12-01 | 2026-02-01
Fire Extinguishers - 239 Nos | Fire Alarm & PA system | Vendor | All Locations | 2025-12-11 | 2026-01-11
Camera - 256 Nos | CCTV | In-House | All Locations
Primary Rate Interface(Telephone PRI) | PRI | In-House | B1 Server Room
HT panel (Supply to Transformer I/C) | HT O/G Panel | In-House | HT Room | 2025-01-30 | 2026-01-30
LT Kiosk Panel (Supply from Transformers) | LT O/G Kiosk Panel | In-House | HT Room | 2025-01-30 | 2026-01-30
Main PCC Panel (LT Room) | Main LT panel | In-House | LT Room | 2025-01-30 | 2026-01-30
Marriott PCC Panel (LT Room) | Marriott PCC Panel (LT Room) | In-House | LT Room | 2025-01-30 | 2026-01-30
DG PMCC Panel -1 | DG PMCC Panel -1 | In-House | LT Room | 2025-01-30 | 2026-01-30
UPS PCC Panel -1 | UPS PCC Panel -1 | In-House | UPS Room | 2025-01-30 | 2026-01-30
UPS PCC Panel -2 | UPS PCC Panel -2 | In-House | UPS Room | 2025-01-30 | 2026-01-30
Lift Panel (Basement -1) | Lift Panel (Basement -1) | In-House | LT Room | 2025-01-30 | 2026-01-30
Fire Control MCC panel -1 | Fire Control MCC panel -1 | In-House | B1 Pump Room | 2025-01-30 | 2026-01-30
Fire Control MCC panel -2 | Fire Control MCC panel -2 | In-House | B1 Pump Room | 2025-01-30 | 2026-01-30
Chiller Panel (Basement -1) | Chiller Panel (Basement -1) | In-House | B1 Pump Room | 2025-01-30 | 2026-01-30
Pumps MCC Panel (Basement -1) | Pumps MCC Panel (Basement -1) | In-House | B1 Pump Room | 2025-01-30 | 2026-01-30
Main PCC Panel (Terrace) | Main PCC Panel (Terrace) | In-House | Terrace | 2025-01-30 | 2026-01-30
Air Washer & Scrubber PCC Panel (L 9) | Air Washer & Scrubber PCC Panel (L 9) | In-House | Level-9 | 2025-12-02 | 2026-01-02
Secondary Pumps VFD panel-B1 | Secondary Pumps VFD panel-B1 | In-House | B1 Pump Room | 2025-12-03 | 2026-01-02
STP MCC Panel Basement - 4 (B4-4.0) | STP MCC Panel Basement - 4 (B4-4.0) | In-House | Basement - 4 | 2025-12-02 | 2026-01-02
Stack Parking MCC Panel-1.1 No's 3 | Stack Parking MCC Panel-1.1 No's 3 | In-House | Basement - 3 | 2025-12-02 | 2026-01-02
Scrubber MCC Panel -1(L9) | Scrubber MCC Panel -1(L9) | In-House | Terrace | 2025-12-02 | 2026-01-02
Air Washer MCC Panel -1(L9) | Air Washer MCC Panel -1(L9) | In-House | Terrace | 2025-12-02 | 2026-01-02
Package Cooling Tower Fans MCC Panels -1 | Package Cooling Tower Fans MCC Panels -1 | In-House | Terrace | 2025-12-03 | 2026-01-03
Package Cooling Tower Fans MCC Panels -2 | Package Cooling Tower Fans MCC Panels -2 | In-House | Terrace | 2025-12-03 | 2026-01-03
Chiller cooling Tower Fans MCC Panel -1 | Chiller cooling Tower Fans MCC Panel -1 | In-House | Terrace | 2025-12-03 | 2026-01-03
Chiller cooling Tower Fans MCC Panel -2 | Chiller cooling Tower Fans MCC Panel -2 | In-House | Terrace | 2025-12-03 | 2026-01-03
Chiller cooling Tower Fans MCC Panel -3 | Chiller cooling Tower Fans MCC Panel -3 | In-House | Terrace | 2025-12-03 | 2026-01-03
All Earth Pits - 76 Nos | All Earth Pits - 76 Nos | Vendor | LG | 2025-12-10 | 2026-02-10
Lighting arrester-1 To 2 | Lighting arrester-1 To 2 | Vendor | Terrace | 2025-12-11 | 2026-02-11
B4-MDB-1 | Basment MDB`s | In-House | Basement - 4 | 2025-12-01 | 2026-01-01
B4-MDB-2 | Basment MDB`s | In-House | Basement - 4 | 2025-12-01 | 2026-01-01
B4-MDB-3 | Basment MDB`s | In-House | Basement - 4 | 2025-12-01 | 2026-01-01
B3-MDB-1 | Basment MDB`s | In-House | Basement - 3 | 2025-12-01 | 2026-01-01
B3-MDB-2 | Basment MDB`s | In-House | Basement - 3 | 2025-12-01 | 2026-01-01
B3-MDB-3 | Basment MDB`s | In-House | Basement - 3 | 2025-12-01 | 2026-01-01
B2-MDB-1 | Basment MDB`s | In-House | Basement - 2 | 2025-12-02 | 2026-01-02
B2-MDB-2 | Basment MDB`s | In-House | Basement - 2 | 2025-12-02 | 2026-01-02
B2-MDB-3 | Basment MDB`s | In-House | Basement - 2 | 2025-12-02 | 2026-01-02
B1-MDB-1 | Basment MDB`s | In-House | Basement - 1 | 2025-12-02 | 2026-01-02
B1-MDB-2 | Basment MDB`s | In-House | Basement - 1 | 2025-12-02 | 2026-01-02
LG MDB-1 | Basment MDB`s | In-House | LG | 2025-12-02 | 2026-01-02
LG MDB-2 | Basment MDB`s | In-House | LG | 2025-12-03 | 1/32026
L1 MDB -1 | Basment MDB`s | In-House | Level - 1 | 2025-12-03 | 1/32026
L2 MDB-1 | Basment MDB`s | In-House | Level - 2 | 2025-12-03 | 1/32026
L2 MDB-2 | Basment MDB`s | In-House | Level - 2 | 2025-12-03 | 1/32026
L3 MDB-1 | Basment MDB`s | In-House | Level - 3 | 2025-12-03 | 1/32026
L3 MDB-2 | Basment MDB`s | In-House | Level - 3 | 2025-12-03 | 1/32026
L4 MDB-1 | Basment MDB`s | In-House | Level - 4 | 2025-12-03 | 1/32026
L4 MDB-2 | Basment MDB`s | In-House | Level - 4 | 2025-12-04 | 2026-01-04
L5 MDB-1 | Basment MDB`s | In-House | Level - 5 | 2025-12-04 | 2026-01-04
L5 MDB-2 | Basment MDB`s | In-House | Level - 5 | 2025-12-04 | 2026-01-04
L6 MDB-1 | Basment MDB`s | In-House | Level - 6 | 2025-12-04 | 2026-01-04
L6 MDB-2 | Basment MDB`s | In-House | Level - 6 | 2025-12-04 | 2026-01-04
L7 MDB-1 | Basment MDB`s | In-House | Level - 7 | 2025-12-04 | 2026-01-04
L7 MDB-2 | Basment MDB`s | In-House | Level - 7 | 2025-12-04 | 2026-01-04
L8 MDB-1 | Basment MDB`s | In-House | Level - 8 | 2025-12-04 | 2026-01-04
L8 MDB-2 | Basment MDB`s | In-House | Level - 8 | 2025-12-04 | 2026-01-04
L9 MDB-1 | Basment MDB`s | In-House | Level - 9 | 2025-12-05 | 2026-01-05
B4-SDB -1.1 No's 3 | Basment SDB`s | In-House | Basement - 4 | 2025-12-05 | 2026-01-05
B1-SDB - 1.1 | Basment SDB`s | In-House | Basement - 1 | 2025-12-05 | 2026-01-05
B4 EL Lighting DB-1 & 2 | ELDB`s | In-House | Basement - 4 | 2025-12-05 | 2026-01-05
B3 EL Lighting DB-1 & 2 | ELDB`s | In-House | Basement - 3 | 2025-12-05 | 2026-01-05
B2 EL Lighting DB-1 & 2 | ELDB`s | In-House | Basement - 2 | 2025-12-05 | 2026-01-05
B1 EL Lighting DB-1 To 3 | ELDB`s | In-House | Basement - 1 | 2025-12-05 | 2026-01-05
LG EL Lighting DB-1 | ELDB`s | In-House | Lower Ground | 2025-12-05 | 2026-01-05
L1 EL Lighting DB-1 | ELDB`s | In-House | Level - 1 | 2025-12-05 | 2026-01-05
L2 EL Lighting DB-1 & 2 | ELDB`s | In-House | Level - 2 | 2025-12-05 | 2026-01-05
L3 EL Lighting DB-1 & 2 | ELDB`s | In-House | Level - 3 | 2025-12-05 | 2026-01-05
L4 EL Lighting DB-1 | ELDB`s | In-House | Level - 4 | 2025-12-05 | 2026-01-05
L5 EL Lighting DB-1 | ELDB`s | In-House | Level - 5 | 2025-12-05 | 2026-01-05
L6 EL Lighting DB-1 | ELDB`s | In-House | Level - 6 | 2025-12-22 | 2026-01-22
L7 EL Lighting DB-1 | ELDB`s | In-House | Level - 7 | 2025-12-22 | 2026-01-22
L8 EL Lighting DB-1 | ELDB`s | In-House | Level - 8 | 2025-12-22 | 2026-01-22
L9 EL Lighting DB-1 | ELDB`s | In-House | Level - 9 | 2025-12-22 | 2026-01-22
B4 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Basement - 4 | 2025-12-22 | 2026-01-22
B3 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Basement - 3 | 2025-12-22 | 2026-01-22
B2 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Basement - 2 | 2025-12-22 | 2026-01-22
B1 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Basement - 1 | 2025-12-22 | 2026-01-22
LG Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Lower Ground | 2025-12-22 | 2026-01-22
L1 Raw power Lighting DB -1 To 3 | RPDB`s | In-House | Level - 1 | 2025-12-23 | 2026-01-23
L2 Raw power Lighting DB -1 To 4 | RPDB`s | In-House | Level - 2 | 2025-12-23 | 2026-01-23
L3 Raw power Lighting DB -1 To 3 | RPDB`s | In-House | Level - 3 | 2025-12-23 | 2026-01-23
L9 Raw power Lighting DB -1 | RPDB`s | In-House | Level - 9 | 2025-12-23 | 2026-01-23
Drain Sump pump-1 | Starter panels | In-House | Basement - 4 | 2025-12-23 | 2026-01-23
Drain Sump pump-2 | Starter panels | In-House | Basement - 4 | 2025-12-23 | 2026-01-23
Drain Sump pump-3 | Starter panels | In-House | Basement - 4 | 2025-12-23 | 2026-01-23
Drain Sump pump-4 | Starter panels | In-House | Basement - 4 | 2025-12-23 | 2026-01-23
Drain Sump pump-5 | Starter panels | In-House | Basement - 4 | 2025-12-23 | 2026-01-23
Drain Sump Starter Panel-1 | Starter panels | In-House | Basement - 4 | 2025-12-24 | 2026-01-24
Drain Sump Starter Panel-2 | Starter panels | In-House | Basement - 4 | 2025-12-24 | 2026-01-24
Drain Sump Starter Panel-3 | Starter panels | In-House | Basement - 4 | 2025-12-24 | 2026-01-24
Drain Sump Starter Panel-4 | Starter panels | In-House | Basement - 4 | 2025-12-24 | 2026-01-24
Drain Sump Starter Panel-5 | Starter panels | In-House | Basement - 4 | 2025-12-24 | 2026-01-24
Raw water shifting Pump Starter 1 | Starter panels | In-House | Basement - 4 | 2025-12-24 | 2026-01-24
Raw water shifting Pump Starter 2 | Starter panels | In-House | Basement - 4 | 2025-12-24 | 2026-01-24
SBR Pumps Starter -1 | Starter panels | In-House | Basement - 4 | 2025-12-24 | 2026-01-24
SBR Pumps Starter -2 | Starter panels | In-House | Basement - 4 | 2025-12-25 | 2026-01-25
Drain Pump Starter-1 | Starter panels | In-House | Basement - 4 | 2025-12-25 | 2026-01-25
Drain Pump Starter-2 | Starter panels | In-House | Basement - 4 | 2025-12-25 | 2026-01-25
Air Blowers Starter -1 | Starter panels | In-House | Basement - 4 | 2025-12-25 | 2026-01-25
Air Blowers Starter -2 | Starter panels | In-House | Basement - 4 | 2025-12-25 | 2026-01-25
Air Blowers Starter -3 | Starter panels | In-House | Basement - 4 | 2025-12-25 | 2026-01-25
Domestic Tank - 1 To 3 | Water storage Tanks | In-House | B1 Pump Room | 2025-09-08 | 2026-03-14
Raw Water Tank - 1 To 2 | Water storage Tanks | In-House | B1 Pump Room | 2025-09-09 | 2026-03-15
Fire Tank 1 To 2 | Water storage Tanks | In-House | B1 Pump Room | 2025-09-10 | 2026-03-16
Domestic Tank | Water storage Tanks | In-House | Terrace | 2025-12-13 | 2026-05-10
Flush Tank | Water storage Tanks | In-House | Terrace | 2025-12-13 | 2026-05-10
Softner Tank | Water storage Tanks | In-House | Terrace | 2025-12-13 | 2026-05-10
Fire Tank | Water storage Tanks | In-House | Terrace | 2025-12-13 | 2026-05-10
STP Final Tank | Water storage Tanks | In-House | B4 STP Plant | 2025-12-10 | 2026-05-05
STP Softner Tank | Water storage Tanks | In-House | B4 STP Plant | 2025-12-10 | 2026-05-06
Stainers (1 - 5) | Stainers | In-House | B1 DG Room | 2025-12-13 | 2026-02-10
Stainers (1 & 2) | Stainers | In-House | B1 Domestic Tank | 2025-12-13 | 2026-02-10
Stainers (1 & 2) | Stainers | In-House | B1 Raw Water Tank | 2025-12-13 | 2026-02-10
Stainers (1 & 2) | Stainers | In-House | B1 Fire tank | 2025-12-13 | 2026-02-10
Chiller (1 - 3) Stainers | Stainers | In-House | B1 Chiller Plant | 2025-12-14 | 2026-02-11
Condensor Pumps Stainers | Stainers | In-House | B1 Chiller Plant | 2025-12-14 | 2026-02-11
Secondary Pumps Stainers | Stainers | In-House | B1 Chiller Plant | 2025-12-14 | 2026-02-11
Primary Pumps Stainers | Stainers | In-House | B1 Chiller Plant | 2025-12-14 | 2026-02-11
Package condenser Stainers | Stainers | In-House | Terrace | 2025-12-14 | 2026-02-11
Condensing tank for chiller | Condensing Tank | In-House | Service Floor | 2025-12-14 | 2026-02-11
Pressure Release Valves | PRV`s | In-House | All Shafts | 2025-12-20 | 2026-01-20
Sliding Door | Glas doors | In-House | LG | 2025-10-24 | 2026-01-24
Staricase Emergency Doors | Staircase Doors | In-House | Staircase 1 to 5 | 2025-12-10 | 2026-01-10
LPG Gas pipe & Regulators | Gas Regulators | In-House | Basment-1 Ramp side Gas Bank | 2025-10-25 | 2026-01-25
Multi stack Parking - 106 Nos | Stack Parking | Vendor | Basement - 3 | 2025-12-05 | 2026-02-05