## Sheet1
Asset Code | Asset Name | Location | In-House/Vendor | Last Service | nextDueDate | Frequency
ONEWEST-B2-CRT-01 | TRANSFORMER-1 | B2 HT Room | In-House | 2026-01-11 | 2026-04-11 | Quarterly
ONEWEST-B2-CRT-02 | TRANSFORMER-2 | B2 HT Room | In-House | 2026-01-12 | 2026-04-12 | Quarterly
ONEWEST-B2-CRT-03 | TRANSFORMER-3 | B2 HT Room | In-House | 2026-01-13 | 2026-04-13 | Quarterly
ONEWEST-B2-CRT-04 | TRANSFORMER-4 | B2 HT Room | In-House | 2026-01-14 | 2026-04-14 | Quarterly
ONEWEST-B2-DG-001 | Diesel Generator-01 | B2 HT Room | In-House | 2026-02-24 | 2026-03-26 | Monthly
ONEWEST-B2-DG-002 | Diesel Generator-02 | B2 HT Room | In-House | 2026-02-24 | 2026-03-26 | Monthly
ONEWEST-B2-DG-003 | Diesel Generator-03 | B2 HT Room | In-House | 2026-02-24 | 2026-03-26 | Monthly
ONEWEST-B2-DG-004 | Diesel Generator-04 | B2 HT Room | In-House | 2026-02-24 | 2026-03-26 | Monthly
ONEWEST-B3-CH-1 | CHILLER-1 | B3 Chiller Plant | In-House | 2026-02-19 | 2026-05-20 | Quarterly
ONEWEST-B3-CH-2 | CHILLER-2 | B3 Chiller Plant | In-House | 2026-02-19 | 2026-05-20 | Quarterly
ONEWEST-B3-CH-3 | CHILLER-3 | B3 Chiller Plant | In-House | 2026-02-19 | 2026-05-20 | Quarterly
ONEWEST-B3-CH-4 | CHILLER-4 | B3 Chiller Plant | In-House | 2026-02-19 | 2026-05-20 | Quarterly
ONEWEST-B3-CH-03-VFD | Chiller-no-03 VFD Panel | B3 Chiller Plant | In-House | 2026-02-19 | 2026-05-20 | Quarterly
ONEWEST-B3-CH-04-VFD | Chiller-no-04 VFD Panel | B3 Chiller Plant | In-House | 2026-02-19 | 2026-05-20 | Quarterly
ONEWEST-B2-INVCB-01 | HT ROOM 33kv Incomer VCB-1 | B2 HT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-OUTVCB-01 | HT ROOM 33kv Outgoing VCB-1 | B2 HT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-OUTVCB-02 | HT ROOM 33kv Outgoing VCB-2 | B2 HT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-OUTVCB-03 | HT ROOM 33kv Outgoing VCB-3 | B2 HT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-OUTVCB-04 | HT ROOM 33kv Outgoing VCB-4 | B2 HT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-DG-01 | LT ROOM ACB-DG-1 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-DG-02 | LT ROOM ACB-DG-2 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-DG-03 | LT ROOM ACB-DG-3 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-DG-04 | LT ROOM ACB-DG-4 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-TR-01 | LT ROOM ACB-T/F-1 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-TR-02 | LT ROOM ACB-T/F-2 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-TR-03 | LT ROOM ACB-T/F-3 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-TR-04 | LT ROOM ACB-T/F-4 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-RM-01 | LT ROOM ACB-RM-1 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-HVAC-01 | LT ROOM ACB-HVAC-1 | B2 LT Room | In-House | 2025-06-01 | 2026-05-27 | Yearly
ONEWEST-B2-RM-02 | LT ROOM ACB-RM-2 | B2 LT Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-HVAC-02 | LT ROOM ACB-HVAC-2 | B2 LT Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-RM-03 | LT ROOM ACB-RM-3 | B2 LT Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-HVAC-03 | LT ROOM ACB-HVAC 03 | B2 LT Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-HVAC-04 | LT ROOM ACB-HVAC 04 | B2 LT Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-ADPUPS | LT ROOM ACB-UPS ADP | B2 LT Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-RM-04 | LT ROOM ACB RM-04 | B2 LT Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-INDG-01 | DG ROOM DG-1 INCOMER ACB | B2 DG Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-OUTDG-01 | DG ROOM DG-1 OUTGOING ACB | B2 DG Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-INDG-02 | DG ROOM DG-2 INCOMER ACB | B2 DG Room | In-House | 2025-06-02 | 2026-05-28 | Yearly
ONEWEST-B2-OUTDG-02 | DG ROOM DG-2 OUTGOING ACB | B2 DG Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-OUTDG-03 | DG ROOM DG-3 OUTGOING ACB | B2 DG Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-INDG-03 | DG ROOM DG-3 INCOMER ACB | B2 DG Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-INDG-04 | DG ROOM DG-4 INCOMER ACB | B2 DG Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-OUTDG-04 | DG ROOM DG-4 OUTGOING ACB | B2 DG Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-GF-OUTVCB | Ground floor VCB OUTGOING | GF RMU Yard | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-LT-ACB-BC-01 | LT ROOM ACB BUS COUPLER-01 | B2 LT Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-ACB-BC-02 | LT ROOM ACB BUS COUPLER-02 | B2 LT Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-ACB-BC-03 | LT ROOM ACB BUS COUPLER-03 | B2 LT Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-ACB-BC-01 | DG ROOM SYNC BUS COUPLER ACB-01 | B2 DG Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-DG -ACB-BC-02 | DG ROOM SYNC BUS COUPLER ACB-02 | B2 DG Room | In-House | 2025-06-03 | 2026-05-29 | Yearly
ONEWEST-B2-DG -ACB-BC-03 | DG ROOM SYNC BUS COUPLER ACB-03 | B2 DG Room | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-HVAC-01-INC-1-ACB | B3 Chiller Plant HVAC-01 ACB Incomer-01 | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-HVAC-02-INC-2-ACB | B3 Chiller Plant HVAC-02 ACB Incomer-02 | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-HVAC-03-INC-3-ACB | B3 Chiller Plant HVAC-03 ACB Incomer-03 | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-HVAC-04-INC-4-ACB | B3 Chiller Plant HVAC-04 ACB Incomer-04 | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-CH-1-ACB | B3 Chiller Plant Chiller-01 ACB | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-CH-2-ACB | B3 Chiller Plant Chiller-02 ACB | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-CH-3-ACB | B3 Chiller Plant Chiller-03 ACB | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-CH-4-ACB | B3 Chiller Plant Chiller-04 ACB | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-CHP-BUS-01-ACB | B3 Chiller Plant BUS COUPLER ACB-01 | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-CHP-BUS-02-ACB | B3 Chiller Plant BUS COUPLER ACB-02 | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-B3-CHP-BUS-03-ACB | B3 Chiller Plant BUS COUPLER ACB-03 | B3 Chiller Plant | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-19th-ELR-ACB-01 | 19th Floor Electrical Room ACB-01 | 19th Floor Electrical Room | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-19th-ELR-ACB-02 | 19th Floor Electrical Room ACB-02 | 19th Floor Electrical Room | In-House | 2025-06-04 | 2026-05-30 | Yearly
ONEWEST-20F-AO-UPS | Abjayon office Server Room UPS | Abjayon office | In-House | 2025-06-07 | 2025-09-05 | Quarterly
ONEWEST-25th-LOP-UPS | 25th Floor Lift LOP UPS | 25th Floor Electrical Room | In-House | 2025-06-07 | 2025-09-05 | Quarterly
ONEWESTGF | Gate no 3 Security Room UPS | Gate no 3 Security Room | In-House | 2025-06-07 | 2025-09-05 | Quarterly
ONEWEST-B3-CHP-UPS | Chiller Plant CPM UPS | B3 Chiller Plant | In-House | 2025-06-07 | 2025-09-05 | Quarterly
ONEWEST-B2-LT-PLC-UPS | LT Room PLC Panel UPS | B2 LT Room | In-House | 2025-06-07 | 2025-09-05 | Quarterly
ONEWEST-GF-BMS-UPS | BMS Room UPS | BMS | In-House | 2025-06-07 | 2025-09-05 | Quarterly
ONEWEST-GF-Sec-UPS | Gate-no-04 Security Cabin UPS | Gate-no-04 Security Cabin | In-House | 2025-06-07 | 2025-09-05 | Quarterly
ONEWEST-P3-OE-01-UPS | P3 OE-01 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-P3-OE-02-UPS | P3 OE-02 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-P3-OE-03-UPS | P3 OE-03 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-P3-OE-04-UPS | P3 OE-04 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-25th-OE-05-UPS | 25th Floor OE-05 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-25th-OE-06-UPS | 25th Floor OE-06 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-P3-OE-07-UPS | P3 OE-07 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-P3-OE-08-UPS | P3 OE-08 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-P3-OE-09-UPS | P3 OE-09 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-P3-OE-10-UPS | P3 OE-10 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-25th-OE-11-UPS | 25th Floor OE-11 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-25th-OE-12-UPS | 25th Floor OE-12 UPS | P3 UPS Room | In-House | 2026-02-14 | 2026-05-15 | Quarterly
ONEWEST-25th-ELE-UPS | 25th Floor Terminus office UPS | 25th Floor Terminus office | In-House | 2026-02-07 | 2026-05-08 | Quarterly
ONEWEST-20th-AO-UPS | Abjayon office UPS | Abjayon office UPS | In-House | 2026-02-07 | 2026-05-08 | Quarterly
ONEWEST-OE-01 | Operation Elevator -01 | 25th floor | In-House | 2026-02-01 | 2026-03-03 | Monthly
ONEWEST-OE-02 | Operation Elevator -02 | 25th floor | In-House | 2026-02-01 | 2026-03-03 | Monthly
ONEWEST-OE-03 | Operation Elevator -03 | 25th floor | In-House | 2026-02-02 | 2026-03-04 | Monthly
ONEWEST-OE-04 | Operation Elevator -04 | 25th floor | In-House | 2026-02-03 | 2026-03-05 | Monthly
ONEWEST-OE-05 | Operation Elevator -05 | 25th floor | In-House | 2026-02-04 | 2026-03-06 | Monthly
ONEWEST-OE-06 | Operation Elevator -06 | 25th floor | In-House | 2026-02-05 | 2026-03-07 | Monthly
ONEWEST-OE-07 | Operation Elevator -07 | 25th floor | In-House | 2026-02-06 | 2026-03-08 | Monthly
ONEWEST-OE-08 | Operation Elevator -08 | 25th floor | In-House | 2026-02-07 | 2026-03-09 | Monthly
ONEWEST-OE-09 | Operation Elevator -09 | 25th floor | In-House | 2026-02-08 | 2026-03-10 | Monthly
ONEWEST-OE-10 | Operation Elevator -10 | 25th floor | In-House | 2026-02-09 | 2026-03-11 | Monthly
ONEWEST-OE-11 | Operation Elevator -11 | 25th floor | In-House | 2026-02-10 | 2026-03-12 | Monthly
ONEWEST--GE-01 | Guest Elevator-01 | 25th floor | In-House | 2026-02-11 | 2026-03-13 | Monthly
ONEWEST--GE-02 | Guest Elevator-02 | 25th floor | In-House | 2026-02-12 | 2026-03-14 | Monthly
ONEWEST--GE-03 | Guest Elevator-03 | 25th floor | In-House | 2026-02-13 | 2026-03-15 | Monthly
ONEWEST--GE-04 | Guest Elevator-04 | 25th floor | In-House | 2026-02-14 | 2026-03-16 | Monthly
ONEWEST--SE-13 | Service Elevator-13 | 25th floor | In-House | 2026-02-15 | 2026-03-17 | Monthly
ONEWEST-OE-12 | Operation Elevator -12 | 25th floor | In-House | 2026-02-16 | 2026-03-18 | Monthly
ONEWEST-SE-14 | Service Elevator-14 | 25th floor | In-House | 2026-02-17 | 2026-03-19 | Monthly
ONEWEST-FE-01 | Fire Elevator-01 | 25th floor | In-House | 2026-02-18 | 2026-03-20 | Monthly
ONEWEST-FE-02 | Fire Elevator-02 | 25th floor | In-House | 2026-02-19 | 2026-03-21 | Monthly
ONEWEST-GF-FAPA | FAPA-Fire Alarm System -BMS room | BMS Room | In-House | 2026-02-20 | 2026-05-21 | Quarterly
ONEWEST-Energy Meters | Energy Meter Calibration - LT Panels | Electrical Panels | In-House | 2026-02-21 | 2027-02-16 | Yearly
ONEWEST-GF- Boom Barrier-01 | Boom Barrier services -Gate-0 3 | Gate-03 | In-House | 2026-02-22 | 2026-05-23 | Quarterly
ONEWEST-GF- Boom Barrier-02 | Boom Barrier services Gate-04 | Gate-04 | In-House | 2026-02-23 | 2026-05-24 | Quarterly
ONEWEST-B3-CPM | CPM -Chiller plant manager | B3 Chiller Plant | In-House | 2026-02-24 | 2026-05-25 | Quarterly
ONEWEST-25th-Sliding Doors | Terminus Office Sliding Doors | Terminus Office | In-House | 2026-02-25 | 2026-05-26 | Quarterly
ONEWEST-GF- Sliding Doors | Ground Floor West Lobby Sliding Doors | Ground floor Lift lobby | In-House | 2026-02-26 | 2026-05-27 | Quarterly
ONEWEST-P2-Stack parkings | 76 Klaus Stack parking`s at P2 | P2 Parking | In-House | 2026-02-27 | 2026-05-28 | Quarterly
ONEWEST-P3-Stack parkings | 68 Klaus Stack parking`s at P3 | P3 Parking | In-House | 2026-02-28 | 2026-05-29 | Quarterly
ONEWEST-B1-Stack parkings | 43 Klaus Stack parking`s at B1 | B1 Parking | In-House | 2026-03-01 | 2026-05-30 | Quarterly
ONEWEST-B2-Stack parkings | 119 Klaus Stack parking`s at B2 | B2 Parking | In-House | 2026-03-02 | 2026-05-31 | Quarterly
ONEWEST-B3-Stack parkings | 98 Klaus Satck Parking at B3 | B3 Parking | In-House | 2026-03-03 | 2026-06-01 | Quarterly
Formulas:
nextDueDate = [Last Service]+90