## 📋 Instructions
🔥 ONEWEST — FIRE FIGHTING MODULE ¦ MASTER DATA TEMPLATE
Property: ONEWEST ¦ Module: Fire Fighting Safety ¦ Template v1.0 ¦ Generated: 23-Mar-2026
SHEET INDEX
# | Sheet Name | Purpose | Key Dropdowns | Notes
1 | Equipment | Equipment register | extinguisher¦hydrant¦hose_reel¦sprinkler¦pump¦panel | All fire assets with dates & status
2 | Alarms | Alarm event log | smoke¦heat¦manual | Every alarm trigger with response
3 | Inspections | Inspection checklist log | daily¦weekly¦monthly¦annual | Pass/fail per checklist item
4 | Maintenance | PM & repair schedule | PM¦repair | Preventive and corrective tasks
5 | Incidents | Fire incident register | low¦medium¦high¦critical | All events with severity & actions
6 | Response Team | Emergency team roster | warden¦responder¦first_aid¦coordinator | Contacts & zone assignments
7 | Drills | Drill schedule & scores | evacuation¦fire_response¦first_aid | Drill results and performance
HOW TO USE THIS TEMPLATE
| Step | Action | Details
| Step 1 | Fill data in the relevant sheet tab | Yellow rows = input area. Do NOT delete header rows 1–4.
| Step 2 | Use dropdown values for marked columns | Dropdowns prevent import errors.
| Step 3 | Date format must be DD-MMM-YYYY | Example: 15-Jan-2025. Not DD/MM/YYYY.
| Step 4 | Save as .xlsx (Excel Workbook) | Keep all sheets intact. Do NOT save as .csv.
| Step 5 | Upload via the module Import button | ONEWEST Fire → 📊 button → Upload Data tab → select file.
| Step 6 | Export PDF from the system | Use Export PDF button for official compliance reports.

## Equipment
🔥 ONEWEST — FIRE FIGHTING MODULE ¦ EQUIPMENT REGISTER
Extinguishers · Hydrants · Hose Reels · Sprinklers · Pumps · Panels ¦ Generated: 23-Mar-2026 ¦ Property: ONEWEST
INSTRUCTIONS: * Mandatory ¦ Type: extinguisher¦hydrant¦hose_reel¦sprinkler¦pump¦panel ¦ Status: active¦faulty¦expired ¦ Dates: DD-MMM-YYYY
Asset Code* | Asset Type* | Location / Floor* | Zone ID* | Capacity / Size | Installation Date (DD-MMM-YYYY) | Last Inspection (DD-MMM-YYYY) | Next Due Date (DD-MMM-YYYY) | Status* | Manufacturer | Serial Number | Remarks
OW-EXT-B1-001 | extinguisher | Basement Car Park | B1 | 9kg ABC | 15-Jan-2022 | 10-Jan-2025 | 10-Apr-2025 | active | Ceasefire | CF-9ABC-101 | Near lift lobby
OW-HYD-GF-001 | hydrant | Ground Floor Lobby | GF | 65mm | 01-Mar-2020 | 05-Feb-2025 | 05-May-2025 | active | Agni | AG-H65-102 | Behind reception
OW-SPR-L3-001 | sprinkler | Level 3 Office | L3 | K-factor 8.0 | 12-Jun-2019 | 20-Jan-2025 | 20-Apr-2025 | active | Viking | VK-SP-103 | Grid pattern
OW-PMP-BR-001 | pump | Pump Room Basement | BR | 1500 LPM | 01-Jan-2018 | 15-Mar-2025 | 15-Jun-2025 | active | Kirloskar | KR-PM-104 | Jockey pump
OW-PNL-GF-001 | panel | Security Room GF | GF | 16 zones | 01-Feb-2019 | 22-Feb-2025 | 22-May-2025 | faulty | Honeywell | HW-FACP-105 | Zone 3 fault
SUMMARY |  |  |  | Total |  | Active |  | Faulty |  | Expired

## Alarms
🔥 ONEWEST — FIRE FIGHTING MODULE ¦ ALARM LOG
Smoke · Heat · Manual Call Point alarm events ¦ Generated: 23-Mar-2026 ¦ Property: ONEWEST
INSTRUCTIONS: * Mandatory ¦ Type: smoke¦heat¦manual ¦ Status: active¦acknowledged¦resolved¦false_alarm ¦ Time: 24hr HH:MM
Zone Name* | Zone ID* | Alarm Type* | Source Device ID | Triggered Date* (DD-MMM-YYYY) | Triggered Time* (HH:MM) | Status* | Acknowledged By | Acknowledged Time (HH:MM) | Resolved Date (DD-MMM-YYYY) | Remarks / Root Cause
Level 3 East | L3-E | smoke | SD-L3-007 | 12-Mar-2025 | 14:32 | resolved | Rajan | 14:35 | 12-Mar-2025 | Pantry smoke — false alarm
Car Park B1 | B1 | heat | HD-B1-002 | 18-Mar-2025 | 09:15 | resolved | Supervisor | 09:22 | 18-Mar-2025 | Electrical short — contained
Server Room GF | GF-SR | manual | MCP-GF-01 | 20-Mar-2025 | 11:00 | false_alarm | Admin | 11:05 | 20-Mar-2025 | Accidental during drill

## Inspections
🔥 ONEWEST — FIRE FIGHTING MODULE ¦ INSPECTION REGISTER
Daily · Weekly · Monthly · Annual checklist records ¦ Generated: 23-Mar-2026 ¦ Property: ONEWEST
INSTRUCTIONS: * Mandatory ¦ Type: daily¦weekly¦monthly¦annual ¦ Checklist: PASS¦FAIL¦N/A ¦ Status: ok¦faulty
Inspection Date* (DD-MMM-YYYY) | Asset Code* | Asset Type* | Location* | Inspection Type* | Inspected By* | Pressure OK? | Seal / Valve OK? | No Leakage? | Accessible? | Label Legible? | Within Expiry? | Overall Status* | Remarks
22-Mar-2025 | OW-EXT-B1-001 | extinguisher | Car Park B1 | daily | Ravi | PASS | PASS | PASS | PASS | PASS | PASS | ok | All clear
22-Mar-2025 | OW-HYD-GF-001 | hydrant | GF Lobby | weekly | Ravi | PASS | PASS | PASS | PASS | PASS | PASS | ok | Slightly stiff hose
20-Mar-2025 | OW-PNL-GF-001 | panel | Security Room | monthly | Supervisor | N/A | PASS | N/A | PASS | PASS | N/A | faulty | Zone 3 fault light on

## Maintenance
🔥 ONEWEST — FIRE FIGHTING MODULE ¦ MAINTENANCE SCHEDULE
Preventive Maintenance (PM) and corrective repair tasks ¦ Generated: 23-Mar-2026 ¦ Property: ONEWEST
INSTRUCTIONS: * Mandatory ¦ Type: PM¦repair ¦ Status: Scheduled¦In Progress¦Completed¦Overdue ¦ Cost in ₹
Task Type* | Asset Code* | Asset Type | Location | Description* | Scheduled Date* (DD-MMM-YYYY) | Completed Date (DD-MMM-YYYY) | Assigned To* | Status* | Vendor / Agency | Cost (₹) | Remarks
PM | OW-PMP-BR-001 | pump | Pump Room | Quarterly PM — lubrication & impeller check | 30-Mar-2025 |  | Kirloskar AMC | Scheduled | Kirloskar Brothers |  | 6-month cycle
repair | OW-PNL-GF-001 | panel | Security Room | Replace Zone 3 detection module | 25-Mar-2025 | 25-Mar-2025 | Honeywell Tech | Completed | Honeywell India | 4800 | Zone restored
PM | OW-EXT-B1-001 | extinguisher | Basement | Annual refilling & pressure recharge | 01-Apr-2025 |  | Ceasefire | Scheduled | Ceasefire Pvt Ltd | 350 | As per AMC
Total |  | Done |  | Scheduled |  | Overdue |  | Cost ₹

## Incidents
🔥 ONEWEST — FIRE FIGHTING MODULE ¦ INCIDENT REGISTER
All fire events — near misses · activations · emergencies ¦ Generated: 23-Mar-2026 ¦ Property: ONEWEST
INSTRUCTIONS: * Mandatory ¦ Severity: low¦medium¦high¦critical ¦ Status: Open¦In Progress¦Closed ¦ Critical = report within 1 hour
Incident Date* (DD-MMM-YYYY) | Start Time* (HH:MM) | Zone Name* | Severity* | Description* | Reported By* | Alarm Triggered? | Evacuation? | Actions Taken | End Time (HH:MM) | End Date (DD-MMM-YYYY) | Status* | Remarks
12-Mar-2025 | 14:32 | Level 3 East | low | Smoke detector — cooking fumes from pantry | Supervisor | YES | NO | Area inspected & ventilated. False alarm. | 14:50 | 12-Mar-2025 | Closed | Sensitise staff
18-Mar-2025 | 09:15 | Car Park B1 | high | Electrical short in UPS room causing smoke | Safety Officer | YES | YES | Fire suppressed. UPS isolated. | 09:45 | 18-Mar-2025 | Closed | Electrical audit needed

## Response Team
🔥 ONEWEST — FIRE FIGHTING MODULE ¦ RESPONSE TEAM REGISTER
Fire wardens · First responders · Emergency coordinators ¦ Generated: 23-Mar-2026 ¦ Property: ONEWEST
INSTRUCTIONS: * Mandatory ¦ Role: warden¦responder¦first_aid¦coordinator ¦ Shift: Day¦Night¦General¦Rotational ¦ Active: YES¦NO
Full Name* | Role* | Assigned Zone* | Contact Number* | Alternate Contact | Email ID | Shift | Active? | Remarks
Arjun Mehta | warden | B1 Car Park | 9876500001 | 9876500002 | arjun.m@onewest.com | General | YES | Lead warden
Divya Nair | first_aid | Ground Floor | 9876500003 |  | divya.n@onewest.com | Day | YES | BLS certified
Suresh Kumar | responder | Level 1 | 9876500004 | 9876500005 | suresh.k@onewest.com | Night | YES
Kavitha Rao | coordinator | All Floors | 9876500006 | 9876500007 | kavitha.r@onewest.com | General | YES | Emergency coordinator

## Drills
🔥 ONEWEST — FIRE FIGHTING MODULE ¦ DRILL & TRAINING LOG
Evacuation drills · Fire response · First aid training ¦ Generated: 23-Mar-2026 ¦ Property: ONEWEST
INSTRUCTIONS: * Mandatory ¦ Type: evacuation¦fire_response¦first_aid ¦ Status: Scheduled¦Completed¦Cancelled ¦ Score ≥80=Good · 60-79=Avg · <60=Poor
Drill Date* (DD-MMM-YYYY) | Drill Type* | Conducted By* | Participants (Count) | Duration (minutes) | Evacuation Time (minutes) | Score (0-100) | Status* | Observations / Gaps | Corrective Actions | Remarks
15-Jan-2025 | evacuation | Safety Officer | 138 | 26 | 4 | 88 | Completed | All floors evacuated smoothly | Improve stairwell C signage | Good performance
20-Feb-2025 | fire_response | Fire Marshal | 28 | 42 | - | 76 | Completed | Pump room response 3min (target 2min) | Increase pump team drills | Needs improvement
30-Mar-2025 | evacuation | Safety Officer | 150 |  |  |  | Scheduled |  |  | Q1 quarterly drill
|  |  | Total |  | Done |  | Avg Score