## 📋 Instructions
🔥 SLN TERMINUS — FIRE FIGHTING MODULE ¦ MASTER DATA TEMPLATE
Property: SLN Terminus ¦ Module: Fire Fighting Safety ¦ Template Version: 1.0 ¦ Generated: 23-Mar-2026
SHEET INDEX — Click a sheet tab to navigate
# | Sheet Name | Purpose | Key Values (Dropdowns) | Notes
1 | Equipment | Fire assets register | extinguisher, hydrant, hose_reel, sprinkler, pump, panel | All fire fighting equipment with location, dates, status
2 | Alarms | Fire alarm event log | smoke, heat, manual | Record every alarm trigger with response details
3 | Inspections | Daily/weekly/monthly inspection log | daily, weekly, monthly, annual | Checklist-based inspection with pass/fail per item
4 | Maintenance | PM and repair task schedule | PM, repair | Preventive maintenance and corrective repair tracking
5 | Incidents | Fire incident event register | low, medium, high, critical | Log all fire events with severity and actions taken
6 | Response Team | Emergency response team roster | warden, responder, first_aid, coordinator | Team contacts and zone assignments
7 | Drills | Fire drill schedule and scores | evacuation, fire_response, first_aid | Schedule, conduct and score all fire drills
HOW TO USE THIS TEMPLATE
| Step | Action | Details/Notes
| Step 1 | Fill data in the relevant sheet tab | Yellow highlighted rows = input areas. Do NOT delete header rows 1–4.
| Step 2 | Use dropdown values only for marked columns | Dropdowns prevent import errors. Manual typing in dropdown cells may cause rejection.
| Step 3 | Date format must be DD-MMM-YYYY | Example: 15-Jan-2025. Do NOT use DD/MM/YYYY or MM-DD-YYYY formats.
| Step 4 | Save as .xlsx (Excel Workbook) | Do NOT save as .csv or .xls. Keep all sheets intact in the file.
| Step 5 | Upload via the module's Import button | Go to Equipment / Alarms / etc. tab → click 📥 Upload Template → select this file.
| Step 6 | Export PDF from the system after import | Use the Export PDF button in the module for official compliance reports.
COLOUR CODING GUIDE
■ Yellow rows = Input / data entry area
■ Red highlight = Fault / critical status
■ Green highlight = Pass / active / completed
■ Grey rows = Alternating row colour (cosmetic)
■ Blue highlight = Low severity / informational

## Equipment
🔥 SLN TERMINUS — FIRE FIGHTING MODULE ¦ EQUIPMENT REGISTER
Fire extinguishers, hydrants, hose reels, sprinklers, pumps, panels ¦ Generated: 23-Mar-2026 ¦ Property: SLN Terminus
LEGEND / INSTRUCTIONS: * = Mandatory fields ¦ Asset Type: extinguisher ¦ hydrant ¦ hose_reel ¦ sprinkler ¦ pump ¦ panel ¦ Status: active ¦ faulty ¦ expired ¦ Dates in DD-MMM-YYYY (e.g. 15-Jan-2025) ¦ Do NOT delete header rows 1-4
Asset Code* | Asset Type* | Location / Floor* | Zone ID* | Capacity / Size | Installation Date (DD-MMM-YYYY) | Last Inspection (DD-MMM-YYYY) | Next Due Date (DD-MMM-YYYY) | Status* | Manufacturer | Serial Number | Remarks
EXT-B1-001 | extinguisher | Basement Parking | B1 | 9kg ABC | 15-Jan-2022 | 10-Jan-2025 | 10-Apr-2025 | active | Ceasefire | CF-9ABC-001 | Near elevator lobby
HYD-GF-001 | hydrant | Ground Floor Lobby | GF | 65mm | 01-Mar-2020 | 05-Feb-2025 | 05-May-2025 | active | Agni | AG-H65-002 | Behind reception
SPR-L2-001 | sprinkler | Level 2 Office | L2 | K-factor 8.0 | 12-Jun-2019 | 20-Jan-2025 | 20-Apr-2025 | active | Viking | VK-SP-0081 | Grid pattern
PMP-BR-001 | pump | Pump Room Basement | BR | 1500 LPM | 01-Jan-2018 | 15-Mar-2025 | 15-Jun-2025 | active | Kirloskar | KR-PM-1500 | Jockey pump secondary
PNL-GF-001 | panel | Security Room GF | GF | 16 zones | 01-Feb-2019 | 22-Feb-2025 | 22-May-2025 | faulty | Honeywell | HW-FACP-016 | Zone 7 fault pending
QUICK SUMMARY (auto-calculates on data entry) |  |  |  | Total Assets | 6 | Active | 4 | Faulty | 2 | Expired | 0

## Alarms
🔥 SLN TERMINUS — FIRE FIGHTING MODULE ¦ ALARM LOG
Record all fire alarm events — smoke, heat, manual call points ¦ Generated: 23-Mar-2026 ¦ Property: SLN Terminus
LEGEND / INSTRUCTIONS: * = Mandatory ¦ Alarm Type: smoke ¦ heat ¦ manual ¦ Status: active ¦ acknowledged ¦ resolved ¦ false_alarm ¦ All times in 24-hr HH:MM format
Zone Name* | Zone ID* | Alarm Type* | Source Device ID | Triggered Date* (DD-MMM-YYYY) | Triggered Time* (HH:MM) | Status* | Acknowledged By | Acknowledged Time (HH:MM) | Resolved Date (DD-MMM-YYYY) | Remarks / Root Cause
Level-2 St-1 MCP | Level - 2 | mcp pull | P01-C01 | 2026-01-01 | 0:11 | resolved | Fire Officer | 0:19 | 2026-01-01 | MCP Pulled by Customer
L6 Fedex BFC | Level - 6 | smoke | P01-C01 | 2026-01-02 | 14:52 | resolved | Fire Ofiicer | 15:17 | 2026-01-02 | Painting Work smoke coming Out
B1-B2 DET | B 1-2 | Fogging | P01-C01 | 2026-01-03 | 18:30 | resolved | Fire Ofiicer | 21:00 | 2026-01-03 | Weekly mosquito fogging
L6 Corridor opp | Level - 6 | Smoke | P01-C01 | 2026-01-03 | 19:36 | resolved | Fire Ofiicer | 19:49 | 2026-01-03 | Smoke Out
L7ToB3 MCP/DET | L-7 to B3 | Testing | P01-C01 | 2026-01-04 | 9:33 | resolved | Fire Ofiicer | 10:00 | 2026-01-04 | Weekly fire alaram testing
L1 Corridor opp BFC | Level - 1 | smoke | P01-C01 | 2026-01-08 | 11:51 | resolved | Fire Ofiicer | 11:56 | 2026-01-08 | Movie shooting smoke comeout
L1 Corridor opp BFC | Level - 1 | smoke | P01-C01 | 2026-01-08 | 11:53 | resolved | Fire Ofiicer | 11:56 | 2026-01-08 | Movie shooting smoke comeout
L1 Corridor opp BFC | Level - 1 | smoke | P01-C01 | 2026-01-08 | 12:12 | resolved | Fire Ofiicer | 12:16 | 2026-01-08 | Movie shooting smoke comeout
L3 10D DET-2 | F3 | smoke | P01-C01 | 2026-01-10 | 15:56 | resolved | Fire Ofiicer | 16:02 | 2026-01-10 | Varahi kitchen smoke comeout
B1 Corridor Opp | LG - B4 | fogging | P01-C01 | 2026-01-10 | 18:25 | resolved | Fire Ofiicer | 22:00 | 2026-01-10 | Weekly mosquito fogging
L8toB4 MCP/DET | LG - B4 | Testing | P01-C01 | 2026-01-11 | 9:09 | resolved | Fire Ofiicer | 9:41 | 2026-01-11 | Weekly fire alaram testing
L1 stair case-5 MCP | Level - 1 | mcp loose | P01-C01 | 2026-01-14 | 10:40 | resolved | Fire Ofiicer | 10:43 | 2026-01-14 | MCP loose Condition
B1 B2 ramp DET-2 | B 1-2 | Fogging | P01-C01 | 2026-01-17 | 20:10 | resolved | MEP | 21:20 | 2026-01-17 | Weekly mosquito fogging
L7ToB3 MCP/DET | L-7 to B3 | Testing | P01-C01 | 2026-01-18 | 9:07 | resolved | MEP | 9:41 | 2026-01-18 | Weekly fire alaram testing
Lg Mall Ent BFC | LG | FALSE | P01-C01 | 2026-01-21 | 13:05 | FALSE | MEP | 13:12 | 2026-01-21 | FALSE
B1 B2 ramp DET-2 | L4 to B4 | fogging | P01-C01 | 2026-01-24 | 18:27 | resolved | Fire Ofiicer | 21:00 | 2026-01-24 | Weekly mosquito fogging
L7ToB3 MCP/DET | L-7 to B3 | Testing | P01-C01 | 2026-01-25 | 9:58 | resolved | Fire Ofiicer | 10:31 | 2026-01-25 | Weekly fire alaram testing
L3 Electrical room | Level - 3 | FALSE | P01-C01 | 2026-01-27 | 21:10 | resolved | MEP | 21:20 | 2026-01-27 | FALSE
L6 Flowswitch | Level - 6 | FALSE | P01-C01 | 2026-01-30 | 8:49 | resolved | Fire Ofiicer | 10:19 | 2026-01-30 | FALSE
B1 Corridor Opp BFC | B 1-2 | Fogging | P01-C01 | 2026-01-31 | 18:22 | resolved | Fire Ofiicer | 19:55 | 2026-01-31 | Weekly mosquito fogging

## Inspections
🔥 SLN TERMINUS — FIRE FIGHTING MODULE ¦ INSPECTION REGISTER
Daily / Weekly / Monthly / Annual inspection checklist records ¦ Generated: 23-Mar-2026 ¦ Property: SLN Terminus
LEGEND / INSTRUCTIONS: * = Mandatory ¦ Inspection Type: daily ¦ weekly ¦ monthly ¦ annual ¦ Checklist items: PASS ¦ FAIL ¦ N/A ¦ Overall Status: ok ¦ faulty ¦ Faulty status auto-updates equipment register
Inspection Date* (DD-MMM-YYYY) | Asset Code* | Asset Type* | Location* | Inspection Type* | Inspected By* | Pressure OK? | Seal / Valve OK? | No Leakage? | Accessible? | Label Legible? | Within Expiry? | Overall Status* | Remarks
22-Mar-2025 | EXT-B1-001 | extinguisher | Basement Parking | daily | Ravi Kumar | PASS | PASS | PASS | PASS | PASS | PASS | ok | All clear
22-Mar-2025 | HYD-GF-001 | hydrant | Ground Floor | weekly | Ravi Kumar | PASS | PASS | PASS | PASS | PASS | PASS | ok | Hose reel slightly stiff
20-Mar-2025 | PNL-GF-001 | panel | Security Room | monthly | Supervisor | N/A | PASS | N/A | PASS | PASS | N/A | faulty | Zone 7 fault light on — log raised

## Maintenance
🔥 SLN TERMINUS — FIRE FIGHTING MODULE ¦ MAINTENANCE SCHEDULE
Preventive Maintenance (PM) and corrective repair task log ¦ Generated: 23-Mar-2026 ¦ Property: SLN Terminus
LEGEND / INSTRUCTIONS: * = Mandatory ¦ Task Type: PM ¦ repair ¦ Status: Scheduled ¦ In Progress ¦ Completed ¦ Overdue ¦ Overdue = Scheduled date past and not Completed ¦ Cost in Indian Rupees (₹)
Task Type* | Asset Code* | Asset Type | Location | Description* | Scheduled Date* (DD-MMM-YYYY) | Completed Date (DD-MMM-YYYY) | Assigned To* | Status* | Vendor / Agency | Cost (₹) | Remarks
PM | PMP-BR-001 | pump | Pump Room | Quarterly PM — motor lubrication & impeller check | 30-Mar-2025 |  | Kirloskar AMC | Scheduled | Kirloskar Brothers |  | 6-month cycle
repair | PNL-GF-001 | panel | Security Room | Replace faulty Zone 7 detection module | 25-Mar-2025 | 25-Mar-2025 | Honeywell Tech | Completed | Honeywell India | 4800 | Zone restored to normal
PM | EXT-B1-001 | extinguisher | Basement | Annual refilling & pressure recharge | 01-Apr-2025 |  | Ceasefire | Scheduled | Ceasefire Pvt Ltd | 350 | As per AMC schedule
Total Tasks |  | Completed | 1 | Scheduled | 2 | Overdue | 0 | Total Cost | 0

## Incidents
🔥 SLN TERMINUS — FIRE FIGHTING MODULE ¦ INCIDENT REGISTER
Log all fire events — near misses, activations, and emergencies ¦ Generated: 23-Mar-2026 ¦ Property: SLN Terminus
LEGEND / INSTRUCTIONS: * = Mandatory ¦ Severity: low ¦ medium ¦ high ¦ critical ¦ Status: Open ¦ In Progress ¦ Closed ¦ Critical incidents must be reported within 1 hour
Incident Date* (DD-MMM-YYYY) | Start Time* (HH:MM) | Zone Name* | Severity* | Description* | Reported By* | Alarm Triggered? | Evacuation? | Actions Taken | End Time (HH:MM) | End Date (DD-MMM-YYYY) | Status* | Remarks
12-Mar-2025 | 14:32 | Level 2 East Wing | low | Smoke detector activated due to cooking fumes from pantry | Supervisor | YES | NO | Area inspected, ventilated. False alarm confirmed. | 14:50 | 12-Mar-2025 | Closed | Sensitise staff on pantry usage
18-Mar-2025 | 09:15 | Basement Parking | high | Electrical short circuit in UPS room causing smoke | Safety Officer | YES | YES | Fire suppressed with CO2 extinguisher. UPS isolated. | 09:45 | 18-Mar-2025 | Closed | Electrical audit required

## Response Team
🔥 SLN TERMINUS — FIRE FIGHTING MODULE ¦ RESPONSE TEAM REGISTER
Fire wardens, first responders, and emergency coordinators ¦ Generated: 23-Mar-2026 ¦ Property: SLN Terminus
LEGEND / INSTRUCTIONS: * = Mandatory ¦ Role: warden ¦ responder ¦ first_aid ¦ coordinator ¦ Shift: Day ¦ Night ¦ General ¦ Rotational ¦ Active: YES ¦ NO
Full Name* | Role* | Assigned Zone* | Contact Number* | Alternate Contact | Email ID | Shift | Active? | Remarks
Rajesh Kumar | warden | B1 Basement | 9876543210 | 9876543211 | rajesh.k@sln.com | General | YES | Lead warden — south block
Priya Sharma | first_aid | Ground Floor | 9876543220 |  | priya.s@sln.com | Day | YES | Trained in BLS
Arun Verma | responder | Level 1 | 9876543230 | 9876543231 | arun.v@sln.com | Night | YES
Meena Nair | coordinator | All Floors | 9876543240 | 9876543241 | meena.n@sln.com | General | YES | Emergency coordinator

## Drills
🔥 SLN TERMINUS — FIRE FIGHTING MODULE ¦ DRILL & TRAINING LOG
Fire evacuation drills, response drills and performance scores ¦ Generated: 23-Mar-2026 ¦ Property: SLN Terminus
LEGEND / INSTRUCTIONS: * = Mandatory ¦ Drill Type: evacuation ¦ fire_response ¦ first_aid ¦ Status: Scheduled ¦ Completed ¦ Cancelled ¦ Score 0–100: ≥80 = Satisfactory, 60–79 = Needs Improvement, <60 = Unsatisfactory
Drill Date* (DD-MMM-YYYY) | Drill Type* | Conducted By* | Participants (Count) | Duration (minutes) | Evacuation Time (minutes) | Score (0-100) | Status* | Observations / Gaps | Corrective Actions | Remarks
15-Jan-2025 | evacuation | Safety Officer | 142 | 28 | 4 | 85 | Completed | Stairwell C slightly congested | Widen stairwell signage, add marshal | Good overall performance
20-Feb-2025 | fire_response | Fire Marshal + AMC | 30 | 45 | - | 78 | Completed | Pump room response time 3 min — target is 2 min | Increase drills for pump team | Pump team needs practice
30-Mar-2025 | evacuation | Safety Officer | 150 |  |  |  | Scheduled |  |  | Quarterly drill
DRILL PERFORMANCE SUMMARY |  |  | Total Drills | 4 | Completed | 2 | Avg Score | 81.5